Chemical Hygiene Plan

Environmental Health and Safety Department

Adapted from UT Health Science Center CHP

October 31, 2025

# PREFACE

The University of Houston – Clear Lake (UHCL) is committed to providing a safe and healthy working and learning environment for all faculty, students, employees, visitors, and contract employees.  Environmental Health & Safety's mission is to work in conjunction with the UHCL community to ensure that education, research, and health-care-related activities take place in conditions that are optimally safe and healthy for students, faculty, staff, visitors, the surrounding community, and the public.

The objective of EHS is to assist personnel at all levels in fulfilling the commitment to provide a place of employment and learning free from recognized hazards that cause or are likely to cause harm to UHCL personnel or the surrounding community.

The purpose of this Plan is to provide employees with the foundations of chemical safety to implement within their work areas.  The information contained herein satisfies the university's requirements for providing a written Chemical Hygiene Plan and Hazard Communication Program.  It is not intended to be an exhaustive reference, but rather a guide for all UHCL personnel to be proactive about chemical safety and conduct their operations safely.  Further advice on chemical hazards associated with specific processes and on the development of new or unfamiliar activities should be obtained by consulting your supervisor, the EHS Safety Council, the Research Safety Committees, or the UHCL Department of Environmental Health and Safety (EHS).

All users of chemicals must be familiar with the requirements outlined in this manual and applicable state and federal regulations and must conduct their operations in accordance with them.

Table of Contents

PREFACE	2

1.0	INTRODUCTION	4

2.0	REGULATIONS	5

3.0	RESPONSIBILITIES	6

4.0	LABORATORY SAFETY REQUIREMENTS	10

4.1	General Laboratory Safety Requirements	10

4.2		Working Alone and After Hours	12

4.3		Visitors	13

4.4		Training	13

4.5	Personal Protection (PPE) and Personal Hygiene	14

4.6	Hazardous Material Handling and Storage	15

4.7	Incidents and Emergencies	16

5.0	CONTROLLING CHEMICAL EXPOSURES	17

5.1	Inhalation Hazards	18

5.2	Skin/Eye Contact Hazards	19

5.3	Ingestion	19

6.0	LABORATORY INSPECTIONS	19

7.0	RESPONSE TO NON-COMPLIANCE	27

8.0	LABORATORY FUME HOODS AND OTHER ENGINEERING CONTROLS	29

9.0	PRIOR APPROVAL FOR HIGHLY HAZARDOUS CHEMICALS AQUISITION	30

10.0	MEDICAL CONSULTATION	30

11.0	CHEMICAL HYGIENE OFFICER & RESEARCH SAFETY COMMITTEE	31

12.0	SPECIAL PROVISIONS FOR: Select Carcinogens, Antineoplastics, Acutely Toxic chemicals, Mercaptans, Nanoscale particles, Perchloric Acid, Pyrophoric / Explosive / Peroxide forming chemicals	31

Appendix 1:	CHEMICAL WASTE DISPOSAL PROCEDURES	36

Appendix 2:	GLOVES CHEMICAL RESISTANCE CHART 	40

Appendix 3:	CHEMICAL SEGREGATION & INCOMPATIBILITIES GUIDELINES 	43

Appendix 4:	HAZARD COMMUNICATION PROGRAM 	48

Appendix 5:	PRIOR HI HAZ CHEMICAL PROTOCOL REVIEW (Chemical Lists)	54

Appendix 6:	STANDARD OPERATING PROCEDURES TEMPLATE 	72

Appendix 7:	COMPRESSED GAS & CRYOGENIC SAFETY 	81

Appendix 8:	NANOPARTICLES SAFETY GUIDE 	97

Appendix 9:	METHYLENE CHLORIDE RESTRICTION & REQUIREMENTS 	105

Appendix 10:	EHS LAB SAFETY PROCEDURES 	124

Appendix 11: 	REFERENCE MATERIALS 	125

Appendix 12: 	CHP ACKNOWLEDGEMENT (TRAINING) CERTIFICATE	126

Revision Log …………………………………………………………………………... 127

# INTRODUCTION

The purpose of this Chemical Hygiene Plan (CHP) is to define work practices and procedures to help protect students, laboratory workers, researchers, and supervisors at the University of Houston – Clear Lake (UHCL) from health hazards associated with the use of hazardous chemicals.  The Chemical Hygiene Plan is consistent with the U.S. Department of Labor Occupational Safety and Health Administration (OSHA) standard entitled "Occupational Exposure to Hazardous Chemicals in Laboratories" (Code of Federal Regulations, 29 CFR 1910.1450) and the Texas Hazard Communication Act (Chapter 502 of the Texas Health and Safety Code).

OSHA has defined a hazardous chemical as "a chemical for which there is statistically significant evidence based on at least one study conducted in accordance with established scientific principles that acute or chronic health effects may occur in exposed employees."  In addition, OSHA defines a laboratory as "a workplace where relatively small quantities of hazardous chemicals are used on a non-production basis."  Finally, laboratory workers are defined in the OSHA Lab Standard under the definition of "employee" as "an individual employed in a laboratory workplace that may be exposed to hazardous chemicals in the course of his or her assignments."  An example of a laboratory worker would include researchers in laboratories and principal investigators (the students in the academic laboratory would not be considered laboratory workers according to OSHA; however, they are covered by this plan).  If there is any confusion about whether a particular workplace is considered a laboratory that utilizes hazardous chemicals, or whether someone is considered a laboratory worker, the acting EHS Chemical Hygiene Officer will, upon request, make this determination.

Laboratory workers, researchers, supervisors, and students conducting laboratory procedures should be familiar with this Chemical Hygiene Plan and together share the responsibility for creating a safe and healthy work environment.  In addition to CHP, the laboratory workers shall be cognizant of all EHS Laboratory safety requirements at UHCL.

The laboratory supervisor is responsible for maintaining a written record stating that each laboratory worker has reviewed the Chemical Hygiene Plan, along with copies of SOPs, SDSs, training records, and other documents relevant to work being done in the lab.

This Chemical Hygiene Plan (CHP) will be reviewed annually by the Chemical Hygiene Officer, EHS, or the Research Safety Committee.

# REGULATIONS

A hierarchy of information sources exists when making safety-related decisions. The hierarchy is first based on whether the information has the force of law, then best practices and industry recommendations.  Codes and regulations carry the most weight, followed by standards, best practices, other sources (e.g., journal articles, books, websites, and expert judgment), and personal knowledge.

- Codes (regulations) - promulgated by regulatory bodies. Codes have the force of law, and adherence to codes is non-optional. For general and chemical laboratory safety at UHCL, the following are some key agencies and codes:

  - Federal – Environmental Protection Agency (EPA), Occupational Safety & Health Administration (OSHA) TAC Title 25 (OSHA), 31, and 37, Nuclear Regulatory Commission (NRC)

  - State – Texas Department of State Health Services (TDSHS), State Office of Risk Management (SORM), Texas Commission on Environmental Quality (TCEQ), Clear Lake City Water Authority (CLWA)

  - City of Houston Fire Code

- Formal standards and official guidelines - from recognized government agencies, non-profit standards organizations, professional associations, and industry. Standards may not have the force of law, though some are given that force by being specifically referenced as required in codes.  All standards, whether mandatory or not, are accepted sources of best practice. Some organizations publish safety guidelines, which are also a valuable source of best practices. Examples of lab standard/guideline-promulgating bodies include:

  - OSHA publications, guidelines, and fact sheets

  - National Fire Protection Association (NFPA), including Standard 45 on Fire Protection for Laboratories Using Chemicals, and 101 Life Safety Code

  - American National Standards Institute (ANSI)

  - National Institute for Occupational Safety and Health (NIOSH), Pocket Guide to Chemical Hazards

  - American Congress of Government Industrial Hygienists (ACGIH), Threshold Limit Values (TLVs) and Biological Exposure Indices (BEIs)

  - American Chemical Society (ACS; official ACS publications, not just articles)

    - Laboratory hazard identification and evaluation

    - Creating Safety Cultures in Academic Institutions

    - Classroom chemical safety

    - Various resources

  - National Research Council (National Science Foundation)

  - National Institute of Health (NIH)

  - Official safety information from other states

- If a safety inquiry is not resolved or covered by the authoritative information sources mentioned above, or the question is too specific to be covered by those sources, then resources can be:

  - Standard practice, as determined from:

    - Manufacturer’s information, literature, training, on safe use

    - National Safety Council, information and resources

    - Lab Safety Institute, training and resources, prior accidents, lessons learned

    - Peer-reviewed journal articles

      - Journal of Chemical Education

      - Current Protocols series of journals

      - Newer experimental procedures, which incorporate safety warnings

    - Other universities’ safety information

    - Safety information from US Government labs

# RESPONSIBILITIES

EHS - Specific to this Chemical Hygiene Plan, and similarly expressed/authorized in the EHS Policy,  the responsibilities of EHS's Chemical Safety Program include the following:

- Provide technical assistance to laboratory personnel concerning the appropriate storage, handling, and disposal of hazardous chemicals.

- Provide guidance and technical assistance regarding appropriate personal protective equipment (PPE) and laboratory safety equipment.

- Industrial hygiene sampling to determine if exposure risks are present upon request.

- Facilitate occupational medical surveillance services where hazards exist.

- Provide or facilitate general and specialized laboratory safety training upon request.

- Conduct laboratory inspections on an annual basis and upon request.

- Track and document the status of all lab inspection actions.

- Provide inspection reports, including action items, to PI, Chair, Dean, relevant committees, Office of Research and Sponsored Programs (ORSP), and regulatory committees as needed to assure adherence to chemical safety measures and the CHP.

- Provide annual reports to relevant safety committees, ORSP, and schools, regarding the results of laboratory inspections, corrective action data, safety concerns, regulatory concerns, corrective action history, and training adherence, within the laboratories.

- Facilitate access to manufacturer’s Safety Data Sheets and other laboratory and chemical safety literature.

- Remain current on rules and regulations concerning chemicals used at UHCL.

- Inspect and monitor laboratory room registrations. Maintain the laboratory registration database in coordination with lab owners.

- Review all laboratory chemical purchase requests to ensure that appropriate approvals and adequate SOPs are in place for all high-hazard chemicals as designated in Section 9 of this document (UHCL CHP).

- Assure all hazardous wastes are classified and removed from campus on a regular basis.

Deans, Directors, Chairs, and Leaders of all Academic and Administrative Units are responsible for their staff members and students' health and safety. Specific responsibilities regarding the implementation of the Chemical Hygiene Plan include:

- Collaborate with faculty, principal investigators (PI), and laboratory staff to adopt this Plan to include lab-specific guidelines and develop strategies to implement it within their units.

- Ensure Faculty, PIs, and laboratory managers respond to EHS and complete corrective actions identified in laboratory inspections.

- Review inspection information and ensure that faculty have addressed and responded to noncompliance items.

- Ensure Faculty, PI, and laboratory staff follow all requirements written within the CHP.

- Be aware of individual lab safety inspection issues and actions and ensure they have been corrected.

- Communicate with all lab users about important EHS initiatives and the importance of following the rules outlined within the CHP.

- Make budget arrangements for health and safety improvements required for safe research, engineering controls, and adequate PPE.

- Review research grants and consult with EHS to assess future program needs, safety and health requirements, training requirements, equipment, and chemicals before agreements and purchases are made. Note: Any research delays due to a lack of engineering or other missing safety controls are not EHS's responsibility to fund.

- Ensure direct contact with a PI in charge of the lab and that the individual maintains up-to-date records of laboratory occupants assigned within the given lab space and the training required to occupy that space.

- Inform UHCL Police Department and EHS of any changes in lab access privileges for PIs and lab managers.

- Notify EHS of any changes in laboratory room assignments for lab registration purposes.

- Ensure Laboratory Decommissioning Procedures are adhered to and are followed by faculty before exiting the campus or switching ownership. Chemical Cleanouts of abandoned laboratories will be billed back to the school if not followed.

- Provide funds to correct violations caused by chemical mismanagement. Examples of chemical mismanagement include testing for unknown contents; high-hazard stabilizations due to a lack of monitoring, testing, and labeling; failure to use or remove chemicals before they deteriorate; and degradation of storage areas due to incompatibility or the need for special removal processes for disposal.

Faculty, PIs, and staff in charge of supervising laboratories (referred to as laboratory supervisors or laboratory managers throughout this document) have the following responsibilities for implementing the Chemical Hygiene Plan:

- Ensure that you, lab workers, and students are informed and trained regarding chemical safety as required by this Plan and retain training records and all documentation for inspections.

- Maintain that you have a signed copy that you have read this Chemical Hygiene Plan.

- Maintain your chemical inventory, in the software format provided by EHS.

- Implement and enforce rules and standards concerning health and safety for laboratories under their jurisdiction.

- Review inspection information, correct, and respond to noncompliance items as outlined in this Plan.

- Ensure that the correct Door Hazard Signage information, and emergency contacts for laboratory personnel, including names and telephone numbers of key lab personnel such as the PI, lab manager, are current for each lab. Contact EHS for assistance with changing door hazard signage.

- Ensure compliance of laboratory workers with this Plan. Laboratory workers assigned to your lab must also follow all safety requirements.

- Notify EHS of accidents involving hazardous materials and any significant changes in lab design or procedures and laboratory assignments.

- Prepare and maintain Standard Operating Procedures (SOPs) for your chemicals. Include procedures on safe work practices for all routine processes involving hazardous materials, hazardous procedures, or hazardous equipment. SOPs are a requirement for all high-hazard materials. A blank SOP template is provided in Appendix 6.

- Ensure immediate availability during inspections: appropriate personal protective equipment (PPE) is worn, Safety Data Sheets (SDSs) are accessible, SOPs are developed, Chemical Inventory is completed, Training documentation is current, and all other relevant materials are available in your lab.

- Remain cognizant of chemicals stored and used in your labs and their associated hazards.

- Follow the waste disposal requirements. Call EHS at 281-283-2106 if further assistance is needed. Contact EHS for chemicals that need disposal.

- Conduct internal inspections of labs for health and safety concerns.

- Maintain all labs in a clean and orderly manner. Projects should be closed, and chemicals returned to the correct storage areas when not in use. Fume hoods shall be kept clean and not used to store chemicals or equipment.

- Maintain and ensure up-to-date records of laboratory occupants assigned within the lab space. Report to management and to EHS about any personnel changes that require additional training.  Report to the UHCL Police Department about any changes in lab access privileges for any lab employees (including TAs and students involved in research).

- Follow the Laboratory Decommissioning Procedures before exiting the campus or switching ownership. Cleanouts of abandoned laboratories will be billed back to the school if not followed.

- Always maintain all chemical labels on all containers.

Laboratory Employee and Student responsibilities adhering to the Chemical Hygiene Plan are as follows:

- Take all safety training courses required by EHS, the principal investigator, and the university.

- Maintain all training requirements outlined by your department, EHS, and the University to work in a laboratory.

- Follow all health and safety policies and procedures.

- Follow and adhere to the CHP and any SOPs and protocols developed for the lab work being done.

- Know egress routes and assembly locations.

- Know locations of eye wash and safety showers, first aid kits, fire extinguishers, fire alarm pull stations, and gas shut-off valves throughout all lab and office areas in which they work.

- Report any hazardous conditions to the supervisor.

- Wear personal protective equipment required for the lab or specific process.

- Report any job-related injuries or illnesses to the supervisor and seek treatment immediately.  Fill out the Injury Report Form (staff, student, or visitor) as soon as possible.

- Refrain from the operation of any equipment or instrumentation without proper instruction and authorization.

- Remain aware of the hazards of the chemicals in the lab and how to handle hazardous chemicals safely.

- Request information and training when unsure how to handle a hazardous chemical or procedure.

- Maintain standard housekeeping in labs. Clean and close out all projects. Return all chemicals to storage.

- Contact EHS for any additional questions or concerns.

UHCL Police Department responsibilities for implementing the Chemical Hygiene Plan are:

- Ensure that card access to labs and stockrooms is kept up to date according to the information provided to them by Deans, Directors, Chairs, PIs, Laboratory Managers, and other personnel as directed in the above responsibilities.

- Provide keys to employees to access restricted areas as requested by Deans, Directors, Chairs, PIs, Laboratory Managers, and other personnel as directed in the above responsibilities.

- Report suspicious activity and communicate with EHS if there is a concern.

# LABORATORY SAFETY REQUIREMENTS

The CHP outlines a minimum set of requirements for managing all chemicals in laboratory settings, including highly hazardous substances present on campus. Given the varying levels of hazards and precautions across laboratories, all personnel are expected to develop more detailed procedures as their specific circumstances require. In all cases, individual faculty or staff members shall be accountable for ensuring compliance with appropriate safety and hygiene protocols in the laboratories they oversee. This document includes several detailed appendices that provide information on various levels of chemical hazards.

## General Laboratory Safety Requirements

Universal Safety precautions that apply to all laboratory settings:

- Review and Prepare in Advance – Know the physical and chemical or biological hazards before your experiment. Read all the handouts, procedures, SOP, and SDS provided to you.

- Use chemicals and equipment only for their intended purposes.  Never perform unauthorized experiments, preparations, or other work involving chemicals.

- Be prepared for Emergencies - Be aware of the location of the safety equipment in the laboratory: fire alarm, fire extinguisher, emergency eyewash, and safety shower, so you know where to go if you ever need to use them.  See Incidents & Emergencies.

- Report all Incidents- For any incident or injury that occurs on campus, an incident report must be completed and submitted within 24 hours or the next business day to Human Resources and EHS (EHS@UHCL.edu) or through the online portal. For emergencies, you may contact the Police at extension 2222.

- Unattended experiments - Laboratory experiments should not be left unattended, especially while they are being heated. If an experiment must be left unattended, it shall be placed in potentially low-hazard conditions before leaving. An approved SOP must accompany an active project that requires continuous operation and that is left unattended. In addition, the unattended project must have emergency contact information in clear sight, along with the date the project will be left unattended.

  - Housekeeping - Exits, aisles, and safety equipment must be kept clear of obstructions, such as equipment and furniture. Work areas and floors should be kept free of excessive storage. All laboratory benches must be cleaned, chemicals returned to storage areas, and fume hoods cleared upon completion of a task and/or at the end of class before leaving. Keep drawers and cabinet doors closed and cords off the floor to avoid trip hazards.

- No horseplay - Practical jokes or other mischief behavior that might confuse, startle, or distract another worker are not permitted.

- No smoking - there is no smoking allowed on campus, which extends to the laboratories.

- Food, drink, cosmetics – No eating, drinking, gum chewing, applying cosmetics or taking medicine in laboratories where chemicals are used or stored. Laboratory refrigerators, sample ice chests, cold rooms, ovens, and so forth may not be used for food storage or preparation.  Food containers may not be used for sample or storage containers. Laboratory water sources (including deionized water) may not be used for drinking water.

- Hand Hygiene - wash hands and arms after you remove your gloves with soap and water before leaving the lab work area.

- Cross-Contamination and Personal Belongings – Personal belongings should be stored outside the lab area. Consider all lab surfaces contaminated to avoid cross-contamination.

- Access Control – Only Authorized personnel may be allowed to enter UHCL laboratories. Doors must be kept shut and locked. Unauthorized occupants need to be reported.

- Equipment - Use proper equipment that is in good condition.  For example, never use chipped or cracked glassware.  Shield the pressurized or vacuum apparatus and protect it from bumping or overheating.  Ensure that the proper tools are used for the job.

- Chemicals should be properly stored, below eye level, in compatible containers and storage areas, segregated by hazard (not alphabetically).

- Know Basic Chemical Rules-Never add water to a concentrated acid or base.

- Mouth pipetting is not permitted.

- Glassware – keep away from the edge of the lab bench to prevent knocking over.  Do not use cracked or chipped glassware, as it may break during use. If you come across any, ensure it is rinsed clean and placed in a broken glass container. Sweep up broken glass pieces from benchtops and floors to remove cut and trip hazards. Glassware used for laboratory operations may never be used to prepare or consume food or beverages.  Most lab glassware is deemed Controlled by the DPS, which cannot be discarded intact or donated to anyone other than for legitimate University or company use.

- Glass tubing - When inserting glass tubing into stoppers, lubricate the tubing and protect your hands from being cut in the event the tubing slips and breaks.

- Waste Management – All chemical waste must be collected, labeled, and stored properly. Waste materials must be collected and placed in a suitable lab-sized container if one is not already available. Containers must be kept closed, moved to the waste storage room when full (within 3 days), and recorded in the waste log. See Appendix 1. Coordinate with EHS regarding any laboratory waste needs. EHS can assist in developing waste profiles for your lab, evaluating recycling options, and identifying other methods best suited to end-of-life removal.

- Emergency chemical spills and accident response - Evacuate the area first! Shut the door if you can. Call UHCL Police Dispatch at 281-283-2222 or x.2222 first (Continue to call 911 if unable to reach). The UHCL line #2222 is monitored 24 hours a day/seven days a week. UHCL Police know the campus locations well. Police can reach EHS or Emergency response personnel (hazmat, fire, ambulance) for incidents involving spills or injuries (during or after hours), as well as for large or extremely hazardous chemical spills, and escort responders to the location.

- For small spills/leaks that you are unable to respond to, need materials, or require assistance during normal business hours, call EHS at 281-283-2106.

## Working Alone and After Hours

It is the researcher's responsibility to ensure that all students, interns, and approved visitors are supervised or have a “buddy” system within the lab spaces at all times. For UHCL, normal business hours are from 8:00 am to 5:00 pm, Monday through Friday. Evening classes at UHCL can run from 7:00 p.m. to 10:00 p.m. during the week.  All students working in a research lab must submit the appropriate research application and obtain approval for the project and the location where the work will be done.

After-hours laboratory work must be approved in writing by the PI responsible for the lab space and must include a method for signing in and out of the lab. The UHCL Police offers escort services for university members 24 hours a day upon request.

- Undergraduates - Undergraduate Students are not allowed to work alone in a lab. The PI or TA must always be present to oversee students and close the lab during normal business hours.

  - Undergraduate after-hours - Undergraduate laboratory work past 10:00 p.m. must have an SOP developed. The PI, if not present after hours, is responsible for the lab space and must develop an SOP explaining why normal business hours do not provide sufficient time to complete an undergraduate project. The SOP must include information on emergency response notifications and a method of signing in and out of the lab for at least two people leaving at the same time. The UHCL Police Department needs to be notified of any students remaining after hours, and they must contact the police when they leave the lab (#2222).

  - Graduate Students - Graduate students are not allowed to work alone except by an approved exemption from the Research Safety Committee. It is always best practice to have two people in the lab.

  - Graduate Student Exemption request for working alone or after hours – Graduate students may work alone and/or after hours only if approved by the Research Committee and any subsequent committee for final approval. The PI must develop an SOP, the Graduate Student Permission to Work Independently After-Hours form, and a Project Hazard Assessment (PHA) and submit them to the Research Safety Committee. The Committee will approve or delegate final approval to the appropriate Safety Committee or EHS representative. The SOP must include emergency response notification information and a method for signing in and out of the lab. The UHCL Police Department must be notified of any graduate students remaining after hours, and graduate students must contact police dispatch when they leave the lab (#2222).

## Visitors

Lab visitors must have prior written authorization, training, PPE, and access granted through all appropriate UHCL channels. The Research Safety Committee, in partnership with EHS and ORSP, reviews and approves activities related to lab tours, visitors, and visiting researchers. A PHA must be submitted to the committee for review, along with contract information between businesses or other entities. No minors under 15 are permitted in the laboratory, except for approved school tours with at least one adult per 6-10 students.

## Training Requirements for Laboratories

EHS requires General Lab Safety training for all individuals working in laboratories. This training will provide a brief refresher on the critical elements of laboratory and chemical safety. Hazard Communication is offered as a separate course or as part of General Lab Safety. Principal investigators, laboratory workers, and students working in a research lab must also complete all specialized or advanced lab-safety training for their respective areas. Principal Investigators will be responsible for verifying that all laboratory personnel have completed all the training required by the UHCL Research Safety Committee, EHS, and the University. Environmental Health and Safety will verify that the training is completed during the lab’s annual laboratory safety survey.

Principal investigators remain responsible for hands-on procedural and SOP training on specific hazards related to the research they conduct for everyone in their lab. The PI is responsible for delivering the training and ensuring that subordinates understand the material. Additional specialized training is also the responsibility of the principal investigators. Training needs are often identified through project hazard reviews, SOP reviews, committee meetings, and inspections. Environmental Health & Safety can assist with locating advanced training courses. PIs are expected to inform EHS or the reporting Committee of any changes to their research that could require additional hazard review, such as changes to training, waste streams, PPE, engineering controls, or an increase in hazard status in their labs.

EHS will make every effort to update principal investigators of any changes in regulations or chemical hazard information and the resulting changes in required training, and to notify the Research Safety Committee.

Training class and session rosters should be maintained, including the date, attendees, subjects covered, and the instructor's name. Records should be kept for at least five years. Laboratory worker training status is assessed annually during routine safety surveys, and lab workers are asked to attend refresher training as needed.

UHCL has developed, implemented, and maintained a written workplace hazard communication program that describes how the criteria in the Texas Hazard Communication Act, Chapter 502, of the Health and Safety Code are met, including training requirements.  The Hazard Communication Program is in Appendix 4.

We appreciate your continued participation in maintaining a safe work environment. Please contact the Office of Environmental Health and Safety with any questions at 281-281-2106.

## Personal Protection and Personal Hygiene

Personal protection and personal hygiene are two basic aspects of laboratory safety. Wearing appropriate protective equipment and practicing good personal hygiene will minimize exposure to hazardous chemicals during routine use and in the event of an accident.

- Attire - Wear a full-length lab coat (past the knees), cover legs and feet (no sandals, open-toed shoes, or shorts), and secure loose clothing and long hair. Midriffs and sleeveless shirts are inappropriate for lab attire. Jewelry must not interfere with experimental operations or PPE.

- Gloves - Gloves are essential when working with hazardous substances. The proper gloves will prevent skin absorption, infection, burns, or death. Not all glove materials are equally effective at protecting against chemical hazards. In many cases, latex examination gloves do not provide adequate protection from hazardous chemicals. Consult a chemical resistance chart, such as the one found in Appendix 2, a glove manufacturer, or EHS for assistance with appropriate selection. Replace gloves when contaminated or damaged.

- Eye protection.  All personnel, including students, staff, and visitors, shall wear safety glasses, goggles, and face shields in laboratories and whenever there is a potential eye hazard.  Goggles are required whenever working with liquids where chemical splashes are possible. Also, refer to the SOP and SDS for guidance on required eye protection when working with specific substances.

- Face shields.  Full-face shields must be worn when performing a procedure that may cause a violent reaction or a splash hazard.  Full-face shields with chin caps are preferred because the chin tends to lift when splashes occur.

- Personal hygiene.  Hands should be washed frequently throughout the day, before leaving the lab, after contact with any hazardous material, before eating, and so on. Wash your hands after removing gloves.

- Respirators. Respirators are considered the last line of defense, and engineering controls are the first option. Where work cannot be performed safely with engineering controls in place, EHS will arrange fit testing for faculty, staff, or students. Annual fit testing is required thereafter. Information on respirator use is available in the UHCL Respiratory Protection Plan.

## Hazardous Material Handling and Storage

Hazards associated with various chemicals and gases vary widely. Understanding the hazards of compounds and minimizing the amount used and stored in the lab will reduce the risk of injury.

- Chemical storage (general)

Chemicals must not be stored above eye level.

Chemicals must be stored by compatibility, not by alphabetical arrangement.  For example, oxidizers should be separated from organics; air-reactive materials should be stored under an inert gas; water-reactive materials should be kept dry; and cyanides should be stored away from acids.  Storage of all laboratory chemicals shall follow the recommendations outlined in Appendix 3, Chemical Segregation and Incompatibilities Guidelines.

- Storage of volatile chemicals - Volatile substances shall be stored in storage cabinets adequate for their purpose or in other specified engineering controls for that chemical. Contact EHS for guidance on storage of volatile or toxic materials. Volatiles that must be stored in a chilled atmosphere must be stored in refrigerators or freezers designed specifically for this purpose. These units will be marked as either Flammable Liquid Storage Refrigerator or Explosion-Proof Refrigerator. No other type of refrigerator is authorized for storing volatile chemicals. Refrigerator/freezer units for storing flammables are located throughout UHCL. Call EHS at 281-283-2106 for further information.

- Chemical handling - Use secondary containment when transporting chemicals by placing the chemical in a protective container. For example, use poly-coated bottles or bottle carriers to transport chemicals in regular glass containers. Securely close caps and avoid storing chemical containers in hard-to-reach areas. Metal and non-conductive containers (e.g., glass or plastic) holding more than five gallons must be grounded when transferring flammable liquids.

- Transportation - Chemicals and Biologicals are only allowed to be transported on campus by use of a tray or cart. Chemicals may not be transported by a personal vehicle or state vehicle to another building or off-site. Transporting chemicals requires specific training, packaging, shipment papers, and authorized vehicle for legal transportation.

- Shipping - If you need to ship chemicals or samples from UHCL to another university or business, contact EHS and ORSP for authorization, assistance, and guidance.

- Cylinder storage - Cylinders must be stored in accordance with 29 CFR 1910.101, the OSHA Compressed Gases Standard. Gases considered highly hazardous should be stored in a gas cabinet. Cylinders must be stored in well-ventilated areas with their protective caps screwed on and secured (e.g., strapped or chained). For assistance in securing gas cylinders, call EHS at 281-283-2106.  Do not store cylinders near heat or high-traffic areas. Do not store flammables and oxidizers together.  Do not store empty and full cylinders together. Cylinders that are not in use must be stored in an approved gas cylinder storage area.

- Cylinder handling - Use appropriate handcarts to move cylinders. Cylinders must be secured to the cart during transport. Highly toxic gases should not be moved through busy corridors, particularly during business hours.  Always treat cylinders as full and handle them accordingly. Utilize the service elevator to move cylinders between different floors.  See Cylinder Appendix 7.

- Labels - All Chemicals must have identification labels, regardless of container size, as specified in this CHP and the OSHA Hazard Communication Program. Ensure all labels are legible. Label all secondary containers with the chemical name (as it appears on the original label or SDS) and the appropriate hazard information. Examples of required information include hazard pictograms, health hazard warning information, and physical hazard warning information. Peroxidizable chemicals (i.e., ethyl ether) and other chemicals that may become unstable over time must include a date of receipt and opening, be tested for peroxides at least annually, and/or be disposed of annually.

- Small Secondary Containers must still have all the required label information per OSHA Hazard Communication Standards. If the container is too small, an acronyms log or logbook that identifies the chemicals can be used. Contact EHS for guidance.

- Containers - Check the integrity of containers. Ensure that the secondary container used is compatible with the chemical; for example, hydrofluoric acid must not be stored in glass, and some oxidizers should not be stored in plastic containers.

  - Recommend storing liquid chemicals in glass containers only, except for:

    - Hydrofluoric acid

    - Strong alkali / bases, such as sodium hydroxide (\(NaOH\)) and potassium hydroxide (\(KOH\)), which will corrode and etch glass.

    - Phosphoric acid

  - Check HDPE containers for integrity periodically, discard before the container becomes brittle and cracks (~7yrs, may change color to yellow).

## Incidents Reporting and Chemical Emergencies –

Report all Incidents - An incident report form must be completed and submitted to EHS and HR within 24 hours.

- The UHCL Report It! Webpage contains all staff, students, and visitor Incident Reporting forms: https://www.uhcl.edu/report-it/

- If there is an imminent threat, leave the location, shut the door if possible, and contact the UHCL Police at extension #2222.

- Follow-up medical attention for direct reportable chemical exposures as necessary. Follow the SDS and SOP for the safety procedures specific to that chemical.

- First Aid- If splashed by a chemical and you are wearing eye protection – Place face under eyewash and rinse thoroughly with eye protection on. Then remove safety goggles or glasses and continue to rinse thoroughly for at least 15 minutes to help prevent chemicals from dripping into the eyes. Depending on the severity, utilize the emergency shower as needed.

- First Aid-If chemicals are splashed in the eyes, use the eyewash immediately for 15 minutes and seek medical attention.

- First Aid-If splashed by a chemical – to the body – Remove lab coat and any affected clothing underneath. Wash the exposed areas thoroughly for at least 15 minutes.  Have others exit the room and provide a spare lab coat or clothing available for use.

- First-Aid-Burns - Treat immediately by putting the burned area under cold water for at least 15 minutes to remove the heat and reduce subsequent pain and blisters.  Large burns may be initially covered with clothing or a fire blanket, but do not keep them on, as the burned individual will need to release excess heat from their body.

- Health Insurance - The student’s financial responsibility for medical treatment is their responsibility. Therefore, students must carry student health insurance. If unconscious or incoherent, they will be taken to the nearest reputable or EMS-recommended medical facility for treatment of the injury. Staff and student worker injuries are covered by Workers' Compensation.

# CONTROLLING CHEMICAL EXPOSURES

"Criteria that the employer will use to determine and implement control measures to reduce employee exposure to hazardous chemicals, including engineering controls, the use of personal protective equipment, and hygiene practices; particular attention shall be given to the selection of control measures for chemicals that are known to be extremely hazardous."  29 CFR 1910.1450(e)(ii)

At the request of faculty, staff, or students, EHS may conduct exposure evaluations for substances regulated by OSHA and/or those with threshold limit values published by the American Conference of Governmental Industrial Hygienists (ACGIH). EHS will periodically perform Industrial Hygiene monitoring in your lab and, in the event of any suspected exposure or to prevent exposure, will conduct monitoring. Exposure assessments can be arranged by contacting EHS.

There are 4 routes of exposure: inhalation, ingestion, dermal and eye contact/absorption, and injection. Three types of controls for prevention include engineering controls, personal protective equipment, and administrative controls.  Each route of entry can be controlled in several ways, as explained below.

## Inhalation Hazards

Inhalation is the most common route of entry into the body for chemicals. To avoid significant inhalation exposures, the best option is to substitute a less hazardous chemical to eliminate or minimize hazards. For example, substituting a less volatile or less toxic chemical, or a liquid or solid chemical for a gaseous chemical, is the best means of control. If substitution is not practical, engineering controls, such as ventilation, are the next best option and should be used to reduce the likelihood of overexposure. The use of well-functioning local exhaust ventilation, such as laboratory (fume) hoods, vented glove boxes, and other local exhaust systems, is often required to minimize exposure to hazardous chemicals. Dilution ventilation may be used to reduce exposure to non-hazardous nuisance odors. For extremely toxic chemicals, such as those classified as poison gases by the State or Federal Department of Transportation (e.g., arsine, phosgene), the use of closed systems, vented gas cabinets, fail-safe scrubbing, detection, or other stricter controls may be required.

Administrative controls can be utilized to reduce the risk of overexposure to hazardous chemicals. Some examples of administrative controls include:

- minimization of exposure time for individual employees.

- restricted access to an area where a hazardous chemical is used.

- allowing a process that emanates nuisance odors to be done only after typical office hours, when most of the staff in the building have gone home; and,

- proper signage on lab doors to indicate special hazards within, a list of lab personnel who should be contacted in the event of an emergency, and appropriate telephone numbers. Contact EHS for door signage updates.

Finally, if engineering and administrative controls are not feasible, personal protective equipment may be required to reduce inhalation exposures.  If laboratory employees wear respirators, they must meet the requirements of the OSHA Respiratory Protection Standard (29 CFR 1910.134).  This standard requires training on the proper use of respirators, medical surveillance to ensure the user can wear a respirator, and fit testing to ensure that the respirator fits properly.  A lab worker or his/her supervisor must contact EHS if respiratory protection is needed to control exposure to hazardous chemicals. Respiratory protection, should it be required for your research, should be determined before the start of any project.  It may be reviewed during project review and/or included as part of the laboratory inspection.

Be sure your work area is adequately ventilated for your experiment, and containers and glassware are kept closed. Parafilm is not considered a lid and should not be used as a lid for storing chemicals, as the liquid will slowly evaporate.

## Skin / Eye Contact Hazards (Dermal contact/absorption)

To reduce the risk of a chemical entering the body via skin and eye contact, use engineering controls, PPE, and administrative controls. Engineering controls can mitigate splash risk (such as a fume hood or an enclosed apparatus). However, the most common means of preventing skin and eye contact exposure is the use of personal protective equipment, such as eye protection, face shields, gloves, appropriate shoes, lab aprons, lab coats, and other protective equipment appropriate to the hazard. Since the chemical resistance of protective equipment varies significantly, the lab supervisor should consult Appendix 2 and other references to verify that the protective equipment material is resistant to the chemical being used. Chemical vapors can also be absorbed via the eyes. It is important to understand the risks of the chemicals you are working with.

Administrative controls to reduce skin/eye contact include enforcing policies on skin and eye protection and discarding or repairing cracked or broken eyewear.

## Ingestion

Chemical ingestion is the least common route of exposure. Nonetheless, lab workers can accidentally ingest chemicals if they don't stay vigilant about glove integrity, glove changes, and hand or glove contact with chemicals, surfaces, or objects in the lab. It's essential for workers to know when to change gloves, avoid touching surfaces with contaminated gloves, and wash their hands thoroughly after removing gloves. Using engineering controls to isolate hazards can reduce the risk of contact. Assigning lab-specific writing tools and implementing administrative controls, such as banning mouth pipetting, promoting good hygiene, and designating a clean area for eating, drinking, and cosmetics, also help prevent ingestion risks.

## Injection/puncture

Chemicals can accidentally enter the body through injections or puncture caused by a syringe, broken glass, pipette, or other means. It is important to thoroughly wash these areas, perform first aid, and seek medical attention. Read the first aid section in the SDS for additional information.

# LABORATORY INSPECTIONS

Laboratory safety inspections are conducted at least annually. The focus of the inspections is to ensure compliance with general safety, fire safety, environmental compliance, chemical safety, physical safety, biosafety, laser/radiation safety, occupational safety, and other potential compliance issues. The EHS department takes a proactive approach to compliance issues found in the laboratories and, in most cases, facilitates the corrective action process. The following outlines several criteria for Chemical Inspections.

- General Housekeeping

It is the responsibility of each laboratory worker to ensure the laboratory is maintained in a clean, orderly manner.  Excessive storage of equipment, supplies, and chemicals can pose various hazards to laboratory employees and other building occupants.

- Current Emergency Information and Warning Signs Posted

All laboratories shall have door signage posted with the telephone numbers of people to call in the event of an emergency. In addition to numbers for chemical spills, fire, and medical emergencies, the name of the responsible person (PI) is provided along with the office and alternative contact information.

The campus emergency phone number is the UHCL Police Dispatch at 281-283-2222 or #2222 if using a desk phone. This line is monitored 24 hours a day/seven days a week.   UHCL Police Dispatch maintains up-to-date lists for all emergency contacts.

Emergency postings shall also be placed on the laboratory electrical panel and, if present, the emergency gas shut-off valve.  These two emergency cut-offs are utilized in emergencies and shall never be obstructed with equipment or storage.

Laboratory hazards and required PPE shall be posted on the entry sign, including contact information.

Radioactive work areas, laboratories, and containers of radioactive materials must be posted with appropriate warning signs. Refer to the UHCL Radiation Safety Manual for safety, inspection, signage, waste procedures, and training requirements. Biohazardous labs where human blood or other potentially infectious materials are stored or used must display the universal biohazard symbol. Refer to the UHCL Biosafety Manual and Bloodborne Pathogens Plan for inspection, signage, waste procedures, and training requirements.

- Appropriate Personal Protective Equipment is available and worn.

Chemical-resistant gloves should be available and worn during procedures. To select the best glove for a particular operation, one must weigh the glove material's ability to resist permeation and degradation by the chemicals against the dexterity needed to conduct the experimental protocol. No single glove material is universally resistant to all classes of chemicals; glove selection must be individualized for each experimental protocol. Eye protection should be available and worn during procedures. The eyes are particularly sensitive to chemicals and should always be protected against chemical splashes, sprays, flying particles, and other hazards. Protective clothing should be available and worn at all times within lab space (lab coat, apron, etc.).

- Lab Coats

Lab coats not only protect street clothing from soiling; they also provide an additional layer of protection against splashes and burns. Lab coats should be professionally cleaned and not brought home for personal washing due to contamination concerns for other clothes or household items. PI has the discretion to require a disposable lab coat if it can protect against materials in the lab, and is at least as effective as, if not better than, regular lab coats.

- All Applicable Safety Binders/Manuals Available

Available safety manuals for each hazard division include the CHP, Biological Safety Manual, Laser Safety Manual, and Radiation Safety Manual. Every laboratory handling hazardous chemicals, radioactive materials, lasers, or biological hazards must have documents ready for inspection. If a printed Lab Safety Binder is created, it should contain SDS, SOPs, Research Safety Committee approval (if applicable), Training Records, a Chemical Hygiene Plan Acknowledgment Form, a Chemical Inventory List, and other necessary forms. Ensure all applicable safety manuals are thoroughly reviewed with laboratory staff. [OSHA 29CFR 1910.1450 (e) (2)]

- Appropriate Training Records Shall be Maintained (see Section 4.4)

Laboratory employees and PIs are to keep documentation of all training certificates required to work in their laboratories. Training requirements vary depending on the type of research being conducted and the items/hazards present in the lab. For all laboratory employees, including PIs: General Lab Safety, RCRA Hazardous Waste Management, Hazard Communication, and advanced lab safety training are required. Advanced and specific topic training could be required by the Research Safety Committee, EHS, the PI, the Research Division, or the University. Training needs are often identified through project hazard reviews, Committee reviews, protocol reviews, SOP development, and during inspections. Contact EHS if there are any questions regarding training requirements.

- No Food or Drink Rule Observed

Food and drink brought into labs can easily become contaminated and are not allowed. Airborne particulates can settle on exposed food, eating surfaces, or utensils. Even though work surface contamination may not be apparent, it can adhere to hands and then be transferred to food items. Upon ingestion, these harmful substances will be carried into the body, increasing the opportunity for toxic effects.  Keep food, drinks, phones, and personal care items, including make-up, outside of labs, in closed containers in research office areas or designated personal belongings shelves at lab entry.

- Egress Pathways Unobstructed

Laboratories shall be maintained in such a manner that there is at least 36 inches of clearance between obstructions to exit from the laboratory into the corridor.  The corridors must have a minimum of 48 inches of clearance and shall be maintained free of obstructions to ensure clear access to the nearest stairwell in the event of an emergency.

- Fire Extinguishers Available and Inspected

Fire extinguishers shall be located inside all laboratories or, in some instances, a minimum of 75 feet from the laboratory entrance. Extinguishers are inspected and maintained by Emergency Management & Fire Safety.  Laboratory workers should routinely inspect for broken seals, damage, and low gauge pressure (depending on the type of extinguisher).  If problems are identified, repairs are requested by contacting Emergency Management & Fire Safety at 281-283-2707.

- Safety Showers and Eyewash Stations

Emergency shower and eyewash equipment are available where hazards exist and shall be maintained in accordance with OSHA and recommendations of the American National Standards Institute (ANSI) code Z358.1. All eyewash and safety shower equipment shall be maintained free of any obstruction. Eyewashes in the labs need to be turned on weekly to flush out debris and ensure they are functional, as determined by the laboratory personnel. EHS conducts annual testing and certification for eyewash and safety showers.  If there are any questions or concerns about this equipment, please contact EHS at 281-283-2106.

- Heat Sources Separated from Combustibles

One of the easiest methods of fire risk reduction is to remove ignition sources from a flammable system (fuel + oxygen + ignition source). Ignition sources include electrical outlets, lighting fixtures, switches, exposed machinery components, and open flames. Flammable solvents are to be used inside a chemical fume hood so vapors can be exhausted. In the special case of a flammable solvent being heated (as in a distillation), all ignition sources (electrical outlets, Variac controllers, outlet strips, etc.) must be located outside of the hood.

- Appropriate Clearance to Ceiling

An 18-inch clearance to the ceiling is required to comply with NFPA sprinkler system codes.  This regulation does not include shelving or storage attached to a wall, as such items do not impede the overlap of spray from other sprinkler heads.  Minimizing the “stacking” of combustible material will also improve the fuel package arrangement in the laboratory and help contain a fire to a single laboratory unit.

- Electrical Panel Not Obstructed

Building safety codes prohibit placing any items within 36 inches of the front or 30 inches of the side of electrical panels. To maintain access to the electrical panel in an emergency, no items should be placed in a way that diminishes access to the panel.

- Electrical Circuit Loading and Cords

Surge protector outlets are not allowed in the fume hoods. Electrical outlets should not be overloaded. Enough outlets will eliminate the need for extension cords. Overloading electrical circuits and extension cords can result in a fire.

A cord should not be pulled or dragged over sharp objects that may cut the insulation. In addition, cords should never be placed on radiators, steam pipes, walls, or windows. Particular attention should be paid to connections behind furniture, since files and bookcases may be pushed tightly against electric outlets, severely bending the cord at the plug.

When the outer jacket of a cord is damaged, the cord may no longer be water-resistant. The insulation can absorb moisture, which can then cause a short circuit or excessive current leakage to ground. If wires are exposed, they may cause a shock to a worker who comes into contact with them. These cords must be replaced. Electric cords shall be routinely examined for fraying and exposed wiring.

Household extension cords and multi-use plugs are prohibited.  Check that cords on equipment are in good condition with no fraying.  Equipment supplied with a grounded plug must be connected to a ground source.  Removing the grounding prong interferes with this electrical safety feature and can result in shock or electrocution.

- Minimize Trip Hazards

Laboratories shall be free of trip hazards. This includes items such as power cords on the floor, excessive equipment in the laboratory, and damaged flooring. Waste containers must not be on the floor unless necessary, such as for ICP drainage collection, and must be in secondary containment with a properly fitting ICP cap and a completed waste label.

- Compressed Gas Cylinders Secured

Compressed gas cylinders are under great pressure, often exceeding 2000 pounds per square inch or 136 atmospheres. To prevent the accidental and uncontrolled release of energy or gas, it is important to protect cylinders from toppling over and rupturing the valve stem. All compressed gas cylinders, including lecture bottles, “empty” cylinders, and cylinders in transit, must be secured in racks, clamping devices, stands, or other protective structures.  Any cylinders not in use must have the regulator removed and the cylinder cap tightly in place.

- Proper Segregation of Chemicals

Separate chemicals into organic and inorganic families and then into related and compatible groups. Suggested chemical storage schemes and compatibility lists can be found in several lab safety resources available from EHS. A quick and very general rule of thumb is to separate acids from bases, flammables from oxidizers, and reactive chemicals from air or water.

- Chemicals in Cabinets

Chemicals need to be stored in the appropriate storage cabinet (i.e., flammables in flammable cabinets, corrosives in corrosive cabinets).  Multiple cabinets may be necessary to properly segregate. See Appendix 3.

- Chemicals Properly Labeled

Manufacturers are required to label every chemical container with hazard information that includes the chemical name, physical and health hazard information, and the manufacturer's name. These labels convey valuable information that assists in hazard evaluation and control and cannot be removed or defaced from the original container unless the contents have been altered or removed. Secondary containers that will remain in use for a period (storage vials, squirt bottles) should bear an abbreviated label that includes the chemical name and hazard warning, such as flammable, caustic, sensitizer, carcinogen, absorbed through the skin, etc.  See Section 4.6.

- Flammables Properly Stored

Flammables that do not require refrigeration must be stored in a flammable storage cabinet.  Special attention must be paid to ensure that flammable storage does not exceed the amounts allowed by NFPA 45 and 30, which depend on the floor level, the presence of fire walls and flammable cabinets, and the size of the area.

  - Container sizes - of 1L or more must be stored in flammable cabinets.

  - Up to 2 gallons total per 100 sq ft is allowed outside flammable cabinets

  - Up to 4 gallons total per 100 sq ft is allowed inside flammable cabinets

  - Up to 3 free-standing flammable cabinets are allowed per lab

Many common solvents have flash points near or below the temperature at which most refrigerators operate (around 39°F or 4°C). Flammable solvents evaporate rapidly, even at lower temperatures, so they can quickly reach equilibrium in the small, well-sealed space of a refrigerator. When this “off-gassing” reaches the lower explosive limit (LEL), ignition sources inside a conventional refrigerator, such as the thermostat, interior light, defroster, compressor, or fan, can trigger an explosion. Flammable liquids that must be stored at reduced temperatures require a specially designed refrigerator, called a “flammable material storage refrigerator,” that isolates ignition sources from the interior.

- Controlled Substances Secured

Controlled substances are heavily regulated by the State of Texas and the Federal Drug Enforcement Administration Controlled Substances Act. Controlled substances must be secured following Chapter 481 of the Texas Controlled Substances Act, which includes the following criteria:

- Establishing adequate security to prevent unauthorized access to controlled substances and dangerous drugs, including a preliminary security inspection outlined in the requirements.

- Not allowing any individual access to controlled substances and dangerous drug storage areas except those authorized for efficient operations during business activities.

- Storing controlled substances and dangerous drugs listed in schedules I, II, III, IV, and V in a securely locked, substantially constructed cabinet, security cabinet, or safe.

- Chemical substances and pharmaceuticals not yet listed in the Texas Controlled Substance Act or DEA but require a prescription by a Licensed Medical Professional (MD) or Veterinarian (DVM), which should be secured in the same fashion as controlled substances here at UHCL.

- THC: Tetrahydrocannabinol Research. As some forms and quantities of THC are currently legal in Texas, not all are. All THC proposed research needs to be reviewed by the Research Safety Committee for approval before any purchase of THC is made.

- Absence of Old or Potentially Explosive Chemicals

Outdated, expired, or unknown chemicals should be immediately addressed. Some materials, as they age, become unstable, possibly forming explosive byproducts or undergoing rapid, violent decomposition. Other materials simply lose purity as contaminants are introduced or residues form. Chemicals that may no longer be used, that are of questionable purity or are past their expiration dates should be removed from the lab and placed in the hazardous waste storage rooms.  For all chemicals suspected of being unstable or explosive, immediately isolate the chemical and contact UHCL-EHS to inspect the material.  DO NOT MOVE the affected material. See Peroxide Forming Chemicals in Section 12 and Waste Procedures Appendix 1.

- Hazardous Liquid Chemicals Stored Below Eye Level

Every chemical should have a designated storage location and be returned to it after each use. Do not store materials on top of high cabinets or shelves where they are hard to reach or see.

- Air Flow in Chemical Fume Hood Adequate

Hazardous chemicals that are flammable, volatile, or gases should be manipulated inside a properly functioning chemical fume hood.  Optimum height is the sash height that protects the upper body and face while maximizing airflow (without creating turbulence), typically between 80 and 120 linear feet per minute (fpm).  Variable-air-volume valves have been set to maintain 100 fpm. A sticker placed on the hood face indicates the most recent inspection results.  Hoods can malfunction at any time without warning.  It is important to confirm hood operation before each work session.  Check the digital airflow display, if so equipped. In the absence of a display, one can tape an inch-wide strip of tissue to the lower corner of the sash and visually assess flow by noting that the tissue moves into the hood.  If the flow rate is not within the acceptable range, the correction is to be made by FMC by contacting 281-283-2247. Contact EHS when there are hood issues, so they are aware it needs to be addressed and retested.

- Chemical Fume Hood Sash Closed When Not in Use

To promote safety and conserve energy, the chemical fume hood sash must be closed when not in use. Some hoods are installed with an automatic sash closer.  Please be aware of this when placing items in the hood so they do not obstruct the sash sensor or damage it. If a reminder sticker is needed, please contact EHS at 281-283-2106.

- Ventilation Negative to Hallway

The primary objective in controlling occupational exposures is to prevent contamination of the work atmosphere. This shall be achieved first by using a chemical fume hood or other enclosure.  The second way this is achieved is by ensuring the ventilation keeps the air pressure in the laboratory negative with respect to the hallway, and by keeping lab doors closed, thus preventing the release of chemicals from the laboratory.

- Chemical Waste (See Waste Appendix 1)

Ensure that all chemical waste containers are kept closed and marked “Hazardous Waste” with the Hazardous Waste Label. All chemical waste containers must be clearly labeled with all their contents and hazards, which is a requirement for managing your lab. Labels are provided in Hazardous Waste Storage Rooms. If Unknown chemicals need to be tested before off-campus disposal (which is a legal requirement under DOT and RCRA), the cost will be billed back to your department.  Containers must have proper-fitting lids.  Liquids must be in containers intended for liquids. Date the container the day you move the waste to the Central Accumulation Area and log waste on the waste inventory sheet for pickup.

Large containers (5 gallons or more) have additional requirements and cost. Contact the Hazardous Waste Coordinator at 281-283-2104 for assistance.  See Appendix 1.

- Biosafety Laboratories

Biosafety Laboratories (Biotechnology, Plant labs, Microbiology, etc.) must comply with the CHP because they also contain, use, and store chemicals. The Biosafety Hazard Level shall be identified on the door as Biosafety Level 1-2, indicating the level of biohazard present. Biohazards such as microorganisms, viruses, infectious agents, human or animal bodily fluids or tissues, and rDNA must be identified. Biosafety labs can generate highly hazardous chemical wastes (such as Ethidium Bromide), antineoplastic drugs, and mixed wastes.

- Biological Safety Cabinet Certified within the Past Year

Biosafety cabinets should be certified upon installation or relocation and annually thereafter. The biosafety cabinet’s (BSC) ability to filter out microscopic particles depends on intact seals, and the HEPA filter must be free of micro-tears or breaks, which can occur during installation, relocation, or careless handling. To ensure continued proper operation, each BSC should be tested and certified at least annually [CDC/NIH Primary Containment for Biohazards: Selection, Installation and Use of Biological Safety Cabinets p. 29; NRC Biosafety in the Laboratory p. 26]. During an inspection, biosafety cabinets are checked to ensure they have been inspected annually.

- Guards for Mechanical Hazards in Place

Some common pieces of lab equipment present physical hazards due to rotating parts, nip points, or other mechanical actions. Particularly prevalent in the lab are vacuum pumps with their belt guards removed. To prevent injury due to entrapment of hair, clothing, or other items, these areas must remain locked. Any piece of equipment with a detached, disengaged, or inoperable guard must be prominently tagged and removed from service.

- Occupancy’s Safety Concerns Solicited

During routine EHS inspections, the inspector is expected to speak with laboratory staff and students to ensure they have no specific safety concerns. If an individual raises concerns, the inspector will make every effort to address the issue directly and immediately or document the concern by bringing it to the attention of the departmental management chain as part of the laboratory inspection. Notifications of laboratory inspections and safety concerns will be presented to management teams in the following manner:

          - Notify Principal Investigator

          - Notify Program Chair

          - Notify Department Chair

          - Notify Dean

          - Notify Research Safety Committee

When notifying management, a time will be specified for re-inspection or to address the individual's concern.  If the issue has not been addressed by the specified time, it should be passed to the next step in the notification chain until it is resolved. The Research Safety Committee reports important findings to the EHS Safety Council.

# INSPECTION DISCREPANCY CORRECTION

# Discrepancies* discovered during routine inspections will be addressed in the following manner:

- Verbal Notification

If, during a routine evaluation or inspection, a problem involving chemical safety procedures is observed, a verbal recommendation will be provided.  If, upon receipt of a verbal recommendation, the laboratory staff or the Environmental Health and Safety staff take immediate steps to correct the problem, then no further response regarding the discrepancy will be documented.

- Written Documentation Notification

Following the survey, a summary of the findings and recommendations, including any corrections made during the survey, will be sent to the PI responsible for the laboratory. The PI will be requested to take corrective action within 30 days and provide a response, which will be recorded. All communication and corrective responses should be recorded in the system. If the system is unavailable, all communications should be routed through UHCL email. If you need assistance, contact EHS well before the 30-day corrective action deadline.

- Follow-up and copy Program Chair

If the PI does not respond, notification will be sent to the Program Chair. The Program Chair is expected to ensure that the PI provides a written response and that action has been taken. This response will also be made through the EHS system software.  If no response is received from the Program Chair or the PI within two weeks, continue to step 4.

- Written Notification Forwarded to the Department Chair

If the Program Chair or the PI does not respond, notification will be sent to the Department Chair. The Department Chair is expected to ensure that the PI provides a written response and that action has been taken.  This response shall be made through the EHS system software. If no response is received from the Department Chair or the PI within two weeks, continue to step 5.

- Written Notification Forwarded to the Dean

If the Department Chair does not respond, notification will be sent to the Dean. The Dean is expected to ensure that the PI provides a written response and that action has been taken. If no response is received from the Dean, the Chairs, or the PI within two weeks, continue to step 6.

- Research Safety Committee

If the problem continues, the PI, Program Chair, Department Chair, and Dean will be notified that the inspection will be discussed during the next Research Safety Committee meeting to resolve and to report to the meeting and the EHS Safety Council.

# * High or Unacceptable Risks

Any operation that poses a high or unacceptable risk to employees, students, or the university will be suspended immediately by EHS, regardless of the above procedure. Depending on the situation, EHS may remove hazards, lock rooms, and notify emergency services as needed. In the event of this action, the situation will be promptly reported to the Research Safety Committee and the EHS Safety Council.

Tracking and Review of Past Deficiencies (Repeat Violations)

EHS will review past laboratory inspections and compare them to the current inspection.  If the same violations are repeated from the previous survey, they will be identified as a “Repeated Violation” on the inspection report and communicated to management in the following manner until they have been resolved:

- Notify Principal Investigator

- Remind Principal Investigator and copy Program Chair

- Notify Department Chair

- Notify Dean

- Notify Research Safety Committee

When notifying management, a time for reinspection should be specified.  If the issue has not been addressed by the identified timeline, it should be passed to the next step in the notification chain until it is resolved. If the resolution is not addressed by the Dean, the Research Safety Committee is notified.

# LABORATORY FUME HOODS AND OTHER ENGINEERING CONTROLS

"A requirement that fume hoods and other protective equipment are functioning properly and specific measures that shall be taken to ensure proper and adequate performance of such equipment." 29 CFR 1910.1450 (e)(3)(iii)

All laboratory (fume) hoods at UHCL shall comply with EHS guidelines.  Laboratory (fume) hoods and other engineering controls, such as vented gas cabinets, shall be surveyed annually by EHS.  Laboratory (fume) hood velocities for all hoods on campus are currently evaluated annually by EHS.  The face velocity of the hoods should fall between 80 and 120 feet per minute (fpm) with the sash positioned at approximately 18 inches unless specified otherwise.  (In general, laboratory hoods should not be used with the sash fully open.)  If the face velocity is between 80 and 120 fpm on the day of the evaluation, the laboratory hood will bear a sticker on the cabinet indicating the inspection results.  If the face velocity is less than or equal to 79 fpm or greater than or equal to 121 fpm, the hood will be marked with a sticker indicating that it should not be used for protection from highly toxic substances.  Upon finding a hood out of the specified range, EHS will contact FMC for adjustment. Once the hood has been adjusted, an inspection sticker will be attached.  The fume hood may be equipped with a variable airflow valve that maintains a constant hood face velocity of 100 fpm.  The rate is continuously measured and displayed on a digital readout on the fume hood.

Laboratory personnel should ensure their hood has a sticker and that the date on the sticker is less than a year old. Because the status of a hood can change within one-year, continuous airflow indicators are required for all fume hoods, which will alert the user if there is a problem with airflow. For airflow questions or if the monitoring device is malfunctioning, a simple visible test to ensure flow into hoods and other ventilating devices is to tape a tissue or Kimwipe® to the hood and note its movement when the exhaust fan is on. Notify EHS or FMC by work order of hood alarm issues.

Air exhausted from chemical fume hoods and other special local exhaust systems should not be recirculated. Ductless chemical fume hoods that pass air from the hood interior through an adsorption filter and then discharge it into the laboratory are suitable only for nuisance vapors and dusts that do not pose a fire or toxicity hazard (see NFPA 45 8.4.1). Their filters must also be selected for the types of chemicals used and replaced per the manufacturer’s recommendation, which may be yearly.

Protective equipment other than laboratory hoods should be checked periodically by the laboratory supervisor to ensure proper functioning. Any questions or requests for assistance with the evaluation of hoods and other protective equipment may be directed to EHS at 281-283-2106.

# PRIOR APPROVAL FOR THE ACQUISITION AND USE OF HIGHLY HAZARDOUS CHEMICALS

"The circumstances under which a particular laboratory operation, procedure, or activity shall require prior approval from the employer or the employer's designee before implementation." 29 CFR 1910.1450(e)(3)(v)

The use of certain materials, including toxic chemical agents, radioactive materials, lasers, recombinant DNA, and certain biological agents requires prior approval from the appropriate safety committees at various levels. The list of chemicals requiring prior authorization is found in Appendix 5.

All new purchases of high-hazard chemicals require the UHCL SOP, CHP Acknowledgment Form, and SDS to be submitted to PeopleSoft financials. The purchase request and documents are then sent to EHS for review and authorization. EHS may then facilitate this request for additional review to the Research Safety Committee. The Research Committee may request a full Project Hazard Review before granting approval.

If a new purchase has been reviewed and approved by the Research Committee, a protocol number will be generated and submitted to PeopleSoft Financials, which will replace the need for the other requested documents.

For questions regarding approvals, SOP guidance, or any other additional assistance, contact the EHS at 281-283-2106.

Note: EHS is not responsible for the payment of any licenses, permits, or fees required by any governing authorities pursuant to a PI working with a regulated chemical, other substances, or equipment. EHS is also not responsible for procuring any engineering controls required for a PI working with such items or materials.  The responsibility for procuring funds for the work resides with the PI and their department.

# MEDICAL CONSULTATION

"Provisions for medical consultation and medical examinations in accordance with paragraph (g) of this section." 29 CFR 1910.1450(e)(3)(vi)

An opportunity to receive medical consultation shall be provided under workers' compensation if an employee is injured by a chemical or develops symptoms believed to result from chemical exposure. These suspected or actual exposures must be reported as an Injury. Faculty, staff, and students must complete the UHCL First Report of Injury Form for Employees or Students. Incident Report forms are online, available on the Human Resources and EHS websites. QR code links to online forms are in each lab.

Following notification of exposure, arrangements for an appropriate medical examination must be made if needed. Any medical examination required by this CHP shall be provided at no cost to the employee, without loss of pay, and at a reasonable time and place, in accordance with workers' compensation requirements. Students must carry their own insurance.

# CHEMICAL HYGIENE OFFICER

"Designation of personnel responsible for implementation of the Chemical Hygiene Plan, including the assignment of a Chemical Hygiene Officer and, if appropriate, establishment of a Chemical Hygiene Committee." 29 CFR 1910.1450(e)(3)(vii)

A qualified member of the EHS Department is designated as the acting Chemical Hygiene Officer for UHCL. This member also serves on the Research Safety Committee for chemical safety review.

# SPECIAL PROVISIONS FOR SELECT CARCINOGENS, ANTINEOPLASTICS, ACUTELY TOXIC CHEMICALS, PYROPHORIC, EXPLOSIVE, PEROXIDE-FORMING CHEMICALS, AND NANOSCALE PARTICLES

"Provisions for additional employee protection for work with particularly hazardous substances: These include 'select carcinogens' and substances which have a high degree of acute toxicity.  Specific consideration shall be given to the following provisions, which should be included where appropriate:

(A)	Establishment of a designated area;

(B)	Use of containment devices such as fume hoods or glove boxes;

(C)	Procedures for safe removal of contaminated waste; and

(D)Decontamination procedures." [29 CFR 1910.1450(e)(3)(viii)]

Preapproval, Special Precautions –

Carcinogens, acutely toxic chemicals, explosives, pyrophoric, antineoplastics, and nanoscale particles require notification and approval from EHS, the Research Safety Committee, or subcommittee designee before acquisition and use.

The list of chemicals requiring approval for purchase and protocol review can be found in Appendix 5 or obtained from EHS by calling 281-283-2106. In addition to the general safety guidelines mentioned in the first section and throughout the CHP, special precautions are required when handling these chemicals.  A minimum set of guidelines that should be followed is listed below.  The lab supervisor should ensure that these and other precautions designed to minimize exposure to these substances are taken.

- Minimize - Quantities of these chemicals used and stored in the laboratory should be minimized, as should their concentrations in solutions or mixtures.

- SOPs - All laboratory workers who work in a laboratory that has an area designated for use with carcinogens, acutely toxic chemicals, explosives, pyrophoric, antineoplastics, and nanoscale particles require a project hazard review and SOPs written for safe use. Any use of explosive materials must include an explosion-resistant designed containment area and documented specialized training for work with said materials.

- Project Hazard Assessment - A Project Hazard Assessment is evaluated along with the SOP during the approval process by the Research Safety Committee or subcommittee designee.

- Engineering Control – When working with carcinogens, acutely toxic chemicals, explosives, pyrophoric, antineoplastics, and nanoscale particles, work should be performed within a functioning laboratory (fume) hood, a ventilated glove box, a sealed system, or other equipment designed to minimize exposure. In all cases, work with these chemicals shall be conducted in a manner that ensures the OSHA permissible exposure limits or similar standards are not exceeded. The ventilation efficiency of the designated hood, glove box, or gas cabinet, and the operational effectiveness of the mechanical and electrical equipment used to contain or manipulate these special substances should be evaluated periodically by laboratory personnel at intervals determined by the laboratory supervisor. The evaluation interval may range from weekly to biannually, depending on the frequency of use, quantities employed, and level of hazard.

- Designated Areas, Marked - Each laboratory utilizing these substances must designate an area for research and storage purposes and label this area with an appropriate hazard warning.  The designated area may be an entire laboratory, a portion of the laboratory, or a device such as a fume hood or a glove box. The designated area should be marked with a DANGER, specific agent, AUTHORIZED PERSONNEL ONLY, or comparable warning sign. The designated working area shall be thoroughly and appropriately decontaminated and cleaned at regular intervals as determined by the laboratory supervisor.  The interval may be as short as one day or as long as six months, depending on the frequency of use and the level of the specific hazard.

- Advanced Training - All laboratory workers who work in a laboratory with an area designated for use with carcinogens, acutely toxic chemicals, explosives, pyrophoric materials, antineoplastics, and nanoscale particles must be trained on the deleterious effects of these substances and the signs and symptoms of exposure to them, whether or not they work with the substances directly. Training to ensure the safe handling and storage of these substances is required for those who use them. This training is the responsibility of the laboratory supervisor and must be completed before using any of these materials.

- Specific PPE - Laboratory workers working with these chemicals must have access to appropriate protective equipment and clothing specific to the high hazards used (available at no expense to the workers) and must be trained on how to properly utilize the equipment.  Training must be documented in writing.  If assistance is required, contact EHS at 281-283-2106.

- Special precautions must be taken to avoid release and exposure to highly toxic chemicals, carcinogens, explosives, pyrophoric, antineoplastics, teratogens, reproductive hazards, and nanoscale particles. For instance, volatile substances should be kept cool and contained; gases should have properly functioning valves, check valves, regulators, and containment that can withstand pressure buildup; and appropriate piping; and dispersive solids should be kept in closed containers, used in areas with minimal air currents, and handled with appropriate contact materials to avoid static charging. Shipping any chemicals, biologicals, and radioactive materials requires special certifications, and some require specific receiving instructions. Coordinate shipping samples with EHS.

- Detection equipment may be required in laboratories where chemicals or poisonous gases with a high degree of acute toxicity are utilized.  All detection equipment must be checked and/or calibrated at the frequency indicated by the manufacturer.  It is the responsibility of the department, investigator, or lab manager to properly maintain the equipment.

- All wastes contaminated with these substances should be collected and disposed of appropriately in a timely manner as outlined in the Appendix 1 Waste Disposal Guide.  For questions or assistance with waste handling and disposal, call EHS at 281-283-2104.

- Emergency response planning for releases or spills shall be prepared by the lab supervisor and included in the training of the laboratory workers and others who may be affected in the building.  EHS can be contacted for assistance.

- Acutely toxic compressed gas cylinders larger than lecture bottle size that contain chemicals such as arsine and nitrogen dioxide shall be kept in ventilated gas cabinets.  Lecture bottles will be either in a ventilated gas cabinet or a fume hood.

- Controlled Substances - More information on the use of controlled substances in research can be obtained by referring to the DEA Guidelines.

- Mercaptans (thiols, sulfhydryl reagents) – Should mercaptans be used in a laboratory in such a manner that persons outside of the laboratory would smell and suspect a natural gas leak in the building, EHS should be contacted at 281-283-2106 to avoid false reporting of natural gas leaks.  Mercaptans should also be used in a chemical fume hood.

- Nanoparticles - See Appendix 8 for Nanoparticle safe handling.

- Perchloric acid – If perchloric acid is heated above ambient temperature, it will release vapors that can condense and form explosive perchlorates.  Hence, when heating perchloric acid above ambient temperature, a perchloric acid fume hood with a wash-down system, or a local scrubbing or trapping system, is required.  Perchloric acid is highly restricted and must be used in a designated designed hood and restricted lab. Violations of this will result in EHS removing materials and charging the department for disposal.

- Peroxide-Forming Chemicals – Peroxide-Forming Chemicals are a class of organic peroxides that can react with oxygen over time to form unstable, shock-sensitive, and potentially explosive chemicals (PECs). These peroxides can be detonated by heat, friction, or shock. Many common laboratory solvents, such as ethers and tetrahydrofuran (THF), can form peroxides if not handled and stored properly, tested routinely for peroxides. Small quantities should be ordered and discarded routinely within one year if not used.

A list of peroxide-forming chemicals may be found at the following link:

https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/lab-safety/chemical-safety

Prior Approval and Chemical Review – Peroxide-forming chemicals are classified as High Hazard Chemicals and require prior approval before purchase. Requestors must submit SDS along with SOP and an acknowledgement form indicating how it will be used.     Compliance with Appendices 5 – Chemical Protocol Review and 11 – Standard Operating Procedures Template is required. If the item is approved by a Research Safety Committee or designee, only the protocol # is necessary to purchase.

Inventory - All labs using peroxide-forming chemicals must maintain a current inventory of these chemicals and their locations.  The inventory must also contain the date each chemical was received, the date it was opened, the expiration date, and a testing date if testing was done.  A hard copy of the inventory shall be maintained in the safety folder of the lab where it is utilized and/or stored.

Labeling – The chemical container must be labeled with a peroxide-forming chemical label and include the date received, the date opened, and the expiration date. Subsequent testing results must also be recorded on the label. Shelving where peroxide formers are stored must be labeled with a peroxide-forming shelf sign. All peroxide-forming chemicals that have expired must be tested for peroxide and/or disposed of immediately.

A copy of the peroxide-forming shelf label may be found at the following link:

https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/documents/peroxide-storage-shelf-sign.docx

A copy of the peroxide-forming chemical label may be found at the following link:

https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/documents/peroxide-label-printable-large-and-small.pdf

Testing is the responsibility of the chemical's owner. The testing date must also be marked on the label in black Sharpie. Even if purchased with inhibitors, they will eventually react and must still be tested to meet storage safety and waste needs.

Any expired peroxide-forming chemicals that have not been tested will be removed for disposal if discovered during annual lab inspections. (See also Appendix 1 Waste Disposal Procedures.)

Contact EHS at x.2106 for assistance printing labels.

- Phenol – is corrosive, toxic, and can cause permanent eye injury and blindness.  NIOSH REL is 5ppm.  Refer to Cornell 2-page safe handling guide:

https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/documents/phenol-cornell-chem-sop-template.docx

# APPENDIX 1: CHEMICAL WASTE DISPOSAL PROCEDURES

BACKGROUND

In general, all chemicals and their disposal should be treated with appropriate respect. Given the tremendous number of chemicals available in today’s institutional research environment and their potential deleterious effects on personnel and the environment, it is essential that this institution implement effective chemical waste disposal procedures as part of its Environmental Management Program.

The Resource Conservation and Recovery Act (RCRA) and the Superfund Amendments and Reauthorization Act (SARA Title III) regulations impose very specific "cradle-to-grave" responsibilities. Generally, a hazardous chemical is highly flammable, toxic, corrosive, carcinogenic, explosive, reactive, or contained under pressure. Due to the complexity of regulations governing hazardous waste disposal, all chemical waste, whether hazardous or nonhazardous, or mixed waste (Chemical and Biological, Chemical and Radioactive, etc.) shall be disposed of through EHS.

Each responsible lab faculty shall complete waste stream information forms (https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/documents/waste-stream-determination-form.pdf) for each of their lab wastes generated. EHS can assist in developing waste profiles for your lab experiments within your SOP, evaluate recycling options, and other methods best suited for end-of-life removal.

Important Note: Failure to follow the requirements of proper waste and chemical management specified herein may result in the non-compliant department being charged back for those increased costs of chemical management, identity testing, and hazardous waste disposal.  Examples include, but are not limited to, unlabeled waste or other unknown chemicals, expired peroxide formers that require specialized disposal due to their age and/or lack of dating and peroxide testing required, etc.

DISPOSAL OF CHEMICAL WASTES

When disposing of chemical waste, the following procedures shall be followed:

a.	The outside of waste containers must not be contaminated, the lid should be securely attached, and the container must be in good condition and compatible with the waste stored within.  If you need assistance with container compatibility, please contact EHS at 281-283-2104.

- All containers should be a maximum of five gallons with a minimum of two inches of headspace on top. For ease of handling, one-gallon containers are preferred.  Strong acids, bases, and poisons should be placed in containers no larger than 1 gallon.  Most secondary waste containers are made of glass or HDPE plastic and should be compatible with the chemical. Glass is recommended for almost all liquid chemicals, except for Hydrofluoric acid, Strong alkali/bases, and Phosphoric acid.  HDPE becomes brittle and cracks over time  (~7yrs, may change color to yellow), so it should be checked for integrity periodically.

- Small amounts of dry waste should be bagged in 2 mil thick bags unless otherwise incompatible. Wide-mouth HDPE plastic containers may be used for larger amounts of solids. All other containers should be made of glass or HDPE plastic.

- Label the waste with a Hazardous Waste sticker.  Ensure that the sticker is properly filled out with the following:

- The name of the person generating waste.

- The complete chemical name(s) of the contents.  List percentages if known.

- List the hazards of waste.  Check each given hazard on the sticker as required by the contents.

- The date is only filled or finished when used in the lab (satellite accumulation area).

- Recommend only putting the date on the sticker the day it is relocated, as containers must be moved within 3 days of fill date to the waste storage room (<180 day waste storage area).

- Hazardous Waste labels are available in the waste storage rooms and can be requested from EHS ehs@uhcl.edu or at 281-283-2106.  Do not store or stash multiple labels in labs.

- Move Hazardous Waste containers to the designated waste storage area/room. Provide an inventory list for your waste or fill out the waste material check-in form (inventory log) at the entrance.

Waste containers must be moved to a designated waste accumulation area, which is designated as a satellite area to the TCEQ. These areas require weekly inspections and waste pickup every 180 days. Write your name, date, and waste container(s) information on the waste check-in sheet. This will help EHS with inspection compliance and waste pickup, avoiding department bill back.

It is not normally necessary to notify EHS by email or phone that the waste containers have been moved to waste storage areas, as these locations have regular scheduled removal dates. However, reactive and unstable chemicals that need to be disposed of should remain in the lab, and EHS should be contacted immediately to assess and arrange a special pick-up.  All chemicals with unknown contents, crystals, or that are considered an immediate hazard may require testing, processing, and removal by a high-hazard waste team.

Chemicals that require testing to determine the contents, hazard levels, or disposal determinations due to failure to label will be billed back to the department. Dispose of chemicals promptly that you do not need, and order small quantities to avoid deterioration and degradation waste issues. Be sure peroxide formers are labeled and tested in accordance with the PEC schedule (see section 12).

- Ensure that all containers have been properly labeled and placed in secondary containment and that no incompatible chemicals are stored in the same container or secondary containment.

- Assistance with complying with Laboratory Hazardous Waste Disposal Procedures.  For assistance with any part of this procedure, please contact EHS at 281-283-2104.  If immediate assistance is not available, please contact the EHS hotline at 281-283-2106.

DISPOSAL OF EMPTY CONTAINERS

Empty containers with a volume of less than five gallons can be rinsed and disposed of in the regular trash, provided the labels are defaced. Before containers greater than five gallons can be discarded in the regular trash, they must be rinsed a minimum of three times, with the collected washing disposed of as chemical waste. Write on the container “Triple Rinsed-Empty.” Alternatively, empty five-gallon drums can be left in the waste storage room and disposed of as contaminated drums rather than triple-rinsed. Contact EHS for disposal.

BROKEN GLASSWARE / CONTAINERS

If broken (or unbroken) glassware or a broken container is contaminated with hazardous chemical residue, call 281-283-2104 for a pickup.  The contaminated materials will need to be packaged for waste disposal.  Otherwise, uncontaminated broken glassware or containers should be disposed of in a broken glass box.  When filled, the container should be closed, taped, labeled TRASH or "Basura" and placed near the regular trash for pickup.

CONTROLLED SUBSTANCES, EXPIRED DRUGS, & PHARMACEUTICALS

Assistance with the disposal of controlled substances, expired drugs, and pharmaceuticals can be obtained by contacting EHS at 281-283-2104. Please note that all controlled substances must remain in their designated locked areas until disposal is arranged. Expired drugs and pharmaceuticals will be picked up by EHS for disposal.

NO SINK DISPOSAL

Under no circumstances should any chemical, biological, hazardous, or non-hazardous waste be poured down a drain for disposal. All chemical waste must be packaged, labeled, and moved to the appropriate waste storage room for proper disposal by EHS. Call EHS at 281-283-2104 with any questions regarding waste disposal.

WASTE REDUCTION AND POLLUTION PREVENTION MEASURES

To support waste compliance and reduction, the following elements are used cooperatively for prevention measures.

- An up-to-date review of the chemical inventory. To verify containers are in good condition and still needed (at least annually).

- Waste Stream Information forms, profile reviews, and inspection. All waste generated in labs must have waste stream information forms completed and on file with EHS.

- Waste collection method reviews (recycling options, vessel containment, alternatives, bulking, etc.)

- Use of the chemical redistribution program, where chemicals are still in good condition but no longer needed by one lab or faculty member. A SOP must be created for high-hazard swaps and may be subject to committee review and approval. Care must also be taken to avoid hoarding and not exceed flammable quantity limits.

- Consider the hazards and quantities of waste produced when creating new and reviewing experimental protocols.

- Destruction procedures are the final step in experiments, such as neutralizing corrosive waste that does not contain heavy metals. Date must be recorded, with neutralization verified by test (pH strips or electrode) in a container prior to disposal, with waste stream form completed and submitted to EHS.

- Elimination of thermometers and reagents that contain mercury and chromic acid cleaning solutions.  The use of other hazardous materials, such as heavy metals and halogenated solvents, should also be eliminated or reduced.

# APPENDIX 2: GLOVES CHEMICAL RESISTANCE CHART

Resistance to Chemicals of Common Glove Materials

(E=Excellent, G=Good, F=Fair, P=Poor)

=====================================================================

| CHEMICAL | NATURAL RUBBER | NEOPRENE | NITRILE | VINYL |
| --- | --- | --- | --- | --- |
| Acetaldehyde | G | G | E | G |
| Acetic acid | E | E | E | E |
| Acetone | G | G | G | F |
| Acrylonitrile | P | G | - | F |
| Ammonium hydroxide | G | E | E | E |
| Aniline | F | G | E | G |
| Benzaldehyde | F | F | E | G |
| *Benzene | P | F | G | F |
| *Benzyl chloride | F | P | G | P |
| Bromine | G | G | - | G |
| Butane | P | E | - | P |
| Butyraldehyde | P | G | - | G |
| Calcium hypochlorite | P | F | G | F |
| Carbon disulfide | P | P | G | F |
| *Carbon tetrachloride | P | F | G | F |
| Chlorine | G | G | - | G |
| Chloroacetone | F | E | - | P |
| *Chloroform | P | F | G | P |
| Chromic acid | P | F | F | E |
| Cyclohexane | F | E | - | P |
| CHEMICAL | NATURAL RUBBER | NEOPRENE | NITRILE | VINYL |
| Dibenzyl ether | F | G | - | P |
| Dibutyl phthalate | F | G | - | P |
| Diethanolamine | F | E | - | E |
| Diethyl ether | F | G | E | P |
| **Dimethyl sulfoxide | - | - | - | - |
| Ethyl acetate | F | G | G | F |
| *Ethylene dichloride | P | F | G | P |
| Ethylene glycol | G | G | E | E |
| *Ethylene trichloride | P | P | - | P |
| Fluorine | G | G | - | G |
| Formaldehyde | G | E | E | E |
| Formic acid | G | E | E | E |
| Glycerol | G | G | E | E |
| Hexane | P | E | - | P |
| Hydrobromic acid (40%) | G | E | - | E |
| Hydrochloric acid (conc) | G | G | G | E |
| Hydrofluoric acid (30%) | G | G | G | E |
| Hydrogen peroxide | G | G | G | E |
| Iodine | G | G | - | G |
| Methylamine | G | G | E | E |
| Methyl cellosolve | F | E | - | P |
| *Methyl chloride | P | E | - | P |
| Methyl ethyl ketone | F | G | G | P |
| *Methylene chloride | F | F | G | F |
| CHEMICAL | NATURAL RUBBER | NEOPRENE | NITRILE | VINYL |
| Monoethanolamine | F | E | - | E |
| Morpholine | F | E | - | E |
| *Naphthalene | G | G | E | G |
| Nitric acid (conc) | P | P | P | G |
| Perchloric acid | F | G | F | E |
| Phenol | G | E | - | E |
| Phosphoric acid | G | E | - | E |
| Potassium hydroxide | G | G | G | E |
| *Propylene dichloride | P | F | - | P |
| Sodium hydroxide | G | G | G | E |
| Sodium hypochlorite | G | P | F | G |
| Sulfuric acid (conc) | G | G | F | G |
| *Toluene | P | F | G | F |
| *Trichloroethylene | P | E | G | F |
| Tricresyl phosphate | P | E | - | F |
| Triethanolamine | F | E | E | E |
| Trinitrotoluene | P | E | - | P |

* Aromatic and halogenated hydrocarbons will attack all types of natural and synthetic glove materials.  If swelling occurs, the user should change to fresh gloves, allow the swollen gloves to dry, and return to normal.

** No data on the resistance of dimethyl sulfoxide of natural rubber, neoprene, nitrile rubber, or vinyl materials are available; the manufacturer of the substance recommends the use of butyl rubber gloves.

Appendix taken from the following source: Prudent Practices for Handling Hazardous Chemicals in Laboratories, National Research Council, National Academy Press, 1981.

# APPENDIX 3:  CHEMICAL SEGREGATION & INCOMPATIBILITIES GUIDELINES

| Class of Chemical | Examples | Recommended Storage Method | Incompatible Materials | Possible Reaction If Mixed |
| --- | --- | --- | --- | --- |
| Corrosive Acids | Mineral Acids – Chromic Acid Hydrogen Chloride Hydrochloric Acid Nitric Acid Perchloric Acid Phosphoric Acid Sulfuric Acid | Separate cabinet or storage area away from potential water sources. Do not store under sink. | Flammable Liquids Flammable Solids Bases Oxidizers Poisons | Heat Gas Generation Violent Reaction |
| Corrosive Bases (Caustics) | Ammonium Hydroxide Sodium Hydroxide Sodium Bicarbonate | Separate cabinet or storage area away from potential water sources. Do not store. under sink. | Flammable Liquids Flammable Solids Acids Oxidizers Poisons | Heat Gas Generation Violent Reaction |
| Explosives | Ammonium Nitrate Nitro Urea, Picric Acid Trinitroaniline Trinitrobenzene Trinitrobenzoic Acid Trinitrotoluene Urea Nitrate | Secure location away from other chemicals | Flammable Liquids Oxidizers Poisons Acids Bases | Explosion Hazard |
| Flammable Liquids | Acetone Benzene Diethyl Ether Methanol Ethanol Toluene Glacial Acetic Acid | Grounded flammable storage cabinet of flammable storage refrigerator | Acids Bases Oxidizers Poisons | Fire Hazard Heat Violent Reaction |
| Flammable Solids | Phosphorus Magnesium (air or water reactive) | Separate dry cool area | Acids Bases Oxidizers Poisons | Fire Hazard Heat Violent Reaction |
| Oxidizers | Sodium Hypochlorite Benzoyl Peroxide Potassium Permanganate Potassium Chlorate Potassium Dichromate Peroxides Perchlorates Chlorates, Nitrates | Spill tray that is separate from flammable and combustible materials | Reducing Agents Flammables Combustibles Corrosives | Fire Hazard (Enhances) Toxic Gas Generation |
| Poisons | Cyanides Cadmium Mercury Osmium Acrylamide DMSO | Vented, cool, dry area in unbreakable chemically resistant secondary containers | Flammable Liquids Acids Bases Oxidizers Corrosives | Generation of Toxic & Flammable Gas Violent Reaction |
| Water Reactive | Sodium Metal Potassium Metal Lithium Metal Lithium Aluminum Hydride | Dry, cool location away from potential spray from fire sprinklers and other water sources. Do not store underneath sink. | Aqueous Solutions Oxidizers | Heat Violent Reaction |
| Flammable Gases | Methane Acetylene Propane Hydrogen | Cool, dry area away from oxidizing gases while securely attached to wall or bench | Oxidizing & Toxic Compressed Gases Oxidizing Solids | Fire Hazard Explosion Hazard |
| Oxidizing Gases | Oxygen Chlorine Bromine | Cool, dry area away from flammable gases while securely attached to wall or bench | Flammable Gases | Fire Hazard Explosion Hazard |
| Poisonous Gases | Carbon Monoxide Hydrogen Sulfide | Cool, dry area away from flammable gases or liquids while securely attached to wall or bench | Flammable Gases Oxidizing Gases | Release of Toxic Gas Violent Reaction |

Partial Incompatibility Listing

| Compound/Class | Avoid Storage Near or Contact With: |
| --- | --- |
| #### Acids |  |
| Acetic Acid | Chromic acid, nitric acid, hydroxyl compounds, ethylene, glycogen, perchloric acid, peroxides, permanganate |
| Hydrofluoric Acid | Ammonia (aqueous or anhydrous), do not store in glass container |
| Nitric Acid (conc.) | Acetic acid, aniline, chromic acid, acetone, alcohol, or other flammable liquids, hydrocyanic acid, hydrogen sulfide, or other flammable gases, nitratable substances: copper, brass or any heavy metals (or will generate nitrogen dioxide/nitrous fumes) or organic products such as wood and paper |
| Sulfuric Acid | Light metals (lithium, sodium, potassium), chlorates, perchlorates, permanganates |
| #### Bases |  |
| Ammonia | Mercury, chlorine, bromine, iodine, hydrofluoric acid, calcium hypochlorite |
| Calcium oxide | Water |
| Alkaline metals | Sodium, potassium, magnesium, calcium, aluminum, carbon dioxide, carbon tetrachloride or other chlorinated hydrocarbons, halogens, water |
| Bromine | Ammonia, acetylene, butadiene, methane, propane, butane (or other petroleum gases), hydrogen, sodium carbide, turpentine, benzene, finely divided metals |
| Carbon, activated | Calcium hypochlorite, oxidizing agents |
| Chlorine | Ammonia, acetylene, butadiene, methane, propane, butane, or other petroleum gases, hydrogen, sodium carbide, turpentine, benzene, finely divided metals |
| Copper | Acetylene, hydrogen peroxide, nitric acid |
| Fluorine | Isolate from everything |
| Iodine | Acetylene, ammonia (aqueous or anhydrous), hydrogen |
| Mercury | Acetylene, ammonia, fulminic acid (produced in nitric acid ethanol mixtures) |
| Oxygen | Oils, grease, hydrogen, other flammable gases, liquids, or solids |
| Phosphorous (white) | Air, oxygen, caustic alkalis as reducing agents (or will generate phosphine) |
| Potassium | Carbon tetrachloride, carbon dioxide, water |
| Silver | Acetylene, oxalic acid, tartaric acid, fulminic acid (produced in nitric acid-ethanol mixtures), and ammonium compounds |
| #### Organics |  |
| Acetone | Concentrated nitric acid and sulfuric acid mixtures |
| Acetylene | Fluorine, chlorine, bromine, copper, silver, mercury |
| Aniline | Nitric acid, hydrogen peroxide |
| Flammable Liquids | Ammonium nitrate, chromic acid, hydrogen peroxide, nitric acid, sodium peroxide, halogens |
| Hydrocarbons (propane, butane, etc.) | Fluoride, chlorine, bromine, chromic acid, sodium peroxide |
| Nitroparaffins | Inorganic bases, amines |
| Oxalic Acid | Silver, mercury |
| #### Oxidizers |  |
| Chlorates | Ammonia salts, acids, metal powders, sulfur, finely divided organics, or combustible materials |
| Chromic Acid (trioxide) | Acetic acid, naphthalene, camphor, glycerol, turpentine, alcohol or flammable liquids |
| Ammonium Nitrate | Acids, metal powders, flammable liquids, chlorates, nitrates, sulfur, finely divided organic or combustible materials |
| Chlorine Dioxide | Ammonia, methane, phosphine, hydrogen sulfide |
| Cumene Hydroperoxide | Organic or inorganic acids |
| Hydrogen Peroxide | Copper, chromium, iron, most other metals or salts, alcohols, acetone, or other flammable liquids, aniline, nitromethane, or other organic or combustible materials |
| Hypochlorites | Acids (will generate chlorine or hypochlorous acid) |
| Nitrates | Sulfuric acid (will generate nitrogen dioxide) |
| Perchloric Acid | Acetic acid, bismuth and its alloys, alcohol, paper, wood, grease, oils |
| Peroxides (Organics) | Organic or inorganic acids; also avoid friction and store cold |
| Potassium Chlorate | Acids, especially sulfuric acid |
| Potassium Permanganate | Glycerol, ethylene glycol, benzaldehyde, sulfuric acid |
| Sodium Peroxide | Any oxidizable substance such as methanol, ethanol, glycerol, ethylene glycol, glacial acetic acid, acetic anhydride, benzaldehyde, furfural, methyl acetate, ethyl acetate, carbon disulfide |
| Alkaline metals | Sodium, potassium, magnesium, calcium, aluminum, carbon dioxide, carbon tetrachloride or other chlorinated hydrocarbons, halogens, water |
| Calcium oxide | Water |
| Cyanides | Acids (will generate hydrogen cyanide) |
| Phosphorous (white) | Air, oxygen, caustic alkalis as reducing agents (will generate phosphine) |
| Potassium | Carbon tetrachloride, carbon dioxide, water |
| Sodium | Carbon tetrachloride, carbon dioxide, water |
| Sodium Peroxide | Any oxidizable substance such as methanol, ethanol, glycerol, ethylene glycol, glacial acetic acid, acetic anhydride, benzaldehyde, furfural, methyl acetate, ethyl acetate, carbon disulfide |
| Sulfides | Acids (will generate hydrogen sulfide) |

| #### Reducing Agents |  |
| --- | --- |
| Hydrazine | Hydrogen peroxide, nitric acid, other oxidants |
| Nitrites | Acids (will generate nitrous fumes) |
| Sodium Nitrite | Ammonium nitrate and other ammonium salts |
| #### Toxics/Poisons |  |
| Arsenicals | Reducing agents (will generate arsine) |
| Azides | Acids (will generate hydrogen azide) |
| Cyanides | Acids (will generate hydrogen cyanide) |
| Hydrocyanic Acid | Nitric Acid, alkalis |
| Hydrogen Sulfide | Fuming nitric acid, oxidizing gases |
| Selenides | Reducing agents (will generate hydrogen selenide) |
| Sulfides | Acids (will generate hydrogen sulfide) |
| Tellurides | Reducing agents (will generate hydrogen telluride) |

# APPENDIX 4:  HAZARD COMMUNICATION PROGRAM

Introduction

To ensure that all affected employees at the University of Houston – Clear Lake (UHCL) are aware of the dangers of hazardous chemicals used at the University of Houston – Clear Lake (UHCL), the following Hazard Communication Program has been established. The purpose of this program is to implement the Texas Hazard Communication Act, Chapter 502 of the Health and Safety Code, as well as the Federal Hazard Communication Standard 1910.1200.

The Federal OSHA Hazard Communication Standard was updated on March 26, 2012, to align with the United Nations (UN) Globally Harmonized System of Classification and Labeling of Chemicals (GHS). To incorporate these changes, UHCL has added the following components to this program to ensure consistency and safety across the entire university. This program applies to all work operations at UHCL where employees may be exposed to hazardous chemicals under normal working conditions and during emergencies. This written program is available for review on our website or in writing by contacting EHS at 281-283-2106.

Under this program, employees are educated on: workplace chemical lists; container labeling; Safety Data Sheets (SDS); education and training requirements; complaints, investigations, injuries, and reporting procedures; treatment; university policies; and any additional state or federal requirements directly related to this program.

APPLICABILITY

The primary function of UHCL is teaching and research. Chemicals in laboratories are under the direct supervision of faculty members/principal investigators. Labels on incoming chemical containers are not to be removed or defaced. UHCL complies with Sections 502.006 and 502.009 with respect to laboratory employees, and no laboratories are used to produce hazardous chemicals in bulk for commercial purposes. Laboratories that want to ship hazardous chemical samples must contact EHS for assistance with chemical shipping. Under no circumstances are personnel other than DOT-certified EHS Department employees allowed to ship hazardous materials.

Texas Health & Safety Code: Sec. 502.004

(f) This chapter does not apply to:

(1) any hazardous waste, as that term is defined by the federal Solid Waste Disposal Act, as amended by the Resource Conservation and Recovery Act of 1976, as amended, when subject to regulation issued under that Act by the Environmental Protection Agency.

(2) a chemical in a laboratory under the direct supervision or guidance of a technically qualified individual if:

- labels on incoming containers of chemicals are not removed or defaced;

- the employer complies with Sections 502.006 and 502.009 with respect to laboratory employees; and

- the laboratory is not used to produce hazardous chemicals in bulk for commercial purposes.

ANNUAL CHEMICAL INVENTORY

To comply with the EPA's Emergency Planning and Community Right-to-Know regulations, the OSHA Laboratory Standard, the requirement to maintain SDS for each chemical on-site, and NFPA maximum flammable liquid quantities, principal investigators are required to submit a chemical inventory identifying the location (building and room) and quantity of all hazardous chemicals in their laboratories to EHS. To facilitate the submission, a template and all supporting documentation are available from EHS. EHS will verify the annual chemical inventory submission during the lab’s annual laboratory safety survey. See the Chemical Inventory procedure and template for details.

WORKPLACE CHEMICAL LIST

In accordance with the Texas Community Right-To-Know Act, Environmental Health & Safety completes the Workplace Chemical List (Texas Tier II Report) annually by March 1st to report chemicals that meet or exceed reporting thresholds at UHCL. Copies of this report are sent to the TCEQ’s STEERS reporting website, the local fire department, and the local emergency planning committee. Copies are also kept by EHS. The Tier II report lists the locations of storage tanks and other large-quantity locations. This list is updated annually, dated, and signed, and copies are kept indefinitely. Employees are made aware of this hazard through training.

Texas Health & Safety Code:  Sec. 502.005

- (a) For worker right-to-know purposes, an employer shall compile and maintain a workplace chemical list that includes the following information for each hazardous chemical normally present in the workplace or temporary workplace, in excess of 55 gallons [sum total], 500 pounds, or an amount the board determines by rule for highly toxic or dangerous chemicals:

(1) the identity used on the SDS and container label; and

(2) the work area in which hazardous chemicals are normally present.

- The employer shall update the workplace chemical list as necessary but at least by December 31st of each year.  Each workplace chemical list shall be dated and signed by the person responsible for compiling the information.

- The workplace chemical list may be prepared for the workplace as a whole or for each work area or temporary workplace and must be readily available to employees and their representatives.  All employees shall be made aware of the workplace chemical list before working with or in a work area containing hazardous chemicals.

- An employer shall maintain a workplace chemical list for at least 30 years.  The employer shall send complete records to the director upon ceasing operations.

SAFETY DATA SHEETS (SDSs)

SDS are required to be kept onsite for each hazardous chemical. Manufacturers and distributors provide SDSs to UHCL with each initial shipment and with the first shipment after an SDS is updated. Depending on the company, the SDS may be included in the package containing the chemical, which should go directly to the principal investigator’s laboratory. Since multiple PIs may order the same chemical, they may not receive an SDS with their shipment. A central repository for all SDSs, accessible electronically, is provided through the chemical inventory software, which automatically links to SDSs for each chemical line item after inventory is uploaded.

SDSs are readily available for all UHCL employees to review.  In addition to the paper copies available as described above, employees may access SDSs online 24 hours a day.  In addition, an employee may directly request an SDS from EHS by calling 281-283-2106.

Texas Health & Safety Code:  Sec. 502.006

- (e) A chemical manufacturer or distributor shall provide appropriate Safety Data Sheets to employers who acquire hazardous chemicals in this state with each initial shipment and with the first shipment after an SDS is updated. The SDSs must comply with the most current requirements of the OSHA standard.

- An employer shall maintain a legible copy of a current SDS for each hazardous chemical purchased.  If the employer does not have a current SDS for a hazardous chemical when the chemical is received at the workplace, the employer shall request an SDS in writing from the manufacturer or distributor in a timely manner or shall otherwise obtain a current SDS.  The manufacturer or distributor shall respond with an appropriate SDS in a timely manner.

- Safety Data Sheets shall be readily available, on request, for review by employees or designated representatives at each workplace.

- A copy of an SDS maintained by an employer under this section shall be provided to the director upon request.

LABELS

Labels on chemicals received at UHCL are not intentionally removed or defaced. As required, secondary containers are relabeled with the chemical name and appropriate hazard classification. As part of Environmental Health & Safety’s routine surveillance program, principal investigators/laboratory personnel are reminded not to label secondary containers with a chemical symbol in place of the chemical name on the SDS. In addition, principal investigators/laboratory personnel are encouraged to label all containers with chemicals, even if the chemical is intended for immediate use by the employee who performs the transfer.

Texas Health & Safety Code: Sec. 502.007

- A label on an existing container of a hazardous chemical may not be removed or defaced unless it is illegible, inaccurate, or does not conform to the OSHA standard or other applicable labeling requirements.  Primary containers must be relabeled with at least the identity appearing on the SDS, the pertinent physical and health hazards, including the organs that would be affected, and the manufacturer’s name and address.  Except as provided by Subsection (b), secondary containers must be relabeled with at least the identity appearing on the SDS and appropriate hazard warnings.

- An employee may not be required to work with a hazardous chemical from an unlabeled container except for a portable container intended for the immediate use of the employee who performs the transfer.

Texas Health & Safety Code: Sec.502.009

- An employer shall provide an education and training program for employees who use or handle hazardous chemicals.

- An employer shall develop, implement, and maintain at the workplace a written hazard communication program for the workplace that describes how the criteria specified in this chapter will be met.

- An education and training program must include, as appropriate:

    - information on interpreting labels and SDSs and the relationship between those two methods of hazard communication.

    - the location by work area, acute and chronic effects, and safe handling of hazardous chemicals known to be present in the employee’s work area and to which the employees may be exposed.

    - the proper use of protective equipment and first aid treatment to be used with respect to the hazardous chemicals to which the employees may be exposed; and

    - general safety instructions on the handling, cleanup procedures, and disposal of hazardous chemicals.

- Training may be conducted by categories of chemicals.  An employer must advise employees that information is available on the specific hazards of individual chemicals through the SDSs.  Protective equipment and first aid treatment may be categories of hazardous chemicals.

- An employer shall provide additional instruction to an employee when the potential for exposure to hazardous chemicals in the employee’s work area increases significantly or when the employer receives new and significant information concerning the hazards of a chemical in the employee’s work area.  The addition of new chemicals alone does not necessarily require additional training.

- An employer shall provide training to a new or newly assigned employee before the employee works with or in a work area containing a hazardous chemical.

- An employer shall keep a written hazard communication program and a record of each training session given to employees, including the date, a roster of the employees who attended, the subjects covered in the training session, and the names of the instructors.  Those records shall be maintained for at least five years by the employer.  The department shall have access to those records and may interview employees during inspections.

- Emergency service organizations shall provide, to their members or employees who may encounter hazardous chemicals during an emergency, information on recognizing, evaluating, and controlling exposure to the chemicals.

REPORTING FATALITIES AND INJURIES

UHCL will report any fatalities or serious accidents described in Sec. 502.012 below within 48 hours to the Texas Department of State Health Services.  Additional reports will be submitted if necessary.

Texas Health & Safety Code: Sec.502.012

- Within 48 hours after the occurrence of an employee accident that directly or indirectly involves chemical exposure, or that involves asphyxiation, and that is fatal to one or more employees, or results in the hospitalization of five or more employees, the employer of any of the employees so injured or killed shall report the accident either orally or in writing to the department.

- The report to the department shall relate the circumstances of the accident, the number of fatalities, and the extent of any injuries.  If it is necessary to complete the investigation of an incident, the department may require additional written reports.

EMPLOYEE NOTICE: RIGHTS OF EMPLOYEES

The Texas Department of State Health Services “Notice to Employees” is posted in all laboratories at UHCL and in additional locations where it is easily visible to employees.  Employees who may be exposed to hazardous chemicals as part of their normal work routine will be informed of the possible exposure and will have access to the workplace chemical list and SDSs. Employees have access to training and to SDSs 24 hours a day, as described earlier.  Principal investigators are primarily responsible for providing personal protective equipment to their employees in accordance with state and federal regulations.  Contact EHS for assistance if required.

Texas Health & Safety Code: Sec.502.017

- An employer shall post and maintain adequate notice, at locations where notices are normally posted, informing employees of their rights under this chapter.  If the director does not prepare the notice under Section 502.008, the employer shall prepare the notice.

- Employees who may be exposed to hazardous chemicals shall be informed of the exposure and shall have access to the workplace chemical list and SDSs for the hazardous chemicals.  Employees, on request, shall be provided with a copy of a specific SDS with any trade secret information deleted.  In addition, employees shall receive training concerning the hazards of the chemicals and measures they can take to protect themselves from those hazards.  Employees shall be provided with appropriate personal protective equipment.  These rights are guaranteed.

# APPENDIX 5:  PRIOR CHEMICAL PROTOCOL REVIEW FOR HIGHLY HAZARDOUS / HIGH RISK CHEMICALS AND THEIR LISTS

Before using certain chemicals or agents, the Research Safety Committee (RSC) must approve their use. The principal investigator/laboratory supervisor is responsible for obtaining approval before initiating any procedure involving the referenced chemicals.

Prior to purchase and use, determine if the Chemical requires Review and Approval

The Research Safety Committee of UHCL reviews any chemical agent listed in the Mandatory Protocol Review Chemical List; however, any agent not on the list may meet the criteria based on specific toxicological (LD50, LC50) data. The Mandatory Protocol Review Chemical List is found at the back of this appendix. A protocol # will be generated upon the Research Safety Committee’s approval.

            - Select Carcinogens

A select carcinogen is any substance that meets either one of the following criteria:

• 	It is listed under Group 1 (“carcinogenic to humans”) or Group 2A (“probably carcinogenic to humans”) by the International Agency for Research on Cancer monographs (IARC); or

• 	It is listed under the category, “Known to be Human Carcinogens” in the Annual Report on Carcinogens published by the National Toxicology Program (NTP);

The following website contains lists for Group 1, Group 2A and NTP carcinogens:

https://www.cancer.org/cancer/risk-prevention/understanding-cancer-risk/known-and-probable-human-carcinogens.html

            - Highly Toxic

Chemical agents that are classified as “highly toxic” are substances that have a high degree of acute toxicity. Such agents meet the following criteria:

•	Chemical has a median lethal dose (LD50) of 50 milligrams per kilogram or less when administered orally to rats [LD50 < 50 mg/kg]; or

    - Chemical has a median lethal dose (LD50) of 200 milligrams per kilogram or less when administered by continuous dermal contact for 24 hours (or less if death occurs within 24 hours) to the skin of rabbits [LD50 < 200 mg/kg]; or

    - Chemical has a median lethal concentration (LC50) in the air of 200 parts per million by volume when administered by continuous inhalation for one hour (or less if death occurs within one hour) to rats [LC50 < 200 ppm]

            - Antineoplastic Agents

Antineoplastic agents are chemotherapeutic agents that control or kill cancer cells, as defined by NIOSH

            - Teratogens and Reproductive Hazards

OSHA defines a teratogen implicitly through its broader category of reproductive hazards, which are substances or agents that can cause infertility, miscarriage, birth defects, or other adverse reproductive outcomes.

            - Select Agent Toxins and Other Biological Toxins

Select Agent Toxins are biological agents that pose a severe threat to public health and safety. The U.S. Centers for Disease Control and Prevention (CDC) and U.S. Department of Agriculture (USDA) oversee the National Select Agent Registry program.  The list may be found at the following link:

https://www.selectagents.gov/sat/list.htm

            - Explosives,  Pyrophoric, and Peroxide Forming Chemicals

Explosive is defined as “any chemical compound, mixture, or device which is designed to function by an explosion that is substantially instantaneous with the release of gas and heat” by the U.S. Department of Transportation. Explosives are regulated by the Bureau of Alcohol, Tobacco, Firearms, and Explosives.  Explosives have special handling and storage requirements to safeguard against accidental detonation.  Explosives must be stored in the equivalent of a lockable magazine box. Follow the safe handling, storage, and disposal timeline guides issued by the Bureau or other regulatory or grant-making agency.

“Pyrophoric” means a chemical that will ignite spontaneously in air at a temperature of 130O F (54.4O C) or below, as defined by OSHA (29 CFR 1910.1200(c)). Because these chemicals burn upon contact with air or water, they require special handling and storage.  Users must have proper procedures and training, as well as equipment such as an inert gas glovebox chamber.  Flame-resistant lab coats must be worn and present in the laboratory, and natural fiber, non-flammable clothing must be worn when in use.  Replacing or doubling septum caps on containers periodically (every 6 months) and purchasing only the minimum amounts necessary, discarding them before container integrity is compromised (2-3 years), is a must and standard safety for entities working with pyrophoric materials.  Containers must be obviously labeled as pyrophoric materials.

“Peroxide Forming Chemicals” are a class of compounds, organic peroxides, that can react with oxygen over time to form unstable, shock-sensitive, and Potentially Explosive Chemicals (PECs). These peroxides can be detonated by heat, friction, or shock.  Many common laboratory solvents, such as ethers and THF, can form peroxides if not handled and stored properly, tested routinely for peroxides, and kept to volumes that can be used or discarded within one year.  See Section 15 (page 34) of this document for further information regarding labeling, testing, and a link to the list of PEC’s.

            - Nanoparticles

Nanoparticles are a subcategory of ultra-fine materials that have a diameter of 1–100 nanometers. Work with nanoparticles requires training and adherence to best practices, such as handling in a solution or a glove box and wet-wiping surfaces to keep them clean.  See Nanoparticles Appendix 8.

            - Pesticides

A pesticide is defined as “any substance or mixture of substances intended for preventing, destroying, repelling, or mitigating any pest” by the Federal Insecticide, Fungicide, and Rodenticide Act. The U.S. Environmental Protection Agency oversees the regulation of pesticides.

            - Poison Gases

Gases that are known to be poisonous by inhalation are listed under Class 2.3 of the US DOT Hazardous Materials Table

Note: The Research Safety Committee may require a review of other chemicals or items of concern that do not fall under any of these categories mentioned above.

Steps for project approval with the Research Safety Committee

- Complete the Project Hazard Assessment (PHA) Form

A Project Hazard form must be completed and submitted to the EHS office. The EHS office can assist you in completing the form during a consultation. This helps determine the risk level of your experiment, operational needs, and forward-thinking risk mitigation.

- Complete the Standard Operational Procedures (SOP).

This standard operating procedure (SOP) applies to all chemicals and must be submitted to the Research Committee for High-Hazard Chemical approvals. The SOP is based on PHA information and incorporates emergency information from the SDS. This document clearly outlines procedures to ensure a safe working environment and promote compliance with federal, state, and local regulations.

- Additional Documents to Submit to the Research Safety Committee

Additional documents should be submitted for review during this time. Additional documents may include proposals, grants, contracts, licenses, prior training, and any other information. Once the documents are submitted. The Research Safety Committee will review as a group or appoint a designee. The designee will be EHS personnel or a member appointed by the committee.

- “Memorandum of Understanding and Agreement (MUA) for the Use of Chemical Agents.”

Once Research Safety Committee approval is granted, a Memorandum of Understanding and Agreement (MUA) will be sent to the researcher with an assigned protocol number. This form or number can be used to order chemicals for up to three years. The MUA will be signed by the Research Safety Committee Chair or an appointed designee of the committee.

- Renewal of approved protocols

All approved protocols go through a complete renewal review every three years. If there are no significant changes, a new MUA will be signed, and the project may continue until the next review cycle.  Any significant changes to the protocol, such as the introduction of a different chemical, increased quantities, or changes to controls, will trigger a full review.

THE MANDATORY PROTOCOL REVIEW CHEMICAL LISTS FOLLOWS ON THE NEXT PAGE.

LIST OF CARCINOGENS MANDATING CHEMICAL PROTOCOL REVIEW

| CAS No | Agent | CAS No | Agent |
| --- | --- | --- | --- |
| 000079-06-1 | Acrylamide | 008001-58-9 | Creosotes |
| 023214-92-8 | Adriamycin | 027208-37-3 | Cyclopenta[cd]pyrene |
| 001402-68-2 | Aflatoxins (naturally occurring mixtures of) | 000050-18-0, 006055-19-2 | Cyclophosphamide |
| 000092-67-1 | 4-Aminobiphenyl | 079217-60-0 | Cyclosporine |
|  | Androgenic (anabolic) steroids | 000053-70-3 | Dibenz[a,h]anthracene |
|  | Aristolochic acid | 000191-30-0 | Dibenzo[a,l]pyrene |
| 007440-38-2 | Arsenic and arsenic compounds | 000056-53-1 | Diethylstilboestrol |
| 001332-21-4 | Asbestos | 000064-67-5 | Diethyl sulfate |
| 000320-67-2 | Azacitidine | 000079-44-7 | Dimethylcarbamoyl chloride |
| 000446-86-6 | Azathioprine | 000540-73-8 | 1,2-Dimethylhydrazine |
| 000071-43-2 | Benzene | 000077-78-1 | Dimethyl sulfate |
| 000092-87-5 | Benzidine | 000106-89-8 | Epichlorohydrin |
| 000050-32-8 | Benzo[a]pyrene | 066733-21-9 | Erionite |
| 007440-41-7 | Beryllium and beryllium compounds |  | Estrogens, nonsteroidal |
| 000494-03-1 | N,N-Bis(2-chloroethyl)-2-naphthylamine (Chlornaphazine) |  | Estrogens, steroidal |
| 000542-88-1, 000107-30-2 | Bis(chloromethyl)ether and chloromethyl methyl ether (technical-grade) | 000051-79-6 | Ethyl carbamate (urethane) |
| 000154-93-8 | Bischloroethyl nitrosourea (BCNU) | 000106-93-4 | Ethylene dibromide |
| 000106-99-0 | 1,3-Butadiene | 000075-21-8 | Ethylene oxide |
| 000055-98-1 | 1,4-Butanediol dimethanesulfonate (Busulphan, (Myleran®) | 000759-73-9 | N-Ethyl-N-nitrosourea |
| 007440-43-9 | Cadmium and cadmium compounds | 033419-42-0 | Etoposide |
| 002425-06-1 | Captafol | 033419-42-0 | Etoposide in combination with cisplatin and bleomycin |
| 000305-03-3 | Chlorambucil | 000050-00-0 | Formaldehyde |
| 000056-75-7 | Chloramphenicol | 001303-00-0 | Gallium arsenide |
| 000098-87-3, 000098-07-7, 000100-44-7, 000098-88-4 | a-Chlorinated toluenes (benzal chloride, benzotrichloride, benzyl chloride) and benzoyl chloride (combined exposures) | 000556-52-5 | Glycidol |
| 013010-47-4 | 1-(2-Chloroethyl)-3-cyclohexyl-1-nitrosourea (CCNU) | 022398-80-7 | Indium phosphide |
| 013909-09-6 | 1-(2-Chloroethyl)-3-(4-methylcyclohexyl)-1- nitrosourea (Methyl-CCNU, Semustine) | 076180-96-6 | IQ (2-Amino-3-methylimidazo[4,5-f]quinoline) |
| 000095-69-2 | 4-Chloro-ortho-toluidine | 000148-82-3 | Melphalan |
| 054749-90-5 | Chlorozotocin | 000484-20-8 | 5-Methoxypsoralen |
|  | Chromium [VI] | 000101-14-4 | Methylenebis(chloroaniline) (MOCA) |
| 015663-27-1 | Cisplatin | 000075-09-2 | Methylene chloride |

LIST OF CARCINOGENS MANDATING CHEMICAL PROTOCOL REVIEW (CONTINUED)

| CAS No | Agent | CAS No | Agent |
| --- | --- | --- | --- |
| 000066-27-3 | Methyl methanesulfonate | 000096-09-3 | Styrene-7,8-oxide |
| 000070-25-7 | N-Methyl-N´-nitro-N-nitrosoguanidine (MNNG) | 010540-29-1 | Tamoxifen |
| 000684-93-5 | N-Methyl-N-nitrosourea | 029767-20-2 | Teniposide |
|  | MOPP and other combined chemotherapy including alkylating agents | 001746-01-6 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin |
| 000505-60-2 | Mustard gas (Sulfur mustard) | 000127-18-4 | Tetrachloroethylene |
| 000091-59-8 | 2-Naphthylamine | 000052-24-4 | Thiotepa |
|  | Nickel compounds | 000095-53-4 | ortho-Toluidine |
| 000051-75-2 | Nitrogen mustard | 000299-75-2 | Treosulfan |
| 016543-55-8, 064091-91-4 | N'-Nitrosonornicotine (NNN) and 4- (NNitrosomethylamino)- 1-(3-pyridyl)-1-butanone (NNK) | 000079-01-6 | Trichloroethylene |
| 000055-18-5 | N-Nitrosodiethylamine | 000096-18-4 | 1,2,3-Trichloropropane |
| 000062-75-9 | N-Nitrosodimethylamine | 000126-72-7 | Tris(2,3-dibromopropyl) phosphate |
| 000062-44-2 | Phenacetin and analgesic mixtures containing | 000051-79-6 | Urethane (see Ethyl carbamate) |
| 001336-36-3 | Polychlorinated biphenyls | 000593-60-2 | Vinyl bromide |
| 000366-70-1 | Procarbazine hydrochloride | 000075-01-4 | Vinyl chloride |
| 014808-60-7 | Silica, crystalline | 000075-02-5 | Vinyl fluoride |

LIST OF SELECT AGENTS AND OTHER BIOLOGICAL TOXINS MANDATING CHEMICAL PROTOCOL REVIEW

Select Agent Toxins:

Abrin

Botulinum neurotoxins

Clostridium perfringens epsilon toxin

Conotoxins

Diacetoxyscirpenol

Ricin

Saxitoxin

Shiga-like ribosome inactivating proteins

Shigatoxin

Staphylococcal enterotoxins

T-2 toxin

Tetrodotoxin

Other Biological Toxins:

Cholera Toxin

Diphtheria Toxin

Pertussis Toxin

LIST OF PESTICIDES (EPA LISTED) MANDATING CHEMICAL PROTOCOL REVIEW

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Abate (Temephos) | 3383-96-13 | Cycloate | 1134-23-2 |
| Acifluorfen | 62476-59-9 | 2,4-D acid | 94-75-7 |
| Alachlor | 15972-60-8 | 2,4-DB acid | 94-82-6 |
| Aldrin | 309-00-2 | DCPA (Dacthal) | 2136-79-0 |
| Ametryn | 834-12-8 | 2,4'-DDD | 53-19-0 |
| Amoban | 3566-10-7 | 4,4'-DDD | 72-54-8 |
| AOP | -- | 2,4'-DDE | 3424-82-6 |
| Asponb | 3244-90-4 | 4,4'-DDE | 72-55-9 |
| Atraton | 1610-17-9 | 2,4'-DDT | 789-02-6 |
| Atrazine | 1912-24-9 | 4,4'-DDT | 50-29-3 |
| Azinphos-ethyla | 2642-71-9 | DEF (Butifos) | 78-48-8 |
| Azinphos ethyl (Ethyl guthion) | 642-71-9 | Demeton-O | 298-02-3 |
| Azinphos methyl (Guthion) | 86-50-0 | Demeton-Oc | 8065-48-3 |
| a-BHC | 319-84-6 | Demeton-S | 126-75-0 |
| ß-BHC | 319-85-7 | Demeton-Sc | 8065-48-3 |
| ?-BHC (Lindane) | 58-89-9 | Diallate | 2303-16-4 |
| d-BHC | 319-86-8 | Diazinon | 333-41-5 |
| Bendiocarb | 22781-23-3 | 1,2-Dibromo-3-chloropropane (DBCP) | 96-12-8 |
| Benfluralin | 1861-40-1 | Dicamba | 1918-00-9 |
| Bolstar (Sulprofos) | 35400-43-2 | Dichlobenil (Casoron) | 1194-65-6 |
| Bromacil | 314-40-9 | 3,5-Dichlorobenzoic acid | 51-36-5 |
| Bromoxynil (Brominal) | 1689-84-5 | Dichlorofenthiona | 97-17-6 |
| Busan 40 | 51026-28-9 | Dichlorprop | 120-36-5 |
| Busan 85 | 128-03-0 | Dichlorvos (DDVP) | 62-73-7 |
| Butachlor | 23184-66-9 | Diclofol (Kelthane) | 115-32-2 |
| Butylate | 2008-41-5 | Diclofop-methyl | 51338-27-3 |
| Carbophenothiona | 786-19-6 | Dicrotophosa | 141-66-2 |
| Captafol | 2425-06-1 | Dieldrin | 60-57-1 |
| Captan | 133-06-2 | Dimethoate | 60-51-5 |
| Carboxin | 5234-68-5 | Dinoseb | 88-85-7 |
| cis-Chlordane | 5103-71-9 | Dioxathion | 78-34-2 |
| trans-Chlordane | 5103-74-2 | Diphenamid | 957-51-7 |
| Chlordane -- not otherwise specified (n.o.s.) | 57-74-9 | Disulfoton (Disyston) | 298-04-4 |
| Chlorfenvinphosa | 470-90-6 | Disulfoton sulfone | 2497-06-5 |
| Chlorobenzilate | 510-15-6 | Disulfoton sulfoxide | 2497-07-6 |
| Chlorpropham | 101-21-3 | Diuron | 330-54-1 |
| Chlorpyrifos | 2921-88-2 | Endosulfan I | 959-98-8 |
| Chlorpyrifos methyla | 5598-13-0 | Endosulfan II | 33213-65-9 |
| Chlorthalonil (Daconil) | 1897-45-6 | Endosulfan sulfate | 1031-07-8 |
| Coumaphos | 56-72-4 | Endrin | 72-20-8 |
| Crotoxyphosa | 7700-17-6 | Endrin aldehyde | 7421-93-4 |

LIST OF PESTICIDES MANDATING CHEMICAL PROTOCOL REVIEW (Continued)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Cyanazine | 21725-46-2 | Endrin ketone | 53494-70-5 |
| EPN | 2104-64-5 | Nabam | 142-59-6 |
| Eptam (EPTC) | 759-94-4 | Naled | 300-76-5 |
| Ethalfluralin (Sonalan) | 55283-68-6 | Napropamide | 15299-99-7 |
| Ethion | 563-12-2 | Niacide | 8011-66-3 |
| Ethoprop | 13194-48-4 | 4-Nitrophenol | 100-02-7 |
| Famphura | 52-85-7 | Norflurazon | 27314-13-2 |
| Fenamiphos | 22224-92-6 | Oxyfluorfen | 42874-03-3 |
| Fenarimol | 60168-88-9 | Parathion, ethyl | 56-38-2 |
| Fenitrothion | 122-14-5 | Parathion, methyl | 298-00-0 |
| Fensulfothion | 115-90-2 | Pebulate | 1114-71-2 |
| Fenthion | 55-38-9 | Pendimethalin | 40487-42-1 |
| Ferbam | 14484-64-1 | Pentachlorophenol (PCP) | 87-86-5 |
| Fluridone | 59756-60-4 | o-Phenylenediamine | 95-54-5 |
| Fonophosa | 944-22-9 | Phorate | 298-02-2 |
| Gardona (Tetrachlovinphos) | 961-11-5 | Phosmet | 732-11-6 |
| Heptachlor | 76-44-8 | Phosphamidon | 297-99-4 |
| Heptachlor epoxide | 1024-57-3 | Phosphamidon | 13171-21-6 |
| Hexachlorobenzene | 118-74-1 | Picloram | 1918-02-1 |
| Hexachlorocyclopentadiene | 77-47-4 | Polyram | 9006-42-2 |
| Hexamethyl phosphoramidea (HMPA) | 680-31-9 | Profluralin | 26399-36-0 |
| Hexazinone | 51235-04-2 | Prometon (Pramitol 5p) | 1610-18-0 |
| Imidan (Phosmet) | 732-11-6 | Prometryn | 7287-19-6 |
| Ioxynil | 1689-83-4 | Pronamide (Kerb) | 23950-58-5 |
| Isodrin | 465-73-6 | Propachlor (Ramrod) | 1918-16-7 |
| KN Methyl | 137-41-7 | Propargite (S-181) | 2312-35-8 |
| Leptophos | 21609-90-5 | Propazine | 139-40-2 |
| Malathion | 121-75-5 | Propetamidophos | 31218-83-4 |
| Mancozeb | 8018-01-7 | Propham | 122-42-9 |
| Maneb | 12427-38-1 | Prosulfocarb | 52888-80-9 |
| MCPA acid | 94-74-6 | Ronnel | 299-84-3 |
| MCPP acid | 7085-19-0 | Silvex (2,4,5-TP) | 93-76-5 |
| Merphos | 150-50-5 | Simazine | 122-34-9 |
| Metalaxyl | 57837-19-1 | Simetryn | 1014-70-6 |
| Metham | 137-42-8 | Sodium dimethyldithiocarbamat | 128-04-1 |
| Methiocarb | 2032-65-7 | Stirophos (Tetrachlorvinphos, Gardona) | 22248-79-9 |
| Methoxychlor | 72-43-5 | Sulfotepp | 3689-24-5 |
| Methyl chlorpyrifos | 5598-13-0 | Sulprofos (Bolstar) | 35400-43-2 |
| Methyl paraoxon | 311-45-5 | 2,4,5-T acid | 94-82-6 |
| Methyl paraoxon | 950-35-6 | 2,4,5-TB | 93-80-1 |

LIST OF PESTICIDES MANDATING CHEMICAL PROTOCOL REVIEW (Continued)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Methyl parathion | 298-00-0 | Tebuthiuron | 34014-18-1 |
| Metolachlor | 51218-45-2 | Terbacil | 5902-51-2 |
| Metribuzin | 21087-64-9 | Terbufosa | 13071-79-9 |
| Mevinphos | 7786-34-7 | Terbutryn (Igran) | 886-50-0 |
| MGK-264 | 113-48-4 | 2,3,4,5-Tetrachlorophenol | 4901-51-3 |
| Mirex | 2385-85-5 | 2,3,4,6-Tetrachlorophenol | 58-90-2 |
| Molinate | 2212-67-1 | Tetraethyl pyrophosphate (TEPP)d | 107-49-3 |
| Monocrotophos | 6923-22-4 | Thionazina,b (Zinophos) | 297-97-2 |
| Thiram | 137-26-8 | Triclopyr (Garlon) | 55335-06-3 |
| Tokuthionb (Prothiofos) | 34643-46-4 | Tricyclazole | 41814-78-2 |
| Toxaphene | 8001-35-2 | Trifluralin (Treflan) | 1582-09-8 |
| Triademefon | 43121-43-3 | Tri-o-cresyl phosphatea,d (TOCP) | 78-30-8 |
| Triallate | 2303-17-5 | Vernolate | 1929-77-7 |
| Trichlorfona | 52-68-6 | ZAC | -- |
| Trichloronateb | 327-98-0 | Zineb | 12122-67-7 |
| 2,4,5-Trichlorophenol | 95-95-4 | Ziram | 137-30-4 |
| 2,4,6-Trichlorophenol | 88-06-2 |  |  |

LIST OF PYROPHORIC CHEMICALS MANDATING CHEMICAL PROTOCOL REVIEW

Grignard Reagents: RMgX (R=alkyl, X=halogen)

Metal alkyls and aryls: Alkyl lithium compounds; tert-butyl lithium

Metal carbonyls: Lithium carbonyl, nickel tetracarbonyl

Metal powders (finely divided): Cobalt, iron, zinc, zirconium

Metal hydrides: Sodium hydride

Nonmetal hydrides: Diethylarsine, diethylphosphine

Non-metal alkyls: R3B, R3P, R3As; tetramethyl silane, tributyl phosphine

Phosphorus

Potassium

Sodium

Gases: Silane, dichlorosilane, diborane, phosphine, arsine

EXPLOSIVE CHEMICALS (BATF) MANDATING CHEMICAL PROTOCOL REVIEW

| A | Dinitrophenolates. |
| --- | --- |
| Acetylides of heavy metals. | Dinitrophenyl hydrazine. |
| Aluminum ophorite explosive. | Dinitroresorcinol. |
| Amatex. | Dinitrotoluene-sodium nitrate explosive mixtures. |
| Amatol. | DIPAM [dipicramide; diaminohexanitrobiphenyl]. |
| Ammonal. | Dipicryl sulfone. |
| Ammonium nitrate explosive mixtures (cap sensitive). | Dipicrylamine. |
| Ammonium nitrate explosive mixtures (non-cap sensitive). | Display fireworks. |
| Ammonium perchlorate | DNPA [2,2-dinitropropyl acrylate]. |
| Ammonium picrate [picrate of ammonia, Explosive D]. | DNPD [dinitropentano nitrile]. |
| Ammonium salt lattice with isomorphously substituted inorganic salts. | E |
| ANFO [ammonium nitrate-fuel oil]. | EDDN [ethylene diamine dinitrate]. |
| Azide explosives. | EDNA [ethylenedinitramine]. |
| B | Ednatol. |
| Baranol. | EDNP [ethyl 4,4-dinitropentanoate]. |
| Baratol. | EGDN [ethylene glycol dinitrate]. |
| BEAF [1, 2-bis (2, 2-difluoro-2-nitroacetoxyethane)]. | Erythritol tetranitrate explosives. |
| Blasting powder. | Ethyl-tetryl. |
| BTNEC [bis (trinitroethyl) carbonate]. | F |
| BTNEN [bis (trinitroethyl) nitramine]. | Flash powder. |
| BTTN [1,2,4 butanetriol trinitrate]. | Fulminate of mercury. |
| Butyl tetryl. | Fulminate of silver. |
| C | Fulminating gold. |
| Calcium nitrate explosive mixture. | Fulminating mercury. |
| Cellulose hexanitrate explosive mixture. | Fulminating platinum. |
| Copper acetylide. | Fulminating silver. |
| Cyanuric triazide. | G |
| Cyclonite [RDX]. | Gelatinized nitrocellulose. |
| Cyclotetramethylenetetranitramine [HMX]. | Gem-dinitro aliphatic explosive mixtures. |
| Cyclotol. | Guanyl nitrosamino guanyl tetrazene. |
| Cyclotrimethylenetrinitramine [RDX]. | Guanyl nitrosamino guanylidene hydrazine. |
| D | Guncotton. |
| DATB [diaminotrinitrobenzene]. | H |
| DDNP [diazodinitrophenol]. | Hexanite. |
| DEGDN [diethyleneglycol dinitrate]. | Hexanitrodiphenylamine. |
| Dimethylol dimethyl methane dinitrate composition. | Hexanitrostilbene. |
| Dinitroethyleneurea. | Hexogen [RDX]. |
| Dinitroglycerine [glycerol dinitrate]. | Hexogene or octogene and a nitrated N-methylaniline. |
| Dinitrophenol. | Hexolites. |

EXPLOSIVE CHEMICALS (BATF) MANDATING CHEMICAL PROTOCOL REVIEW (Cont’d)

| HMTD [hexamethylenetriperoxidediamine]. | Nitrogen trichloride. |
| --- | --- |
| HMX [cyclo-1,3,5,7-tetramethylene 2,4,6,8-tetranitramine; Octogen]. | Nitrogen tri-iodide. |
| Hydrazinium nitrate/hydrazine/aluminum explosive system. | Nitroglycide. |
| Hydrazoic acid. | Nitroglycerine [NG, RNG, nitro, glyceryl trinitrate, trinitroglycerine]. |
| K | Nitroglycol [ethylene glycol dinitrate, EGDN]. |
| KDNBF [potassium dinitrobenzo-furoxane]. | Nitroguanidine explosives. |
| L | Nitronium perchlorate propellant mixtures. |
| Lead azide. | Nitrourea. |
| Lead mannite. | O |
| Lead mononitroresorcinate. | Octogen [HMX]. |
| Lead picrate. | Octol [75 percent HMX, 25 percent TNT]. |
| Lead salts, explosive. | P |
| Lead styphnate [styphnate of Pb, Pb trinitroresorcinate]. | PBX [plastic bonded explosives]. |
| Liquid nitrated polyol and trimethylolethane. | Pentolite. |
| M | Perchlorate explosive mixtures. |
| Magnesium ophorite explosives. | Peroxide forming chemicals (list via link:) https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/documents/pecs-storage-chart.pdf |
| Mannitol hexanitrate. | PETN [nitropentaerythrite, pentaerythrite tetranitrate, pentaerythritol |
| MDNP [methyl 4,4-dinitropentanoate]. | Penta Tetranitrate (PETN) |
| MEAN [monoethanolamine nitrate]. | Picramic acid and its salts. |
| Mercuric fulminate. | Picramide. |
| Mercury oxalate. | Picrate explosives. |
| Mercury tartrate. | Picratol. |
| Metriol trinitrate. | Picric acid |
| Minol-2 [40% TNT, 40% ammonium nitrate, 20% aluminum]. | Picryl chloride. |
| MMAN [monomethylamine nitrate]; methylamine nitrate. | Picryl fluoride. |
| Mononitrotoluene-nitroglycerin mixture. | PLX [95% nitromethane, 5% ethylenediamine]. |
| N | Polynitro aliphatic compounds. |
| NIBTN [nitroisobutametriol trinitrate]. | Polyolpolynitrate-nitrocellulose explosive gels. |
| Nitrated carbohydrate explosive. | Potassium chlorate and lead sulfocyanate explosive. |
| Nitrated glucoside explosive. | Potassium nitrate explosive mixtures. |
| Nitrated polyhydric alcohol explosives. | Potassium nitroaminotetrazole. |
| Nitric acid explosive mixtures. | Pyrotechnic compositions. |
| Nitro aromatic explosive mixtures | Salts of organic amino sulfonic acid explosive mixture. |
| Nitrogelatin explosive. | Silver acetylide. |

EXPLOSIVE CHEMICALS (BATF) MANDATING CHEMICAL PROTOCOL REVIEW (Cont’d)

| PYX [2,6-bis(picrylamino)]-3,5-dinitropyridine | Tetryl [2,4,6 tetranitro-N-methylaniline]. |
| --- | --- |
| R | Tetrytol. |
| RDX [cyclonite, hexogen, T4, cyclo-1,3,5,-trimethylene- 2,4,6,-trinitramine; hexahydro-1,3,5-trinitro-S-triazine]. | TMETN [trimethylolethane trinitrate]. |
| S | TNEF [trinitroethyl formal]. |
|  | TNEOC [trinitroethylorthocarbonate]. |
| Silver azide. | TNEOF [trinitroethylorthoformate]. |
| Silver fulminate. | TNT [trinitrotoluene, trotyl, trilite, triton]. |
| Silver oxalate explosive mixtures. | Torpex. |
| Silver styphnate. | Tridite. |
| Silver tartrate explosive mixtures. | Trimethylol ethyl methane trinitrate composition. |
| Silver tetrazene | Trimethylolthane trinitrate-nitrocellulose. |
| Sodatol. | Trimonite. |
| Sodium amatol. | Trinitroanisole. |
| Sodium azide explosive mixture. | Trinitrobenzene. |
| Sodium dinitro-ortho-cresolate. | Trinitrobenzoic acid. |
| Sodium nitrate explosive mixtures. | Trinitrocresol. |
| Sodium nitrate-potassium nitrate explosive mixture. | Trinitro-meta-cresol. |
| Sodium picramate. | Trinitronaphthalene. |
| Styphnic acid explosives. | Trinitrophenetol. |
| T | Trinitrophloroglucinol. |
| Tacot [tetranitro-2,3,5,6-dibenzo- 1,3a,4,6a tetrazapentalene]. | Trinitroresorcinol. |
| TATB [triaminotrinitrobenzene]. | Tritonal. |
| TATP [triacetonetriperoxide]. | U |
| TEGDN [triethylene glycol dinitrate]. | Urea nitrate. |
| Tetranitrocarbazole. | X |
| Tetrazene [tetracene, tetrazine, 1(5-tetrazolyl)-4-guanyl tetrazene hydrate] | Xanthamonas hydrophilic colloid explosive mixture. |

US DOT COMPRESSED POISON GASES (49 CFR 172.101) MANDATING CHEMICAL PROTOCOL REVIEW

| Arsine | Hydrogen iodide |
| --- | --- |
| Boron trichloride | Hydrogen selenide |
| Boron trifluoride | Hydrogen sulfide |
| Bromine chloride | Methyl bromide |
| Carbon monoxide | Methyl mercaptan |
| Carbonyl fluoride | Methylchlorosilane |
| Carbonyl sulfide | Nitrosyl chloride |
| Chlorine | Perchloryl fluoride |
| Chlorine pentafluoride | Phosgene |
| Cyanogen | Phosphine |
| Cyanogen chloride | Phosphorus pentafluoride |
| Diborane | Selenium hexafluoride |
| Dichlorosilane | Silicon tetrafluoride |
| Dinitrogen tetroxide | Stibine |
| Ethylene oxide | Sulfur dioxide |
| Fluorine | Sulfur tetrafluoride |
| Germane | Sulfuryl fluoride |
| Hexaethyl tetraphosphate | Tellurium hexafluoride |
| Hexafluoroacetone | Trifluoroacetyl chloride |
| Hydrogen bromide | Trifluorochloroethylene |
| Hydrogen chloride | Tungsten hexafluoride |

ANTINEOPLASTIC AGENTS MANDATING CHEMICAL PROTOCOL REVIEW

| Drug | Drug | Drug |
| --- | --- | --- |
| Aldesleukin | Floxuridine | Nilutamide |
| Alemtuzumab | Fludarabine | Oxaliplatin |
| Altretamine | Fluorouracil | Paclitaxel |
| Amsacrine | Flutamide | Pegaspargase |
| Anastrozole | Fulvestrant | Pentostatin |
| Arsenic trioxide | Gemcitabine | Perphosphamide |
| Asparaginase | Gemtuzumab ozogamicin | Pipobroman |
| Azacitidine | Goserelin | Piritrexim isethionate |
| Bexarotene | Hydroxyurea | Plicamycin |
| Bicalutamide | Ibritumomab tiuxetan | Prednimustine |
| Bleomycin | Idarubicin | Procarbazine |
| Busulfan | Ifosfamide | Raltitrexed |
| Capecitabine | Imatinib mesylate | Streptozocin |
| Carboplatin | Interferon alfa-2a | Tamoxifen |
| Carmustine | Interferon alfa-2b | Temozolomide |
| Chlorambucil | Interferon alfa-n1 | Teniposide |
| Cisplatin | Interferon alfa-n3 | Testolactone |
| Cladribine | Irinotecan HCl | Thioguanine |
| Cyclophosphamide | Leflunomide | Thiotepa |
| Cytarabine | Letrozole | Topotecan |
| Dacarbazine | Leuprolide acetate | Toremifene citrate |
| Dactinomycin | Lomustine | Tositumomab |
| Daunorubicin HCl | Mechlorethamine | Triptorelin |
| Denileukin | Megestrol | Uracil mustard |
| Docetaxel | Melphalan | Valrubicin |
| Doxorubicin | Mercaptopurine | Vinblastine sulfate |
| Epirubicin | Methotrexate | Vincristine sulfate |
| Estramustine phosphate sodium | Mitomycin | Vindesine |
| Etoposide | Mitotane | Vinorelbine tartrate |

PESTICIDES (EPA LISTED) MANDATING CHEMICAL PROTOCOL REVIEW (page 1 of 3)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Abate (Temephos) | 3383-96-13 | Cycloate | 1134-23-2 |
| Acifluorfen | 62476-59-9 | 2,4-D acid | 94-75-7 |
| Alachlor | 15972-60-8 | 2,4-DB acid | 94-82-6 |
| Aldrin | 309-00-2 | DCPA (Dacthal) | 2136-79-0 |
| Ametryn | 834-12-8 | 2,4'-DDD | 53-19-0 |
| Amoban | 3566-10-7 | 4,4'-DDD | 72-54-8 |
| AOP | -- | 2,4'-DDE | 3424-82-6 |
| Asponb | 3244-90-4 | 4,4'-DDE | 72-55-9 |
| Atraton | 1610-17-9 | 2,4'-DDT | 789-02-6 |
| Atrazine | 1912-24-9 | 4,4'-DDT | 50-29-3 |
| Azinphos-ethyla | 2642-71-9 | DEF (Butifos) | 78-48-8 |
| Azinphos ethyl (Ethyl guthion) | 642-71-9 | Demeton-O | 298-02-3 |
| Azinphos methyl (Guthion) | 86-50-0 | Demeton-Oc | 8065-48-3 |
| a-BHC | 319-84-6 | Demeton-S | 126-75-0 |
| ß-BHC | 319-85-7 | Demeton-Sc | 8065-48-3 |
| ?-BHC (Lindane) | 58-89-9 | Diallate | 2303-16-4 |
| d-BHC | 319-86-8 | Diazinon | 333-41-5 |
| Bendiocarb | 22781-23-3 | 1,2-Dibromo-3-chloropropane (DBCP) | 96-12-8 |
| Benfluralin | 1861-40-1 | Dicamba | 1918-00-9 |
| Bolstar (Sulprofos) | 35400-43-2 | Dichlobenil (Casoron) | 1194-65-6 |
| Bromacil | 314-40-9 | 3,5-Dichlorobenzoic acid | 51-36-5 |
| Bromoxynil (Brominal) | 1689-84-5 | Dichlorofenthiona | 97-17-6 |
| Busan 40 | 51026-28-9 | Dichlorprop | 120-36-5 |
| Busan 85 | 128-03-0 | Dichlorvos (DDVP) | 62-73-7 |
| Butachlor | 23184-66-9 | Diclofol (Kelthane) | 115-32-2 |
| Butylate | 2008-41-5 | Diclofop-methyl | 51338-27-3 |
| Carbophenothiona | 786-19-6 | Dicrotophosa | 141-66-2 |
| Captafol | 2425-06-1 | Dieldrin | 60-57-1 |
| Captan | 133-06-2 | Dimethoate | 60-51-5 |
| Carboxin | 5234-68-5 | Dinoseb | 88-85-7 |
| cis-Chlordane | 5103-71-9 | Dioxathion | 78-34-2 |
| trans-Chlordane | 5103-74-2 | Diphenamid | 957-51-7 |
| Chlordane -- not otherwise specified (n.o.s.) | 57-74-9 | Disulfoton (Disyston) | 298-04-4 |
| Chlorfenvinphosa | 470-90-6 | Disulfoton sulfone | 2497-06-5 |
| Chlorobenzilate | 510-15-6 | Disulfoton sulfoxide | 2497-07-6 |
| Chlorpropham | 101-21-3 | Diuron | 330-54-1 |
| Chlorpyrifos | 2921-88-2 | Endosulfan I | 959-98-8 |
| Chlorpyrifos methyla | 5598-13-0 | Endosulfan II | 33213-65-9 |
| Chlorthalonil (Daconil) | 1897-45-6 | Endosulfan sulfate | 1031-07-8 |
| Coumaphos | 56-72-4 | Endrin | 72-20-8 |
| Crotoxyphosa | 7700-17-6 | Endrin aldehyde | 7421-93-4 |

PESTICIDES (EPA LISTED) MANDATING CHEMICAL PROTOCOL REVIEW (page 2 of 3)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Cyanazine | 21725-46-2 | Endrin ketone | 53494-70-5 |
| EPN | 2104-64-5 | Nabam | 142-59-6 |
| Eptam (EPTC) | 759-94-4 | Naled | 300-76-5 |
| Ethalfluralin (Sonalan) | 55283-68-6 | Napropamide | 15299-99-7 |
| Ethion | 563-12-2 | Niacide | 8011-66-3 |
| Ethoprop | 13194-48-4 | 4-Nitrophenol | 100-02-7 |
| Famphura | 52-85-7 | Norflurazon | 27314-13-2 |
| Fenamiphos | 22224-92-6 | Oxyfluorfen | 42874-03-3 |
| Fenarimol | 60168-88-9 | Parathion, ethyl | 56-38-2 |
| Fenitrothion | 122-14-5 | Parathion, methyl | 298-00-0 |
| Fensulfothion | 115-90-2 | Pebulate | 1114-71-2 |
| Fenthion | 55-38-9 | Pendimethalin | 40487-42-1 |
| Ferbam | 14484-64-1 | Pentachlorophenol (PCP) | 87-86-5 |
| Fluridone | 59756-60-4 | o-Phenylenediamine | 95-54-5 |
| Fonophosa | 944-22-9 | Phorate | 298-02-2 |
| Gardona (Tetrachlovinphos) | 961-11-5 | Phosmet | 732-11-6 |
| Heptachlor | 76-44-8 | Phosphamidon | 297-99-4 |
| Heptachlor epoxide | 1024-57-3 | Phosphamidon | 13171-21-6 |
| Hexachlorobenzene | 118-74-1 | Picloram | 1918-02-1 |
| Hexachlorocyclopentadiene | 77-47-4 | Polyram | 9006-42-2 |
| Hexamethyl phosphoramidea (HMPA) | 680-31-9 | Profluralin | 26399-36-0 |
| Hexazinone | 51235-04-2 | Prometon (Pramitol 5p) | 1610-18-0 |
| Imidan (Phosmet) | 732-11-6 | Prometryn | 7287-19-6 |
| Ioxynil | 1689-83-4 | Pronamide (Kerb) | 23950-58-5 |
| Isodrin | 465-73-6 | Propachlor (Ramrod) | 1918-16-7 |
| KN Methyl | 137-41-7 | Propargite (S-181) | 2312-35-8 |
| Leptophos | 21609-90-5 | Propazine | 139-40-2 |
| Malathion | 121-75-5 | Propetamidophos | 31218-83-4 |
| Mancozeb | 8018-01-7 | Propham | 122-42-9 |
| Maneb | 12427-38-1 | Prosulfocarb | 52888-80-9 |
| MCPA acid | 94-74-6 | Ronnel | 299-84-3 |
| MCPP acid | 7085-19-0 | Silvex (2,4,5-TP) | 93-76-5 |
| Merphos | 150-50-5 | Simazine | 122-34-9 |
| Metalaxyl | 57837-19-1 | Simetryn | 1014-70-6 |
| Metham | 137-42-8 | Sodium dimethyldithiocarbamat | 128-04-1 |
| Methiocarb | 2032-65-7 | Stirophos (Tetrachlorvinphos, Gardona) | 22248-79-9 |
| Methoxychlor | 72-43-5 | Sulfotepp | 3689-24-5 |
| Methyl chlorpyrifos | 5598-13-0 | Sulprofos (Bolstar) | 35400-43-2 |
| Methyl paraoxon | 311-45-5 | 2,4,5-T acid | 94-82-6 |
| Methyl paraoxon | 950-35-6 | 2,4,5-TB | 93-80-1 |

PESTICIDES (EPA LISTED) MANDATING CHEMICAL PROTOCOL REVIEW (page 3 of 3)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Methyl parathion | 298-00-0 | Tebuthiuron | 34014-18-1 |
| Metolachlor | 51218-45-2 | Terbacil | 5902-51-2 |
| Metribuzin | 21087-64-9 | Terbufosa | 13071-79-9 |
| Mevinphos | 7786-34-7 | Terbutryn (Igran) | 886-50-0 |
| MGK-264 | 113-48-4 | 2,3,4,5-Tetrachlorophenol | 4901-51-3 |
| Mirex | 2385-85-5 | 2,3,4,6-Tetrachlorophenol | 58-90-2 |
| Molinate | 2212-67-1 | Tetraethyl pyrophosphate (TEPP)d | 107-49-3 |
| Monocrotophos | 6923-22-4 | Thionazina,b (Zinophos) | 297-97-2 |
| Thiram | 137-26-8 | Triclopyr (Garlon) | 55335-06-3 |
| Tokuthionb (Prothiofos) | 34643-46-4 | Tricyclazole | 41814-78-2 |
| Toxaphene | 8001-35-2 | Trifluralin (Treflan) | 1582-09-8 |
| Triademefon | 43121-43-3 | Tri-o-cresyl phosphatea,d (TOCP) | 78-30-8 |
| Triallate | 2303-17-5 | Vernolate | 1929-77-7 |
| Trichlorfona | 52-68-6 | ZAC | -- |
| Trichloronateb | 327-98-0 | Zineb | 12122-67-7 |
| 2,4,5-Trichlorophenol | 95-95-4 | Ziram | 137-30-4 |
| 2,4,6-Trichlorophenol | 88-06-2 |  |  |

APPENDIX 6: STANDARD OPERATING PROCEDURES TEMPLATE

(Insert name of chemical/process/experiment here)

Standard Operating Procedure	Rev Date: 10/31/2025

APPLICABILITY

This SOP applies to all chemical processes, experiments, or manipulations. The SOP should clearly outline the project and explain how it limits the potential for injury, equipment damage, or environmental impact.

RESPONSIBILITIES (Add to list as appropriate)

PI/Supervisor:

- Implement the guidance outlined in this document within departmental/institute operations.

- Provide training to laboratory personnel regarding the specific hazards involved in working with (enter name of chemical/process/experiment here) to include work area decontamination, and emergency procedures prior to conducting any work.

- Provide laboratory personnel with a copy of this SOP and a copy of the SDS(s) provided by the manufacturer.

- Ensure that laboratory personnel have completed appropriate laboratory safety training and/or refresher training as required.

- Ensure all personnel are trained on the proper use/operation of any equipment used during the experiment or process.

- Require the use of proper lab attire (lab coats, gloves, eye protection, and other PPE as required).

Researchers (Students/Postdocs/Research Staff)

- Implement and follow the minimum working protection found in this document.

- Complete the appropriate training required for this SOP.

- Wear appropriate personal protective equipment outlined in this document.

- Report all near misses, incidents, and unsafe acts or conditions to the principal investigator and EHS.  Any injuries must also be reported to Human Resources.  Reporting forms are available at the following link: https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/forms.

PROCEDURE

| INSERT TITLE OF EXPERIMENT OR PROCESS |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ***Type out here a description of the experiment or process you will perform in detail. *** |  |  |  |  |  |  |  |  |  |  |
| Preparer: Insert Name |  |  |  | Location: Bayou/STEM/Arbor |  |  |  |  |  |  |
| Authorized Personnel with Contact Information |  |  |  |  |  |  |  |  |  |  |
| Position |  |  |  | Name |  |  |  | Number/Email |  |  |
| Principal Investigator/Supervisor |  |  |  | Insert Name |  |  |  | 555-555-5555/someone@uhcl.edu |  |  |
| Student/Technician/Operator |  |  |  | Insert Name |  |  |  | 555-555-5555/someone@uhcl.edu |  |  |
| Others to be notified (e.g., other workers in the same laboratory, or other members of the research group) |  |  |  | Insert Name |  |  |  | 555-555-5555/someone@uhcl.edu |  |  |
| HAZARDS, CONTROLS, CONDITIONS, & REQUIREMENTS |  |  |  |  |  |  |  |  |  |  |
| Potential Hazards |  |  |  |  |  |  |  |  |  |  |
| Copy and paste relevant SDS pictograms. (Options in attachment) |  |  |  |  |  |  |  |  |  |  |
| Planned Chemicals Involved |  |  |  | Hazards |  |  |  |  |  |  |
| Insert chemical name(s) |  |  |  | List relevant hazards for the chemical. (Examples in attachment 1) |  |  |  |  |  |  |
| Planned Equipment Involved |  |  |  | Hazards |  |  |  |  |  |  |
| Insert equipment name |  |  |  | List relevant hazards for equipment. (Examples in attachment 1) |  |  |  |  |  |  |
| Hazard Controls |  |  |  |  |  |  |  |  |  |  |
| Engineering |  |  |  |  |  |  | Work Practice |  |  |  |
| Examples include: - Fume hood or glove box - Special ventilation - HEPA-filtered vacuum lines - Non-reactive containers - Pressure relief devices - Temperature control - Pressure control - Bench paper, pads, plastic-backed paper - Special signage - Safe, sharp devices - Guards - Connect to ground |  |  |  |  |  |  | Examples include: - Designated areas - Emergency phone numbers - Procedures for requesting emergency assistance - Locations of fire alarms, fire extinguishers, fire blankets, eye washes, showers, etc. - Workers on shifts - Training on all experimental techniques and experiments - Restricting access; locks - Housekeeping - Lockout/tagout a procedure plan - After-hour procedures - Preventive maintenance |  |  |  |
| Required PPE |  |  |  |  |  |  |  |  |  |  |
| Copy and paste relevant pictograms with descriptions as needed. (Options in attachment) |  |  |  |  |  |  |  |  |  |  |
| Experiment Operational Ranges and Conditions |  |  |  |  |  |  |  |  |  |  |
| Pressure: |  | Insert info | Temperature: |  |  | Insert info |  |  | Volume: | Insert info |
| Flammability Range: |  | Insert info | Other: |  | Insert info as necessary |  |  |  |  |  |
| Special Handling & Storage Requirements |  |  |  |  |  |  |  |  |  |  |
| Insert handling and storage information here |  |  |  |  |  |  |  |  |  |  |
| Spill & Incident Procedure |  |  |  |  |  |  |  |  |  |  |
| Insert spill and incident procedure here |  |  |  |  |  |  |  |  |  |  |
| Waste Handling & Disposal |  |  |  |  |  |  |  |  |  |  |
| DO NOT dispose of chemical waste by pouring it down a sink or drain, or by discarding it in regular trash containers. All hazardous and non-hazardous waste must be properly packaged in compatible containers and removed to the designated waste storage area for the affected lab (Contact EHS at 281-283-2104 or 281-283-2106 for any assistance required. |  |  |  |  |  |  |  |  |  |  |
| Training Requirements |  |  |  |  |  |  |  |  |  |  |
| - Completely required safety training and any advanced training needed. - Complete training in the operation of specialized equipment prior to use (e.g., ultracentrifuge, hydrogenation apparatus). - Other EHS training requirements (e.g., Nanoparticle Safety, Radiation Safety, Hazardous Waste Management, etc.) as appropriate. |  |  |  |  |  |  |  |  |  |  |
| PROCEDURE |  |  |  |  |  |  |  |  |  |  |
| Step # | Directions |  |  |  |  |  |  |  |  |  |
| 1 | Insert procedural steps for the experiment or process. Add to the table as needed. |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |
| VERIFICATION & REVIEW |  |  |  |  |  |  |  |  |  |  |
| Current Date |  |  |  |  |  | Date of SOP Expiration |  |  |  |  |
| 00/00/0000 |  |  |  |  |  | 00/00/0000 |  |  |  |  |
| PI Name |  |  |  |  |  | PI Signature |  |  |  |  |
| Insert Name |  |  |  |  |  |  |  |  |  |  |
| Safety Reviewer Name |  |  |  |  |  | Safety Reviewer Signature |  |  |  |  |
| Insert Name |  |  |  |  |  |  |  |  |  |  |
| LIST OF REFERENCES |  |  |  |  |  |  |  |  |  |  |
| Include Safety Data Sheets, any outside personnel consulted in preparation of the document, peer reviewers, etc. |  |  |  |  |  |  |  |  |  |  |

| PROCEDURE MODIFICATIONS/REVISIONS |  |  |
| --- | --- | --- |
| Current Date | Modifications or Revisions | Name |
| 00/00/0000 | Insert summary of changes made | Insert the name of the person making and/or approving changes |
| 00/00/0000 | Original document | Insert the name of the person making the initial procedure |

# SOP Training Certification

I have read and understand the above SOP.  I have taken all appropriate EHS training. I have received my supervisor's prior approval to perform this procedure. I agree to contact my supervisor if I plan to modify this procedure.

| Name | Signature | Uhcl Employee ID | Date |
| --- | --- | --- | --- |

| Principal Investigator | Revision Date |
| --- | --- |

Attachment – Pictogram Options – Remove after use

| Pictograms and Hazards |  |  |  |  |
| --- | --- | --- | --- | --- |
| Chemical Hazards |  |  |  |  |
|  |  | - Carcinogen - Mutagenicity - Reproductive Toxicity | - Respiratory Sensitizer - Target Organ Toxicity - Aspiration Toxicity |  |
|  |  | - Flammables - Pyrophorics - Self-Heating | - Emits Flammable Gas - Self-Reactives - Organic Peroxides |  |
|  |  | - Irritant (skin and eye) - Skin Sensitizer - Acute Toxicity (harmful) | - Narcotic Effects - Respiratory Tract Irritant |  |
|  |  | - Gases Under Pressure |  |  |
|  |  | - Skin Corrosion/Burns - Eye Damage - Corrosive to Metals |  |  |
|  |  | - Explosives - Self-Reactives - Organic Peroxides |  |  |
|  |  | - Oxidizers |  |  |
|  |  | - Aquatic Toxicity |  |  |
|  |  | - Acute Toxicity (fatal or toxic) |  |  |
| Physical Hazards |  |  |  |  |
|  |  | - Noise |  |  |
|  |  | - Moving Parts |  |  |
|  |  | - Projectiles |  |  |
|  |  | - Slip/Fall |  |  |
|  |  | - Electrical |  |  |
|  |  | - Low Temperature |  |  |
|  |  | - Hot Substance - Hot Surface |  |  |
|  |  | - Glass Hazard |  |  |
|  |  | - Pressure Release |  |  |
| PPE Pictograms and Descriptions |  |  |  |  |
| Personal Protective Equipment |  |  |  |  |
|  | Lab Coat |  |  |  |
|  | Eye Protection - Safety Glasses (for dry chem) - Safety Goggles (for liquids) |  |  |  |
|  | Gloves - Vinyl - Nitrile - Cotton - Rubber |  |  | - Cut Resistant - Heat Protective - Cold Protective - Anti-vibration |
|  | Foot Protection - Closed Toe - Slip Resistant - Conductive Safety Toe |  |  |  |
|  | Face Shield (for splashes, aerosolization) |  |  |  |

|  | Filtering Facepiece Respirator - N/R/P95 - N/R/P99 - N/R/P100 |  |
| --- | --- | --- |
|  | Tight Fitting Respirator - Half Face - Full Face |  |
|  | High Visibility Clothing |  |
|  | Clothing protection - Long sleeve shirt and pants - Leather - Fire Resistant - Chemical Resistant |  |
|  | - Hard Hat |  |
|  | Hearing Protection - Ear Plugs - Ear Muffs - Canal Caps |  |

# APPENDIX 7: COMPRESSED GAS AND CRYOGENIC SAFETY

Purpose:

This document provides guidance for University of Houston -Clear Lake personnel who work with and store compressed gases.

REGULATORY STATUTE:

OSHA - 29 CFR 1910.101 - 105

CGA - CGA Pamphlets G-1, 4, 4.1, 5, 6, 8.1, P-1, 2, V-1, SB-2

Compressed Gas Safety Practices Program

1.  Written Program.

2.  Initial Training.

3.  Refresher Training.

4.  Safe Handling Procedures for Compressed Gases.

5.  General Safety Rules for Specific Types of Gases.

6.  Visual Inspection of Compressed Gas Cylinders.

7.  General Safety Rules for Use of Compressed Gas.

8.  Compressed Gas Storage Locations.

Compressed Gas and Liquefied Cryogen Safety Practices Program

1. Written Program

UHCL will review and evaluate this standard practice instruction on an annual basis, when changes occur to the regulations that govern this program, when changes to this document are prompted by revisions to the regulations, or when facility operational changes require a revision of this document.  Effective implementation of this program requires support from all levels of management within UHCL.  This written program will be communicated to all personnel who are affected by it.  It encompasses the total workplace, regardless of the number of workers employed or the number of work shifts.  It is designed to establish clear goals and objectives.

2. Initial Training

Initial training should be provided before any job assignment.  Training shall be provided to ensure that the purpose and function of the compressed gas and liquified cryogen safety program are understood by employees, and that the knowledge and skills required for the safe application and use of compressed gases and liquified cryogens are acquired.  The training shall include the following:

2.1 Applicable hazards.  Each authorized employee shall receive training in the recognition of applicable hazards associated with compressed gases and liquified cryogens, and the methods and means necessary for safe operation.

2.2 Purpose and use.  Each affected employee shall be instructed in the purpose and use of the compressed gas and liquified cryogens they will come in contact with.

2.3 Awareness level training.  All other employees whose work operations are or may be in an area where compressed gas and liquified cryogens may be utilized shall be instructed about the emergency procedure and about the prohibition(s) relating to compressed gases and liquified cryogens used in their work area.

2.4 Warning labels.  All employees whose work operations are or may be in an area where compressed gas and liquified cryogens may be utilized shall be instructed in the recognition and use of warning labels.

2.5 Storage requirements.  Storing and handling requirements will be covered in accordance with this guidance document.

2.6 Handling requirements.  Handling requirements will be covered in accordance with this guidance document.

2.7 Moving requirements.  Moving requirements will be covered in accordance with this guidance document.

2.8 Connecting and disconnecting requirements.  Connecting and disconnecting requirements will be covered in accordance with this guidance document.

2.9 Health hazards regarding specific gases.  Health hazards regarding specific gases and liquefied cryogens will be covered in accordance with this guidance document.

2.10 General safety precautions.  General safety precautions will be covered in accordance with this guidance document.

2.11 Certification.  The supervisor shall certify that employee training has been accomplished.

3. Refresher Training

Retraining shall be provided for all authorized and affected employees whenever there is a change in their job assignments, the type of gas and/or liquified cryogens used, equipment, or processes that present a new hazard, or in operating procedures.

3.1 Additional retraining shall also be conducted whenever a periodic inspection reveals, or whenever this employer has reason to believe, that there are deviations from or inadequacies in the employee's knowledge or use of the compressed gas and liquified cryogens safety procedures.

3.2 The retraining shall reestablish employee proficiency and introduce new or revised control methods and procedures, as necessary.

3.3 Certification - The supervisor shall certify that employee training has been accomplished.

4. Safe handling procedures for compressed gases

4.1 Filling - Under no circumstances will UHCL personnel fill any compressed gas cylinders/containers.  Cylinders/containers will be filled by the supplier of the cylinder only.  Small dewars of liquefied cryogens may be filled from a larger tank so long as an SOP for this has been developed and all instructions from the tank provider are followed.  Under no circumstances will UHCL personnel put liquified cryogens into any other container besides a dewar, nor will they seal any container with liquified cryogens as that will burst the container, with possible catastrophic consequences.

4.2 Content Identification

4.2.1 Warning labels - All employees whose work operations are or may be in an area where compressed gas and liquified cryogens may be utilized shall be instructed in the recognition and use of warning labels.  Warning labels are essentially warning devices and must be legible at all times.  The following will be addressed as a minimum:

4.2.1.1 Removal - When a warning label is attached to a compressed gas cylinder, it is not to be removed without the authorization of the person responsible for it, and it is never to be bypassed, ignored, or otherwise defeated.  Warning labels shall not be removed from a vendor-provided cryogenic storage tank.

4.2.1.2 Legibility - To be effective, warning labels must be legible and understandable by all authorized employees, affected employees, and other employees whose work operations are or may be in the area.  Non-legible or missing labels will be reported to Environmental Health and Safety (281-281-2106) immediately.

4.2.1.3 Durability - Labels and their means of attachment must be made of materials that will withstand the environmental conditions encountered in the workplace.

4.2.1.4 Labels may evoke a false sense of security, and their meaning needs to be understood as part of the overall compressed gas and liquified cryogens safety program.

4.2.1.5 Labels must be securely attached to cylinders and cryogenic tanks so that they cannot be inadvertently or accidentally detached during use.

4.2.2 Labeling.  Each container will bear the proper label for the compressed gas and liquefied cryogens contained.

4.3 Maintenance

4.3.1 Authorization - Cylinders and the associated cylinder valves used by UHCL will be maintained only by the vendor or their authorized representative.  No maintenance is to be done on any cylinder or its associated cylinder valve by any UHCL employee.  Any defective cylinder and/or cylinder valve is to be immediately removed to the STEM dock and returned to the responsible vendor.

Cryogenic tanks and their associated valves and fittings used by UHCL will be maintained only by the vendor or their authorized representative.  No maintenance is to be done on any cryogenic tank and its associated valves and fittings by any UHCL employee.  Any cryogenic tank and associated valves and fittings found to be defective is to be immediately moved to the STEM dock for storage and returned to the vendor.  Any employee with questions about this should contact EHS at (281-281-2106) for further information.

4.3.2 Changing prescribed markings.  The prescribed markings, supplier/owner markings, or symbols stamped into containers, cylinders or cryogenic tanks will not be removed or changed unless in accordance with pertinent regulations.

4.3.3 Changing content markings.  No employee will deface or remove any markings, labels, decals, tags, or stencil marks applied by our supplier and used for the identification of content.  Like markings may be affixed if the original becomes illegible or detached.

4.3.4 Pressure Relief Devices.  No employee will change, modify, tamper with, obstruct, or repair pressure relief devices on containers, cylinder valves, cylinders, and/or cryogenic tanks.

4.4 Painting

4.4.1 Cylinders and cryogenic tanks will not be painted.  If a container shows signs of corrosion, it will be removed from service and returned to the supplier.

4.4.2 Cylinder color.  All employees should be aware that containers may only be painted by the supplier for recognition and segregation.  Should UHCL change its compressed gas suppliers, the color coding may also change.  Always double-check to ensure you have the correct cylinder for the intended use.  Never rely solely on the cylinder color for identification.

4.5 Contamination or improper contents - Any container found suspected to be contaminated or having its contents suspect will be immediately removed from service and reported to Environmental Health and Safety (281-281-2106).  The supplier will be immediately notified and requested to remove the affected container from the site.

4.6 Leaking or defective containers

4.6.1 Leaking Containers - Supervisors will ensure all employees under their control understand the following.  Any employee discovering a leaking container should attempt to take the following actions:

- Notify workers in the immediate area of the leak.

- If the container could contain hazardous material or a liquified cryogen (or if you're not sure), evacuate personnel in the area to fresh air (preferably up-wind or side-wind relative to the source).

- Report the following as soon as possible to Environmental Health and Safety (281-281-2106):

-- Contents.

-- Location.

-- Number of employees in the immediate area.

-- Circumstances of the release.

-- Condition of container.

-- Other pertinent information as required.

4.6.2 Defective Containers - Supervisors will ensure all employees under their control understand the following.  Any employee discovering a defective or corroded container should attempt to take the following actions:

- Notify the supervisor of the department where the container was discovered.

- If the container could contain hazardous material or a liquified cryogen (or if you're not sure), evacuate personnel in the area to fresh air (preferably up-wind or side-wind relative to the source).  If personnel are in a lab or room with negative air pressure (most labs on campus), evacuate to the hallway at a minimum and secure the lab from entry.  If the gas is flammable, pull the fire alarm and evacuate the building.  Notify the UHCL Fire Marshall immediately afterward.

- Supervisor - Report the following as soon as possible to EHS (281-281-2106):

-- Contents

-- Location

-- Number of employees in immediate area

-- Circumstances

-- Condition of container

-- Other pertinent information as required

4.7 Container usage requirements

4.7.1 Content Identification - Where UHCL employees are responsible for handling and connecting the container for use the operation will not proceed unless the contents can be verified by legible markings and labels.

4.7.2 Container caps, valve outlet caps, and plugs

4.7.2.1 Container caps - Where removable caps are provided by the gas supplier for valve protection, UHCL employees shall keep such caps on containers at all times except when containers are connected to dispensing equipment.

4.7.2.2 Valve outlet caps and plugs.  Where valve outlet caps and plugs are provided by the supplier, employees will keep such devices on the containers and valve outlets at all times except when containers are connected to dispensing equipment.

4.7.3 Misuse - No cylinder or cryogenic tank will be used for anything other than its intended purpose.  Cylinders will not be used as rollers, supports, or for any purpose other than to contain the content as received.  No employee will allow an unsafe condition such as this to occur.  If an unsafe condition is found, the employee is to notify his/her supervisor and/or EHS (281-283-2106 or 281-283-2104) immediately.

4.7.4 Cylinders not in use (configuration) - When cylinders are not being used the valves will remain closed and the cylinder capped at all times except when operational constraints apply.

4.8 Movement of compressed gas cylinders

4.8.1 Trucks - Cylinders will not be rolled, dragged, or slid.  A suitable hand truck, fork truck, roll platform, or similar device will be used to move cylinders.

4.8.2 Rough handling - Cylinders will not be dropped or permitted to strike violently against each other or other surfaces.

4.8.3 Lifting requirements

4.8.3.1 Cylinder caps - Cylinder caps will not be used for lifting cylinders except for the use of hand trucks which grip the container cap for lifting onto the hand truck.  In any case, the cylinder will not be lifted higher than six inches above the operating surface.

4.8.3.2 Magnetic lifting devices - Magnetic lifting devices are prohibited from use with compressed gas cylinders.

4.8.3.3 Ropes, chains, or slings - Ropes, chains, or slings are prohibited from use with compressed gas cylinders unless lugs or lifting attachments are provided by the manufacturer.

4.8.3.4 Cradles or platforms - Where approved lifting attachments have been provided by the manufacturer, cradles or platforms are authorized for use.

4.9 Cylinder Storage Requirements

4.9.1 Posting requirements

4.9.1.1 No Smoking - No Smoking signs will be posted in the storage area.

4.9.1.2 Type of Gas - Signs designating the type of gas stored in the area will be posted.

4.9.2 Grouping Requirements - Where different types of gases are stored in the same general area the following apply.

4.9.2.1 Like gases - will be stored with like gases and segregated from dissimilar gases.

4.9.2.2 Full and empty containers - Full and empty containers will not be intermingled.  Separate storage areas will be designated for each.

4.9.3 Stock rotation - Stock will be rotated so that the oldest material will be the first to be used.  The storage layout will be such that old stock can be removed first with minimum handling of other containers.

4.9.4 Storage rooms - Storage rooms used by UHCL will be well-ventilated and dry.  Room temperature will not exceed 125 degrees F.  Storage in subsurface location will be avoided.

4.9.5 Separation from combustibles - Cylinders will not be stored near readily ignitable substances such as gasoline or waste, or near combustibles in bulk, including oil.

4.9.6 External corrosion requirements - Cylinders will not be exposed to continuous dampness and should not be stored near salt or other corrosive chemicals or fumes.  Corrosion may damage the cylinders and may cause the valve protection caps to stick.

4.9.7 Mechanical damage requirements - Cylinders shall be protected from any object that will produce a harmful cut or other abrasion on the surface of the metal.  Cylinders will not be stored near elevators, gangways, unprotected platform edges or in locations where heavy moving objects may strike or fall on them.

4.9.8 Storage and use requirements

4.9.8.1 Store upright - All compressed gas cylinders in service or in storage will be stored standing upright where they are not likely to be knocked over.

4.9.8.2 Restrain - All compressed gas cylinders in use will be restrained above the midpoint to prevent accidental fall-over of the container.

4.9.8.3 Gas cylinders with a water volume up to 305 cu.in. (5.0 L) may be stored in a horizontal position.

4.9.8.4 Cylinder valve end up - Liquefied gas cylinders and dewars, except those designed for use in a horizontal position on tow motors, etc., will be stored and used valve end up

4.9.9 Outdoor storage - Cylinders may be stored in the open but will be stored on a clean dry surface to prevent corrosion to the bottom of the container.

4.9.9.1 Sunlight - Cylinders may be stored in direct sunlight, except in localities where extreme temperatures prevail (above 125 degrees F.).  If our supplier recommends storing a particular gas in the shade, this recommendation will be followed.

4.9.10 Public area - Cylinders used or stored in public areas will be protected to prevent tampering.

4.9.11 Interference with egress - Cylinders when stored inside will not be located near exits, stairways, or in areas normally used or intended for the safe exit of employees.

4.10 Connecting cylinders and withdrawing content

4.10.1 Trained personnel - Compressed gases will be handled and used only by properly trained employees.  Employees must have received initial training to handle and use compressed gases.

4.10.2 Content identification - Employees will verify that a label exists and review the label before beginning operations with compressed gas.  Unmarked cylinders will not be used.  Such containers will be reported to Environmental Health and Safety (281-281-2106).  The container color will never be relied on for the identification of a cylinder.

4.10.3 Cylinder caps - Caps will be retained and not removed until the cylinder is placed in service.

4.10.4 Secure cylinders - UHCL will ensure that compressed gases are secured above the midpoint to prevent them from being knocked over.

4.10.5 Pressure regulator - a suitable pressure regulating device will be used where gas is admitted to a system of lower pressure rating than the supply pressure, and where, due to the gas capacity of the supply source, the system rating may be exceeded.

4.10.6 Pressure relief device - a suitable pressure relief device will be used to protect a system using compressed gas where the system has a pressure rating less than the compressed gas supply source and where, due to the gas capacity of the supply source, the system pressure rating may be exceeded.

4.10.7 Connection requirements - Connections that do not fit will not be forced. Threads on regulator connections or other auxiliary equipment will match those on container valve outlets.  DO NOT CHANGE OUT THREADS.  Different connectors are utilized to prevent the inadvertent mixing of incompatible gases.

4.10.8 Manifold - where compressed gas cylinders are connected to a manifold, the manifold, and its related equipment will be of proper design for the product(s) they are to contain at the appropriate temperatures, pressures, and flows.

4.10.9 Equipment compatibility - Regulators, gauges, hoses, and other appliances provided for use with a particular gas or group of gases, such as regulators for oxygen use only, will not be used on containers containing gases having different chemical properties.  Check with EHS for any concerns in this area (281-283-2106).

4.10.10 Cylinder valve requirements

4.10.10.1 Cylinder valves will be opened slowly and pointed away from personnel and sources of ignition.

4.10.10.2 For valves having no handwheel, the wrench provided by, or recommended by, the supplier will be used.

4.10.10.3 On a valve utilizing a handwheel, wrenches will not be used.

4.10.10.4 Valves will never be forced open or closed.  If the valves become frozen for any reason, the supplier will be contacted for instructions.

4.10.11 Dusting clothing and cleaning work areas - Compressed gas will not be used to dust off clothing or clean work areas of debris.  This may cause serious injury to the eyes or body and/or create a fire hazard.

4.10.12 Residual empty cylinder pressure - when withdrawing a non-liquified compressed gas from a container, the internal pressure should not be reduced to below 20 psig to preclude the backflow of atmospheric air or other contaminants into the container.  The cylinder valve should be closed tightly to retain this residual pressure.

4.10.13 Check valves - Compressed gases will not be used where the cylinder may be contaminated by the backflow of process materials unless protected by suitable traps or check valves.

4.10.14 Gas tightness - Connections to piping, regulators, and other appliances will be kept tight to prevent leakage.  Where the hose is used, it shall be kept in good condition.  All connections shall be tested with Snoop to ensure there is no leakage of gas.

4.10.15 Removing pressure regulator - before a regulator is removed from a cylinder, the container valve shall be closed and the regulator drained of gas pressure.

5. General safety rules for specific types of gases

5.1 Flammable gases

5.1.1 Adjoining exposures - Provisions will be made to protect flammable gases from hazardous exposure to and against hazardous exposure from adjoining buildings, equipment, property, and concentrations of people.

5.1.2 Heating Requirements - Where storage areas are heated, the source will be by steam, hot water, or other indirect means.  Heating by flames or fire is prohibited.

5.1.3 Electrical Equipment Requirements - Will conform to the provisions of NFPA 70, National Electrical Code, article 501, for Class 1 Division 2 locations.

5.1.4 Sources of ignition will be forbidden.

5.1.5 Storage buildings will be well-ventilated.

5.1.6 Combustibles and ignition sources - Flammable gas cylinders stored inside of buildings with other occupancies will be kept at least 20 feet from combustibles or ignition sources.

5.1.7 Capacity Limitations - Flammable gas cylinders stored inside industrial buildings on UHCL property, except those in use or those attached for use, are limited to a total gas capacity of 2500 cubic feet of acetylene or non-liquefied flammable gas, or a total cylinder content water capacity of 735 pounds for liquefied petroleum gas or stabilized methylacetylene-propadiene.

5.1.8 Fire Protection Requirements

5.1.8.1 Fire extinguishers - Adequate portable fire extinguishers of carbon dioxide or dry chemical types will be made available for fire emergencies at UHCL storage locations.

5.1.8.2 No smoking signs - Signs will be posted around the storage area of buildings or at the entrance to storage rooms.

5.1.8.3 Leak testing - A flame or other ignition source will not be used for the detection of flammable gas leaks.  Use either a flammable gas leak detector, SNOOP, or other suitable solution.

5.1.9 Non-sparking Tools - All tools used when working with flammable gases must be non-sparking tools.

5.2 Hydrogen is an extremely dangerous gas that is flammable, burns with an invisible flame, and has a flammability range of 4% to 75%.  In addition, it has a reverse Jules-Thompson Coefficient, which causes depressurized (leaking) hydrogen to heat up and catch fire.  All requirements in section 5.1 apply to any use of hydrogen.  In addition, there are restrictions on the quantities that can be used in a lab based on the lab’s location in the building and how the cylinders are to be contained when in use.  These requirements are per NFPA 55, NFPA 2, CGA 5.5, and ASME B31-12

5.2.1 Use of Flammable Gas Cabinet - Any use of hydrogen from a cylinder larger than a lecture bottle requires the cylinder to be in a ventilated gas cabinet which is tied into the lab hood system per NFPA 2.  Lecture bottles may be used in working hoods.

5.2.2 Use of Hydrogen Gas Detector - Any use of hydrogen from a cylinder larger than a lecture bottle requires the use of a hydrogen gas detector per NFPA 2.

5.2.3 Use of Automatic Shutoff Valve - Any use of hydrogen from a cylinder larger than a lecture bottle requires the use of an automatic shutoff valve which is tied into the fire alarm per NFPA 2.

5.2.4 Locations Limited by Size - Hydrogen cylinders on the third floor of any building are not to exceed 40 cubic feet in capacity.  Hydrogen cylinders on the first floor may contain 200 cubic feet capacity per NFPA 55.

5.2.5 Inspections - Hydrogen cylinder containment systems (gas cabinet, hydrogen sensor, automatic shutoff valve) are required to be tested annually by a qualified technician per NFPA 2.

5.3 Oxygen (Including oxidizing gases)

5.3.1 Cleanliness - Prior to initial use, all equipment used on oxygen lines must be cleaned and certified for use on oxygen systems. This is mandatory for all lines where oxygen content exceeds 21%.  Oxygen cylinders, valves, regulators, hose, and other oxygen apparatus will be kept free of oil or grease at all times and will not be handled with oily hands, oily gloves, or greasy equipment.

5.3.2 Separation of oxygen from combustibles - Oxygen cylinders in storage will be separated from flammable cylinders or combustible materials (especially oil and grease) a minimum distance of 20 feet or by a noncombustible barrier at least 5 feet high having a fire resistance rating of at least one-half hour.

5.3.3 Oxygen-rich atmospheres - The oxygen content in work areas (other than hyperbaric chambers) MUST NOT exceed 23 percent by volume.  Failure to follow this will result in fires and/or explosions.

5.3.4 Compatibility of materials - Any materials used by UHCL that come into contact with oxygen in valves, piping, fittings, regulators, and utilization equipment must be suitable for use with oxygen, and at the pressures and conditions involved at the specific use point of the material.  The handling and use of oxygen above 3000 psig may involve greater fire potential, and adequate safety systems analysis needs to be made.

5.3.5 Non-sparking Tools - All tools used when working with enriched oxygen (23% to 100%) must be non-sparking tools.

5.4 Acid and alkaline gases

5.4.1 Personal Protective Equipment - Supervisors will ensure that precautions are taken to avoid contacting skin or eyes with acid or alkaline gases.  Chemical goggles or face shields, rubber (or other suitable chemically protective material) gloves, and aprons will be worn.  Long sleeves and trousers will be worn.  Open-toed shoes or sneakers are prohibited.

5.4.2 Respiratory equipment - Employees handling and using acid and alkaline gases will have gas masks or self-contained breathing apparatus (SCBA) immediately available for use.  SCBA must be used when the concentration of the gas could be higher than the mask canister rating, and/or where the oxygen content of the atmosphere could be below 19 percent by volume.

5.4.3 Emergency showers and eyewash fountains - Supervisors will ensure that areas, where acid or alkaline gases are used, are equipped with an emergency shower and eyewash fountain.

5.4.4 Quantity on site - Because of their hazardous nature, supervisors will limit the quantity of this type of gas to the minimum requirements.

5.4.5 Ventilation - Acid and alkaline gases will only be used in well-ventilated areas.

5.5 Highly toxic gases

5.5.1 Respiratory protection equipment - Employees handling and using highly toxic gases will have gas masks or self-contained breathing apparatus (SCBA) immediately available for use.  SCBA must be used when the concentration of the gas could be higher than the mask canister rating, and/or where the oxygen content of the atmosphere could be below 19 percent by volume.

5.5.2 Storage locations - Storage of highly toxic gases will be:

5.5.2.1 Outdoors, or in a separate noncombustible building without other occupancy, or in a separate room without other occupancy.

5.5.2.2 Of noncombustible construction with a fire-resistance rating of at least one hour.

5.5.2.3 Well-ventilated to preclude the development of hazardous concentrations.

5.5.2.4 Protected against tampering

5.5.3 Ventilation - Highly toxic gases will be used only in forced-ventilated areas (gas cabinets or some other specially designed containment system) or in hoods with forced ventilation, or outdoors.  A hazard analysis will be conducted on equipment that emits high concentrations.  The gas will be discharged into appropriate scrubbing equipment which will remove or neutralize the toxic effects before entering the effluent gas stream.

5.5.4 Toxicity - Supervisors will ensure the following.  Before using a highly toxic gas, employees must read and understand all warning labels and Safety Data Sheet (SDS) information.  All employees working in the immediate area where these gases are handled will be instructed as to the toxicity of the gases and methods of protection against harmful exposure.  Employees will not be exposed to concentrations greater than those determined to be safe levels by OSHA 29 CFR 1910.1000 and the threshold limit values guidance by the ACGIH.

5.5.5 Quantity on site - Because of their hazardous nature, supervisors will limit the quantity of this type of gas to the minimum requirements.

5.6 Cryogenic liquefied gases - Cryogenic liquids are gases that are handled in liquid form at relatively low pressure and extremely low temperatures, usually below -238 degrees F.  Because of their low temperature, cryogenic liquids are handled in multi-wall, vacuum-insulated containers, tank trucks, tank cars, and storage tanks to minimize evaporation and venting of the gas.  Some cryogenic liquids in small quantities are also handled in open, low-pressure thermos type containers in laboratory work.

5.6.1 Personal Protective Equipment.  Cryogenic liquids and cold gases can cause frostbite injury upon contact with the body.  When handling cryogenic liquids supervisors will ensure that employees use suitable eye protection, such as a face shield, safety glasses, or safety goggles, hand protection, such as insulated loose-fitting gloves, and proper clothing to prevent other bodily exposure.

5.6.2 Ventilation - Cryogenic liquid containers will only be stored and handled in well-ventilated areas to prevent excessive concentrations of the gas.  Containers are equipped with pressure relief devices that permit the venting of gas intentionally.

5.6.3 Container Handling - Cryogenic liquid containers will be handled and stored in an upright position.  The containers must not be dropped, tipped over, or rolled on their sides.  A four-wheeled handling truck will be used to move cryogenic liquid containers over 20 gallons capacity.

5.6.4 Containers - Containers designed for specific gas storage will not be used for any other type of gas.

5.6.5 Pressure relief devices - Containers entering this facility will be provided with DOT-approved devices to prevent excessive buildup of pressure from warming gas.  Where cryogenic liquids or cold gas may be trapped between valves, piping will be equipped with appropriate pressure relief devices.

5.6.6 Transfer of cryogenic liquids - Only transfer lines designed for cryogenic liquids will be used.  Transfer of cryogenic liquids will be performed slowly enough to minimize excess evaporation and stress due to rapid cooling and contraction of warm containers and equipment.

5.6.7 Liquid oxygen - Liquid oxygen containers, piping, and equipment will be kept clean and free of grease, oil, and organic materials.  Ignition sources, flammable materials, organic greases, and oils are not permitted in areas where liquid oxygen is stored or transferred.

5.6.8 Liquid hydrogen - Ignition sources are not permitted in areas where liquid hydrogen is stored or transferred.  Liquid hydrogen must be stored and transferred under positive pressure to prevent the infiltration and solidification of air or other gases.

5.6.9 Liquid helium and liquid neon - Liquid helium and liquid neon must be stored and transferred under positive pressure to prevent the infiltration and solidification of air or other gases.

5.6.10 Liquefied natural gas - Ignitions sources are not permitted in areas where liquefied natural gas is stored or transferred.  Liquefied natural gas must be stored and transferred under positive pressure to prevent the infiltration of air or other gases.

5.6.11 Liquified Inert gases - In areas where liquified inert gases are used or stored, an oxygen detection system must be used a warning in the event the oxygen in the room is displaced by the inert gas.  Displacement of oxygen by the inert gas can create an oxygen-deficient atmosphere, with oxygen content below 19 percent by volume.  This situation can result in death by asphyxiation.

6. Visual inspection of compressed gas cylinders

Employees of UHCL will use the following for the general inspection of compressed gas cylinders.  Our supplier is responsible for the initial inspection of the cylinders used by UHCL in accordance with CGA and NFPA guidelines.  Only the following inspection criteria will be followed by employees of UHCL:

General Visual Inspection Criteria For Compressed Gas Cylinders

Inspect for:					Possible result:

- Dents						Weakening of cylinder wall

- Cuts, gouges or digs				Decrease in wall thickness

- Corrosion					Decrease in wall thickness

- Pitting					Decrease in wall thickness

- Crevice corrosion				Weakening of cylinder wall

- Bulges					Weakening of cylinder wall

- Neck defects					Leak or cylinder explosion

- ARC/Torch burns				Weakening of cylinder wall

- Valve ease-of-movement			Corrosion leading to leak

- Valve thread serviceability			Leak during operation

- Leakage at valve neck			Leak during storage

- Leakage at rupture disk			Leak during storage/catastrophic disk failure

6.1 Suspect cylinders - Cylinders that are suspected to be deficient in any manner will be removed from service.  The supplier will then be notified, and a supplier representative will be asked to inspect the cylinder.  UHCL employees discovering a cylinder suspected to be deficient in any manner should notify EHS immediately (281-283-2106).

7. General safety rules for use of compressed gas

7.1 Pre-operation safety rules

- Read the Safety Data Sheet before use.

- Inspect cylinder for damage before use.

- Inspect cylinder for leaks before use.

- Ensure "In use" label is present.

- Ensure all labels/warnings are readable.

- Place upright on stable dry surface.

- Ensure cylinder is restrained above mid-point.

- Keep heat, flame, and electrical sources from gas.

- Operate in accordance with established procedures.

7.2 Post-operation safety rules

- Ensure "empty" or like label is present.

- Remove from operation using established procedures.

- Close valve completely and cap cylinder.

- Transport cylinder using hand truck.

7.3 Full cylinder storage rules

- Read the Safety Data Sheet before use.

- Do not smoke.

- Mark cylinder with date of storage.

- Ensure stock is properly rotated.

- Use oldest stock first.

- Inspect cylinder for damage before storage.

- Inspect cylinder for leaks before storage.

- Store with like kind of gas.

- Ensure all labels are readable.

- Ensure valve assembly is tightly capped.

- Ensure cylinder is restrained above midpoint.

- Store upright on stable dry surface.

- Keep electrical devices away from gas.

- Keep combustible materials away from gas.

- Keep heat and flame away from gas.

7.4 Empty cylinder storage rules

- Read the Safety Data Sheet before use.

- Do not smoke.

- Label cylinder "empty" before storage.

- Ensure valve assembly closed tightly.

- Ensure valve assembly capped tightly.

- Inspect cylinder for damage before storage.

- Store with like kind of gas cylinders.

- Ensure all labels are readable.

- Ensure cylinder is restrained above midpoint.

- Store upright on stable dry surface.

- Keep electrical devices away from gas.

- Keep combustible materials away from gas.

- Keep heat and flame away from gas.

8. Compressed gas storage locations (use this or chemical inventory template)

Location	Type Gas	Average Quantity Stored	Last Hazard Eval.

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

_________	_________	____________________	___________________

# APPENDIX 8 NANOPARTICLES SAFETY GUIDE

I. Purpose

This document provides health and safety guidance to faculty, staff, students, and visitors working with nanotechnology at The University of Houston – Clear Lake.  The purpose of the Nanomaterials Safety Program is to provide a framework for anticipating, recognizing, evaluating, and controlling the potential hazards associated with nanotechnology; however, the Program is not intended to provide stand-alone guidance and should be used in conjunction with the UHCL Chemical Hygiene Plan and consultation with the Department of Environmental Health and Safety.  All work involving nanotechnology requires approval from the Research Safety Committee before it is initiated.  In addition, each principal investigator is responsible for ensuring that laboratory-specific safety plans and standard operating procedures are developed for each laboratory where nanomaterials are used and stored.

II. Introduction

Nanotechnology involves manipulating matter at the nanometer scale to produce new materials, structures, and devices.  Nano-objects are materials that have at least one dimension (e.g., length, width, height, and/or diameter) that is between 1 and 100 nanometers. (CDC/NIOSH, 2009) A nanometer, or nm, is 1 x 10-9 meters or one-millionth of a millimeter.  The term nanoparticles typically refers to materials in which all three dimensions are in the nanoscale.  In this document, the term nanoparticles or nanomaterials will refer to purposefully created, engineered particles with at least one dimension between 1 and 100 nanometers. (CDC/NIOSH, 2009)  Nanoparticles may be dry particles, suspended in a gas (as a nanoaerosol), suspended in a liquid (as a nanocolloid or nanohydrosol), or embedded in a matrix (as a nanocomposite).  Nanoparticles also exist in several structures, such as nanotubes, nanoplates, and nanofibers. (CDC/NIOSH, 2009)

The term ultrafine particle has traditionally been used to describe airborne particles smaller than 100 nm in diameter, byproducts of industry or nature.  Ultra-fine particles are generated by processes such as combustion and vaporization. The particles are produced in large quantities from industrial activities such as thermal spraying and welding and from domestic combustion activities like gas cooking. Ultra-fine particles are also found in the atmosphere, where they originate from combustion sources like forest fires and volcanic activity, and atmospheric gas-to-particle conversion processes, such as photochemically driven nucleation. (CDC/NIOSH, 2009)

Research with nanomaterials has shown that the physicochemical characteristics of particles can influence their effects in biological systems. Some of these characteristics include:

| - Charge - Chemical reactivity - Degree of agglomeration - Shape | - Size - Solubility - Surface area - Surface composition |
| --- | --- |

There are many unknowns as to whether the unique properties of engineered nanomaterials pose health concerns. The potential health risk following exposure to a substance is generally associated with the following (CDC/NIOSH, 2009):

- Magnitude and duration of the exposure.

- Persistence of the material in the body.

- Inherent toxicity of the material; and

- Susceptibility or health status of the person.

Unfortunately, there is limited data on the health risks associated with nanomaterials.  This document provides recommendations for prudent health and safety measures when working with nanomaterials. As knowledge of nanoparticles evolves, a conservative approach should be taken to protect employees against inhaling nanoparticles. All current safety recommendations provided by industry and ACGIH should be adopted.

III. Regulations

Currently, there are no federal regulations that specifically address the health and safety implications of nanotechnology. There are also no national or international consensus standards on measurement techniques for nanomaterials in the workplace. However, as with conventional chemicals, research on nanomaterials must be conducted safely and responsibly. All chemicals, including nanomaterials, must be transported, stored, used, and disposed of in accordance with all federal, state, and local requirements.

The Occupational Safety and Health Administration (OSHA) requires employers to maintain a safe and healthful workplace, “free from recognized hazards likely to cause death or serious physical harm.” (29 USC 654) According to OSHA, laboratory personnel must be informed of the risks associated with workplace hazards. This is generally accomplished through training programs, Safety Data Sheets, and labeling and signage.

The Resource Conservation and Recovery Act of 1976 (RCRA) regulates the transportation, treatment, disposal, and cleanup of hazardous waste.  Nanomaterials that meet the definition of a “hazardous waste” in RCRA are subject to this rule.

Nanomaterials that are defined as “chemical substances” under the Toxic Substances Control Act (TSCA) (40 CFR Parts 700 – 799) and which are not on the TSCA Inventory must be reported to U.S. Environmental Protection Agency (EPA). A Pre-manufacture Notice must be submitted to the EPA by anyone intending to manufacture or import a chemical substance that is not on the TSCA Inventory of Chemical Substances.

The Federal Insecticide, Fungicide, and Rodenticide Act requires that the EPA approve all new pesticide products, as well as new uses and changes in the composition of existing pesticide products, before the products may be sold or distributed in commerce. To evaluate an application for registration, the EPA requires the applicant to provide a complete characterization of the product's composition, a proposed labeling statement describing the product's intended use, and results of extensive health and safety testing.

It should also be noted that the U.S. Food and Drug Administration currently regulates a wide range of products, including those that use nanotechnology or contain nanomaterials (e.g., drug delivery devices).

IV. Glossary

Agglomerate – A group of particles held together by relatively weak forces, including van der Waals forces, electrostatic forces, and surface tension.

Aggregate – A heterogeneous particle in which the various components are held together by relatively strong forces, and thus not easily broken apart.

Buckyballs - Spherical fullerenes composed entirely of carbon (C60).

Fullerenes - Molecules composed entirely of carbon, usually in the form of a hollow sphere, ellipsoid, or tube.

Graphene - A one-atom-thick sheet of graphite.

Nanoscience – The study of phenomena and manipulation of materials at atomic, molecular and micromolecular scales, where properties differ significantly from those at a larger scale.

Nanoaerosol – A collection of nanomaterials suspended in a gas.

Nanocolloid – A nanomaterial suspended in a gel or other semi-solid substance.

Nanocomposite – A solid material composed of two or more nanomaterials having different physical characteristics.

Nanoparticle – A substance with dimensions less than 100 nanometers in size.

Nanohydrosol – A nanomaterial suspended in a solution.

Nanotechnology – The understanding and control of matter at dimensions of roughly 1 to 100 nanometers, where unique phenomena enable novel applications.

Nanotubes - A sheet of graphene rolled up into a seamless cylinder with diameter on the order of a nanometer.

Nanowires - A wire of dimensions on the order of a nanometer.

Nucleation - The first step in the process by which gases are converted to small liquid droplets.

Physiochemical – The underlying molecular organization of life that is manifested as chemical and energy transformations.

Pyrolysis - Chemical change brought about by the action of heat.

Quantum Dots – A nanomaterial that confines the motion of conduction band electrons, valence band holes, or excitons (pairs of conduction band electrons and valence band holes) in all three spatial directions.

Single-Walled Carbon Nanotube – A single sheet of graphene wrapped into a tube approximately 1.5 nanometers in diameter.

Thermites – A mixture of aluminum powder and a metal oxide (such as iron oxide) that, when ignited, evolves a great deal of heat and is used in welding and in incendiary bombs.

Translocation – The act, process, or instance of changing location or position.

Transmission Electron Microscopy (TEM) – A microscopy technique whereby a beam of electrons is transmitted through an ultra-thin specimen, interacting with the specimen as it passes through, and produces an image formed from the interaction of the electrons transmitted through the specimen, which is then magnified and focused onto an imaging device.

Ultra-Fine Particles - Airborne particles with an aerodynamic diameter of 0.1 m (100 nm) or less.

IV. Hazard Assessments

Before beginning work with nanomaterials, a Project Hazard Assessment should be conducted, and approval must be submitted to the Research Safety Committee. The purpose of the assessment will be to identify appropriate work procedures, controls, and personal protective equipment to ensure worker safety. The assessment will evaluate several factors, including but not limited to the physical and chemical properties of the nanomaterial, the process by which the material will be generated and/or used, and existing engineering controls (e.g., fume hood, glove box). In some instances, occupational exposure measurements (e.g., sampling) may be taken to determine hazard level. This will help identify potential hazards or specific processes or equipment that require additional engineering controls.

V. Exposure Routes

The most common route of exposure to nanomaterials is inhalation (see Table 1).  The deposition of discrete nanomaterials in the respiratory tract is determined by the particle’s aerodynamic or thermodynamic diameter. Particles that are capable of being deposited in the gas exchange region of the lungs are considered respirable particles. Discrete nanomaterials are deposited in the lungs to a greater extent than larger respirable particles. Deposition increases with exertion (due to increased breathing rate and a shift from nasal to mouth breathing). It also increases among persons with existing lung diseases or conditions.  Based on animal studies, discrete nanomaterials may enter the bloodstream from the lungs and translocate to other organs.

Ingestion is another route whereby nanomaterials may enter the body. Ingestion can occur from unintentional hand-to-mouth transfer of materials. This can occur with traditional materials, and it is scientifically reasonable to assume it could happen during the handling of nanomaterial-containing materials. Ingestion may also accompany inhalation exposure, as particles cleared from the respiratory tract by the mucociliary escalator may be swallowed.  A few studies suggest that nanomaterials may enter the body through the skin during exposure. At this time, it is not known whether skin penetration of nanomaterials results in adverse health effects. There is also little information about the health effects of injecting nanomaterials into living organisms.

| Potential Sources of Occupational Exposure to Nanomaterials for Various Synthesis Methods |  |  |  |
| --- | --- | --- | --- |
| Process Synthesis | Particle Formation | Exposure Source or Worker Activity | Primary Exposure Route** |
| Gas Phase | In Air | Direct leakage from the reactor, especially if the reactor is operated at positive pressure | Inhalation |
|  |  | Product recovery from bag filters in reactors. | Inhalation/Dermal |
|  |  | Processing and packaging of dry powder. | Inhalation/Dermal |
|  |  | Equipment cleaning/maintenance (including reactor evacuation and spent filters). | Dermal (and inhalation during reactor evacuation) |
| Vapor Deposition | On Substrate | Product recovery from reactor/dry contamination of the workplace. | Inhalation |
|  |  | Processing and packaging of dry powder. | Inhalation/Dermal |
|  |  | Equipment cleaning/maintenance (including reactor evacuation). | Dermal (and inhalation during reactor evacuation) |
| Colloidal | Liquid Suspension | If liquid suspension is processed into a powder, potential exposure during spray drying to create a powder, and the processing and packaging of the dry powder. | Inhalation/Dermal |
|  |  | Equipment cleaning/maintenance. | Dermal |
| Attrition | Liquid Suspension | If liquid suspension is processed into a powder, potential exposure during spray drying to create a powder, and the processing and packaging of the dry powder. | Dermal |
|  |  | Equipment cleaning/maintenance. | Dermal |
| ** Note: Ingestion would be a secondary route of exposure from all sources/activities from deposition of nanomaterials on food or subsequently swallowed (primary exposure route inhalation) and from hand-to-mouth contact (primary exposure route dermal). |  |  |  |

Table 1 – Sources of Exposure to Nanomaterials through Occupational Activities (Aiken et al. 2004)

VI. Factors Affecting Exposure

Every attempt should be made to prevent or minimize exposure to nanomaterials. Factors affecting exposure to nanomaterials include the amount of material being used and whether it can be easily dispersed or form airborne sprays or droplets. The degree of containment and duration of use will also influence exposure. For airborne material, particle or droplet size determines whether it can enter the respiratory tract and where it is most likely to deposit. Inhaled particles smaller than 10 micrometers in diameter have some probability of penetrating and being deposited in the gas-exchange (i.e., alveolar) region of the lungs, but there is at least a 50% probability that particles smaller than 4 micrometers in diameter will reach the gas-exchange region.

At present, there is insufficient information to predict all the situations and workplace scenarios that are likely to lead to exposure to nanomaterials. However, some workplace factors will increase the potential for exposure, including (CDC/NIOSH, 2009):

- Working with nanomaterials in liquid media without adequate protection (e.g. gloves) will increase the risk of skin exposure.

- Working with nanomaterials in liquid media during pouring or mixing operations, or where a high degree of agitation is involved, will lead to an increased likelihood of inhalable and respirable droplets being formed.

- Generating nanomaterials in the gas phase in non-enclosed systems will increase the chances of aerosol release to the workplace.

- Handling nano-powders will lead to the possibility of aerosolization.

- Maintenance on equipment and processes used to produce or fabricate nanomaterials will pose a potential exposure risk to workers performing these tasks.

- Cleaning of dust collection systems used to capture nanomaterials will pose potential for both skin and inhalation exposure.

VII. Engineering Controls

To provide a safe work environment for faculty, staff, students, and visitors, engineering controls must be maintained wherever nanomaterials are used or stored. At a minimum, engineering controls should include local exhaust ventilation, localized filtration, and personal protective equipment. Glove boxes are now the recommended method for handling carbon nanotubes, as exposure to nanotubes can mimic asbestos-related symptoms. Respiratory protection is required when working with nanomaterials when local exhaust ventilation and filtration is not available.

The following engineering controls should be used in conjunction with the policy when handling nanomaterials:

- Use of a glovebox is the primary recommendation for handling loose nanomaterials and materials that aerosolize.

- A chemical fume hood is secondary recommended for all tasks with the potential of aerosolizing nanomaterials in either liquid or powder form.

- A well-designed local exhaust ventilation system with a local high-efficiency particulate air (HEPA) filter shall be used to effectively remove nanomaterials.

- If heavy usage of aerosolized nanoparticles is in use, a proper decontamination or buffer area shall be utilized to ensure the nanomaterials are not transported outside of the working area.

- Frequent hand washing, especially before eating, smoking, applying cosmetics, or leaving the work area, shall be employed.

- Laboratories and other spaces where nanomaterials are used or stored must be equipped with an eyewash station that meets American National Standards Institute (ANSI) and Occupational Safety and Health Administration (OSHA) requirements.

VIII. Administrative Controls

Although traditional permissible exposure limits (PEL) exist for many of the substances that nanomaterials are made from, the PEL for a nanomaterial of these substances is not yet clear. Thus, it is important to incorporate the following administrative controls into all laboratory operations:

- The laboratory’s safety plan shall be modified to include health and safety considerations of nanomaterials used in the laboratory.

- Principal investigators shall develop and implement standard operating procedures (SOPs) in the preparation and administration of nanomaterials (with minimal exposure).

- Laboratory personnel must receive the appropriate training, including specific nanomaterial-related health and safety risks, standard operating procedures, and steps to be taken in the event of an exposure incident, before working with nanomaterials.

- Laboratory personnel must be instructed to use extreme caution when performing injections involving nanomaterials since accidental needle stick presents an exposure threat.

- Exposures involving nanomaterials or any other acutely hazardous material must be reported to EHS as soon as possible.

IX. Work Practices

The incorporation of good work practices can help to minimize exposure to nanomaterials.  Examples of good work practice include the following (CDC/NIOSH, 2009):

- Projects or applications with the potential for producing nanomaterial aerosols must be conducted within an approved glove box, chemical fume hood, or ducted biological safety cabinet.

- Needles used for nanomaterial injection must be disposed of in an approved sharps container immediately following use. Needles used for nanomaterial injection should never be bent, sheared, or recapped.

- Bench paper utilized during the preparation of nanomaterial stock should be lined with an impervious backing to limit the potential for contamination of work surfaces in the event of a minor spill.

- Work areas should be cleaned at the end of each work shift (at a minimum) using either a HEPA-filtered vacuum cleaner or wet wiping methods. Dry sweeping or pressurized air should not be used to clean work areas. Benchtops, chemical fume hood interiors, biological safety cabinet interiors, equipment, and laboratory surfaces with potential for nanomaterial contamination should be routinely cleaned. Cleanup should be conducted in a manner that prevents workers’ contact with waste. The disposal of all waste materials should comply with all applicable federal, state, and local regulations.

- The storage and consumption of food or beverages in workplaces must be prevented where nanomaterials are handled, processed, or stored, since exposure may occur via ingestion. Wash your hands carefully before eating, drinking, applying cosmetics, smoking, or using the restroom.

- Facilities for showering and changing clothes should be provided to prevent the inadvertent contamination of other areas (including take-home) caused by the transfer of nanomaterials on clothing and skin.

X. Personal Protective Equipment

Typical chemistry laboratory apparel should be worn when working with nanomaterials in accordance with the Chemical Hygiene Plan.  Always wear appropriate clothing (e.g., pants, shirts, shoes) and personal protective equipment, including safety glasses, laboratory coats, and gloves, when working with nanomaterials. Open sandals, shorts, and skirts are prohibited. Laboratory personnel involved in any task with a potential for nanomaterials must wear the following personal protective equipment:

- Protective gloves: Glove selection is best determined by a risk assessment and the chemicals used for the procedure. Nitrile or rubber gloves, which cover hands and wrists completely through overlapping sleeves of lab coats, may provide adequate protection when working with nanomaterials. Wearing two sets of gloves (“double gloving”) is advised whenever performing tasks involving nanomaterials and other hazardous substances. Laboratory personnel should thoroughly wash their hands with soap and water before and immediately after removing gloves.

- Eye protection: Safety glasses or goggles are the appropriate level of eye protection for working with nanomaterials. EHS recommends wearing a full-face shield when conducting tasks that have the potential to generate aerosol and/or droplets.

- Protective clothing: Laboratory coats or disposable gowns that fully cover the skin must be worn when working with nanomaterials. Clothing contaminated with nanomaterials should be removed immediately. Do not take contaminated work clothes home – contaminated clothing may require disposal as hazardous waste.

- Respiratory protection: If engineering controls are not adequate or are not available, and a potential aerosol exposure exists, respiratory protection is required.  When working with nanomaterials, one of the following types of respirators must be worn:

- Filtering face piece (N-95 or greater)

- Elastomeric half- or full-face piece with N-100, R-100, or P-100 filters; or

- Powered air-purifying respirator with N-100, R-100, or P-100 filters.

Anyone required to use respiratory protection for nanoparticle research must contact EHS at 281-281-2106 to be included in the UHCL Respiratory Protection Plan.

XI. Spill Cleanup

Anyone attempting to manage a spill involving hazardous agents must wear appropriate personal protective equipment. OSHA typically recommends standard approaches to cleaning nanomaterial powder and liquid spills, including using HEPA-filtered vacuum cleaners, wetting powders down, using dampened cloths to wipe up powders, and applying absorbent materials or liquid traps. (CDC/NIOSH, 2009)  Energetic cleaning methods, such as dry sweeping or compressed air, should be avoided or used with precautions to ensure that particles suspended by the cleaning action are trapped by HEPA filters. If vacuum cleaning is employed, care should be taken to ensure HEPA filters are installed properly and that bags and filters are changed according to the manufacturer’s recommendations. At a minimum, the following procedures must be followed when managing an accidental spill of nanomaterials (CDC/NIOSH, 2009):

- Small spills (typically involving less than 5 mg of material) of nanomaterials containing powder should be wet wiped with a cloth/gauze that is dampened with soapy water. Affected surfaces should be thoroughly wet-wiped three times with an appropriate cleaning agent, using a clean, damp cloth for each wipe-down. Upon completion, all cloth and other spill-cleanup materials that may contain nanomaterials must be disposed of as hazardous waste.

- Small spills (typically involving less than 5 ml of material) of nanomaterial-containing solutions should be covered and absorbed with absorbent material. Areas affected by liquid spills should be triple cleaned with soap and water after absorbent paper is removed.

- For larger spills of nanomaterials, contact the Office of Environmental Health and Safety at 281-281-2106.  EHS may be reached after hours by contacting the Police Department at x.2222 (281)283-2222.

As with any spill or cleanup of contaminated surfaces, the handling and disposal of waste material should follow existing Federal, State, or local regulations.

XII. Waste Disposal and Nanotechnology Development

Many nanoscale materials are regarded as "chemical substances" under the Toxic Substances Control Act (TSCA). Specifically, chemical substances with nanoscale dimensions -- approximately 1-100 nanometers (nm) -- are commonly referred to as nanoscale materials or nanoscale substances.

Nanomaterials are considered potentially hazardous materials. Surplus stock and other waste materials containing contamination above trace levels must be disposed of through the UHCL EHS Department. In addition, all contaminated sharps waste materials must be placed in proper sharps containers and disposed of as biohazardous waste.

As part of the Agency's effort to ensure a more comprehensive understanding of nanoscale materials in commerce, EPA issued a final regulation requiring one-time reporting and recordkeeping of existing exposure and health and safety information on nanoscale chemical substances in commerce pursuant to its authority under TSCA section 8(a). This rule requires companies that manufacture (including import) or process certain chemical substances already in commerce as nanoscale materials notify EPA of certain information, including specific chemical identity; production volume; methods of manufacture; processing, use, exposure, and release information; and

available health and safety data.

XIV. References

Aitken, R.J., Creely, K.S., Tran, C.L. Nanoparticles: An Occupational Hygiene Review. Research Report 274.  Prepared by the Institute of Occupational Medicine for the Health and Safety Executive, North Riccarton, Edinburgh, England. 2004.

Approaches to Safe Nanotechnology.  Department of Health and Human Services, Center for Disease Control, National Institute for Occupational Safety and Health.  2009.

Nanotechnology and Nanoparticles – Safe Working Practices Information. Virginia Commonwealth University. Office of Environmental Health and Safety. 2007

Occupational Safety and Health Act of 1970 (29 U.S.C. 654).  Section 5(a) (1).

# APPENDIX 9: METHYLENE CHLORIDE RESTRICTION AND REQUIREMENTS

Dichloromethane Workplace Chemical Protection Program (WCPP)

Contents

Introduction	2

Hazards of Dichloromethane…………………………………………………………………………….2

Purpose	2

Definitions, Roles and Responsibilities	3

Exposure Limits Option 1 - All exposure limit exceedances are Prohibited, shut down	4

Exposure Monitoring	4

Regulated Areas	7

Exposure Limits Option 2 - Supplied Air Respirators (tanks worn) for Exceedance areas	8

Exposure Monitoring	8

Regulated Areas	11

Exposure Control Plan (ECP)	12

Elimination	12

Centralized ECP for Laboratory Use	12

Substitution	12

Engineering Controls	13

Administrative Controls, Labeling	13

Personal Protective Equipment (PPE)	14

Lab-Specific ECP Template	14

Substitution	14

Engineering Controls	15

Administrative Controls	15

Personal Protective Equipment (PPE)	16

waste and Information	16

Recordkeeping	17

Costs for Compliance	19

References	19

# Introduction

In April 2024, the Environmental Protection Agency (EPA), under the Toxic Substances Control Act (TSCA), issued a final rule regulating methylene chloride, also known as dichloromethane (DCM), effectively banning most uses of DCM (at 0.1% or more).

The EPA has determined that methylene chloride (DCM) poses an unreasonable risk of injury to health because cumulative exposures from inhalation or dermal exposures can cause cancer or damage to the liver and kidneys, with Acute exposures to high concentrations of DCM in poorly ventilated spaces causing neurotoxicity effects such as central nervous system harm, up to and including unconsciousness and death through respiratory paralysis.

While the Occupational Safety and Health Administration (OSHA) has a Methylene Chloride Standard (29 CFR 1910.1052) with different exposure limits, and performance-oriented standard for Occupational Exposure to Hazardous Chemicals in Laboratories (29 CFR 1910.1450), EPA and OSHA coordinated this new EPA TSCA rule to address protections against Methylene Chloride occupational risks.

## Hazards of Dichloromethane

Cumulative exposures to DCM can cause cancer and damage to the liver and kidneys. Acute exposures to high concentrations of DCM vapor in poorly ventilated spaces has caused central nervous system harm, up to and including unconsciousness and death through respiratory paralysis. Direct exposure to skin and eyes can cause irritation.

# Purpose

The purpose of the Dichloromethane Workplace Chemical Protection Program (WCPP) is to prevent students, employees and contractors of UHCL from being occupationally exposed to dichloromethane (DCM).  All commercial and industrial uses, such as use as a solvent or paint remover, are prohibited.

However, there are a few exceptions under which EPA allows DCM to be used, under tight regulatory restrictions.  These include use as a laboratory chemical or a bonding agent for solvent welding (by application, setup, and approval).

2

A Workplace Chemical Protection Program (WCPP) is required for entities that continue using DCM (all products and mixtures containing 0.1% or more) under the remaining restricted uses.  The University of Houston-Clear Lake has outlined and implemented the following requirements to satisfy this DCM obligation.

# Definitions, Roles and Responsibilities

- As needed monitoring - Exposure monitoring taken when there is a change of use.

- De minimis - The threshold concentration for which regulatory restrictions are not required, which is below 0.01% concentration by weight of DCM.

- Exposure Control Plan (ECP) - This documents actions taken to mitigate occupational exposures and comply with the WCPP at the lab, department, or institutional level.

- Exposure Limit - The EPA has established exposure limits for remaining DCM restricted uses, including “use as a laboratory chemical”:

  - Action Level, 8-hour Time Weighted Average (TWA) = 1 ppm

  - Existing Chemical Exposure Limit (ECEL) = 2 ppm for 8-hour Time Weighted Average

  - EPA Short Term Exposure Limit (STEL) = 16 ppm for 15-minutes TWA.

- Methylene Chloride – also called dichloromethane or DCM (CAS# 75-09-2), is a colorless liquid and volatile chemical with a sweet odor.  It was used as a solvent in a variety of consumer and commercial applications, including adhesives and sealants, automotive products, and paint and coating removers.

  - DCM is now banned by EPA TSCA regulation for most uses, with only limited, restricted uses in laboratories and solvent welding allowed under the new rule—

  - Use of DCM  incurs extensive and costly requirements, including increased equipment, training, exposure monitoring, and service costs, which would fall on users.

  - Exposure Limits (EPA) are very low, and filtering respirators are not able to be used to control exposure--only supplied air or SCBA tanks may be used.

- Owners / operators - Anyone who owns, leases, operates, controls, or supervises a workplace. This includes the University of Houston-Clear Lake and each PI, instructor, or supervisor who oversees a location where DCM is used or a person who uses DCM.

  - UHCL is responsible for writing and updating this Program.

  - PIs, instructors, and supervisors are responsible for implementing this Program and for approving and enforcing any Exposure Control Plans applicable to their work area.

- Periodic monitoring - Dependent upon results of the initial and/or repeat monitoring; the frequency for gathering new monitoring data ranges from 3 months to 5 years.

3

Potentially exposed person - Any person who may be exposed to a chemical or mixture in a workplace due to the presence and use in the workplace. This applies regardless of whether a person is a user of the chemical or in the vicinity of the chemical. Potentially exposed persons are responsible for complying with the provisions of this Program.

- Prohibited uses – Nearly all commercial and industrial uses, such as use as a solvent or paint remover, are prohibited. EPA has a full list of prohibited uses in its Guide to Complying with the 2024 Methylene Chloride Regulation.  Only limited conditions of use are allowed (i.e., use as a laboratory chemical or bonding agent for solvent welding, or disposal).

- Regulated area - An area of DCM use where airborne concentrations exceed, or there is a reasonable possibility they may exceed, the Existing Chemical Exposure Limit (ECEL) of 2 ppm or EPA Short Term Exposure Limit (STEL) of 16 ppm.

- Retailer - An entity that distributes or makes available products to consumers.

- Time-Weighted Average (TWA) - The potentially-exposed person's average airborne exposure in any 8-hour work shift of a 40-hour work week (8-hour TWA), or in any 15-minute reference period covering a specific task where airborne concentrations may instantaneously exceed the full-shift exposure limit (15-minute TWA).

- Workplace Chemical Protection Program (WCPP) - A written program required in order to continue use of methylene chloride, to protect potentially exposed persons in the workplace, under one of the allowed conditions of use (i.e., use as a laboratory chemical or bonding agent for solvent welding, or disposal).  All other commercial and industrial uses are prohibited.  The WCPP requires owners and operators of facilities using methylene chloride to take appropriate measures to meet new inhalation exposure limits (including 2 ppm as an 8-hour time weighted average, 1 ppm as action level) and develop and implement an exposure control plan, among other requirements.

# Exposure Limits – Option 1 – All exposure limit exceedances are Prohibited, activities shut down

Under this program, long-term exposures to DCM will be kept below 2 ppm (8-hour TWA), and short-term exposures will be kept below 16 ppm (15-minute TWA).

Additional monitoring will be implemented whenever long-term exposures exceed 1 ppm.

All exposure limits are prohibited. All activities and tasks resulting in the exceedance of exposure limits will be shut down. Alternative 2 is to use supplied-air respirators with tanks in regulated areas for activities that exceed exposure limits.

4

Any deviation from these limits must be approved by EHS and/or the Chemical / Research Safety Committee and will be documented in a written Exposure Control Plan (ECP). This documentation will include a DCM respiratory protection program to be implemented in work areas receiving a variance.

## Exposure Monitoring

Monitoring Requirements

Initial monitoring for DCM is required to establish a baseline for DCM users, and as a foundation for the development of the Exposure Control Plan (ECP).  Initial monitoring shall be conducted by May 5, 2025, or within 30 days after introduction of DCM into the workplace.  Initial monitoring results will be used to determine the frequency of additional periodic monitoring and other required compliance activities.  Monitoring samples must be taken when and where operating conditions are most representative of each potentially exposed person’s highest-likely exposures during both the 15-minute highest-exposure period and the full 8-hour shift.

Exemptions to Initial Monitoring

Two conditions can exempt an employer from conducting initial monitoring for DCM.

- If objective data generated during the last 5 years demonstrates DCM is not released in the workplace environment at or above the ECEL action level and EPA STEL and with initial monitoring conducted within 5 years of that data.

- If exposure to DCM is less than 30 days per year with two conditions:

  - Direct reading measurements must be taken in the environment to ensure levels are below the ECEL action level and EPA STEL.

  - Appropriate controls must be put in place to ensure levels are below the ECEL and EPA STEL.

Initial and Periodic Monitoring

The results of initial monitoring will determine how frequently periodic monitoring must occur. Periodic monitoring can range from every 3 months, every 6 months or every 5 years depending on the following conditions:

5

Determine periodic monitoring frequency based on initial monitoring results:

| DCM Concentration (exposure monitoring results) |  |  |  | Re-monitoring Frequency |  |
| --- | --- | --- | --- | --- | --- |
| 8-hr TWA (ECEL) |  | 15-min TWA (STEL) |  |  |
| < 1 ppm | and | ≤ 16 ppm | ECEL and EPA STEL periodic monitoring at least once every 5 years |  |
| < 1 ppm | or | > 16 ppm | ECEL monitoring at least once every 5 years AND EPA STEL periodic monitoring required every 3 months |  |
| > 1 ppm & ≤ 2 ppm | or | < 16 ppm | ECEL monitoring every 6 months |  |
| > 1 ppm & ≤ 2 ppm | or | > 16 ppm | ECEL periodic monitoring every 6 months AND immediate suspension of tasks causing the 15-min TWA to exceed 16 ppm in the monitored lab |  |
| > 2 ppm | or | > or ≤ 16 ppm | Immediate suspension of use of DCM in the monitored lab |  |

Changes in Conditions - The frequency of periodic monitoring may be reduced if:

Two consecutive samples taken at least 7 days apart show the 8-hour TWA exposure has decreased from between 1 and 2 ppm to below 1 ppm.

Lifting of a suspension of DCM use similarly requires that two consecutive samples taken at least 7 days apart show the 8-hour TWA exposure has decreased to below 2 ppm AND that the 15-minute TWA exposure has decreased to below 16 ppm.

Suspension of Periodic Monitoring - Monitoring may be suspended if work with DCM will not occur during the timeframe where monitoring would be required under this plan. In this case, the next use of DCM must be monitored. The PI, instructor, or lab supervisor who oversees the location where DCM is used is responsible for notifying EH&S in advance, and may not proceed with use of DCM until monitoring has been scheduled.

Sampling Requirements - that must be followed for every potentially exposed person:

- Sampling Requirements:

  - Sampling must be conducted for every potentially exposed person or a representative sample representing all exposed persons.

  - Sampling must be taken when and where the operating conditions are representative of full shift exposures.

  - All potentially exposed persons must be given the opportunity to observe exposure monitoring.

  - Must be taken at the personal breathing zone.

  - Notification of monitoring results to monitored person and potentially exposed persons (e.g., similar exposure group) within 15 working days after receipt of results.

- Sampling Report:

  - Provide the ECEL, action level, EPA STEL, and significance of each.

  - Provide the quantity, location, and manner of DCM use at the time of monitoring.

  - Provide monitoring results.

  - Indicate whether the concentration exceeds the ECEL, action level, and EPA STEL.

  - Provide a description of actions taken to reduce exposure to below exposure limits.

  - Provide a description of the respiratory protection measures if needed.

6

List any identified releases of DCM during monitoring.

## Regulated Areas

A regulated area must be established wherever airborne concentrations of DCM exceed, or could reasonably be expected to exceed, the 8hr ECEL of 2 ppm or 15min STEL of 16 ppm based on monitoring. Regulated areas are only allowed by variance under this Program, with additional required controls as outlined below.

Establishing Regulated Areas - Regulated areas must be established and clearly marked by signage indicating use of DCM in the area. Signage serves to alert potentially exposed persons of the boundaries of the area and minimizes the number of exposed persons.

The exact wording will be tailored for each area and may be in multiple languages as needed. An example of wording is the following.

Methylene Chloride Warning

·       Authorized Personnel Only

·       Airborne Concentrations may exceed limits:

- ECEL:   2 ppm

- STEL: 16 ppm

Avoid Exposure

·       Follow Safety Protocols

Access Control and Training

Only authorized personnel may enter a regulated area. These personnel must receive DCM-specific training, consistent with OSHA’s Methylene Chloride Standard 1910.1052(l)(1-6), including hazard communication, safe handling practices, emergency procedures, and proper use of PPE (glove and respirator selection, use) prior to entering the regulated area.

Respiratory Protection

A NIOSH Approved Supplied-Air Respirator (SAR) or Self-Contained Breathing Apparatus (SCBA) is required to enter a DCM regulated area (costly, requires physical / fit testing prior).

EHS assesses each use need, arranges fit testing for, and determines the appropriate respiratory protection type for the EPA Methylene Chloride rule as part of UHCL’s Respiratory Protection Program.

7

[Proceed to Option 2 or skip 4 pages to Exposure Control Plan.]

# Exposure Limits – Option 2 – All tasks exceeding exposure limits must use supplied air respirators with tanks worn

Under this program, long-term exposure to DCM will be kept below 2 ppm (8-hour TWA), and short-term exposure will be kept below 16 ppm (15-minute TWA) wherever possible.

Additional monitoring will be implemented whenever long-term exposures exceed 1 ppm.

Regulated Areas will be established for any work area where long-term exposures may exceed 2 ppm (8-hour TWA) or where tasks are performed that may result in short-term exposures exceeding 16 ppm (15-minute TWA).

All lab workers in those regulated areas must complete a physical and respirator fit test, purchase a half-face or full-face supplied-air respirator, and wear a supplied-air tank on the back for all activities exceeding exposure limits.

Must purchase SCBA along with DCM if ordering or using more than 1 Liter.

Alternative option 1 is to stop all activities and tasks that cause exceedance of exposure limits if supplied-air respirators with tanks are not worn in regulated areas.

## Exposure Monitoring

Monitoring Requirements

Initial monitoring for DCM is required to establish a baseline for DCM users and as a foundation for the development of the Exposure Control Plan (ECP).  Initial monitoring shall be conducted by May 5, 2025, or within 30 days of introducing DCM in the workplace.  Initial monitoring results will be used to determine the frequency of additional periodic monitoring and other required compliance activities. Monitoring samples must be taken when and where operating conditions are most representative of each potentially exposed person’s highest likely exposures during both 15-minute and full 8-hour shifts.

Exemptions to Initial Monitoring

Two conditions can exempt an employer from conducting initial monitoring for DCM.

- If objective data generated during the last 5 years demonstrates DCM is not released in the workplace environment at or above the ECEL action level and EPA STEL and with initial monitoring conducted within 5 years of that data.

8

If exposure to DCM is less than 30 days per year with two conditions:

  - Direct reading measurements must be taken in the environment to ensure levels are below the ECEL action level and EPA STEL.

  - Appropriate controls must be put in place to ensure levels are below the ECEL and EPA STEL.

Initial and Periodic Monitoring

The results of initial monitoring will determine how frequently periodic monitoring must occur. Periodic monitoring can range from every 3 months, every 6 months or every 5 years depending on the following conditions:

Determine periodic monitoring frequency based on initial monitoring results:

| DCM Concentration (exposure monitoring results) |  |  | Re-monitoring frequency |
| --- | --- | --- | --- |
| 8-hr TWA (ECEL) |  | 15-min TWA (STEL) |  |
| < 1 ppm | and | ≤ 16 ppm | ECEL and EPA STEL periodic monitoring at least once every 5 years |
| < 1 ppm | or | > 16 ppm | ECEL monitoring at least once every 5 years AND EPA STEL periodic monitoring required every 3 months |
| > 1 ppm & ≤ 2 ppm | or | < 16 ppm | ECEL monitoring every 6 months |
| > 1 ppm & ≤ 2 ppm | or | > 16 ppm | ECEL periodic monitoring every 6 months AND EPA STEL periodic monitoring every 3 months |
| > 2 ppm | or | > or ≤ 16 ppm | ECEL periodic monitoring every 3 months AND EPA STEL periodic monitoring every 3 months |

Changes in Conditions

The frequency of periodic monitoring will change depending on whether exposure conditions have changed.

9

| Criteria | Action |
| --- | --- |
| Exposure reduced to at or below ECEL (but Above Action Level). - Two consecutive samples taken at least 7 days apart show an 8-hour TWA exposure to DCM has decreased from above the ECEL to between 1 ppm and 2 ppm. | Adjust periodic monitoring frequency from every 3 months to every 6 months. |
| Exposure reduced below the ECEL Action Level. Two consecutive samples taken at least 7 days apart show DCM exposure has decreased. - 8-hour TWA: Below 1 ppm (Action Level). - 15-minute exposure: At or below 16 ppm (EPA STEL). | Adjust periodic monitoring frequency from every 6 months to every 5 years. |

Suspension of Periodic Monitoring

Monitoring may be suspended if work with DCM is suspended based on the criteria below.

| Criteria | Action |
| --- | --- |
| Conditions Requiring 3-Month Interval Monitoring Not Performed: Processes or tasks included in the finalized Workplace Chemical Protection Program (WCPP) that require 3-month interval monitoring do not occur during the required period. | Periodic monitoring may be suspended. Maintain documentation confirming that the processes or tasks were not performed. Resume monitoring when the conditions of DCM use specified in the WCPP are restarted. |
| Conditions Requiring 6-Month Interval Monitoring Not Performed: Processes or tasks specified in the finalized WCPP that necessitate 6-month interval monitoring do not occur during the required period. | Periodic monitoring may be suspended. Maintain documentation confirming that the processes or tasks were not performed. Resume monitoring when the conditions of DCM use specified in the WCPP are restarted. |

Sampling Requirements

The following sampling guidelines must be followed for every potentially exposed person.

- Sampling Requirements:

  - Sampling must be conducted for every potentially exposed person or a representative sample representing all exposed people.

  - Sampling must be taken when and where the operating conditions are representative of full shift exposures.

  - All potentially exposed people must be given the opportunity to observe exposure monitoring.

  - Samples must be taken at the personal breathing zone.

  - Notification of monitoring results to monitored person and potentially exposed persons (e.g., similar exposure group) within 15 working days after receipt of results.

10

- Sampling Report:

  - Provide the ECEL, action level, EPA STEL, and significance of each.

  - Provide the quantity, location, and manner of DCM use at the time of monitoring.

  - Provide monitoring results.

  - Indicate whether the concentration exceeds the ECEL, action level, and EPA STEL.

  - Provide a description of actions taken to reduce exposure to below exposure limits.

  - Provide a description of the respiratory protection measures if needed.

  - List any identified releases of DCM during monitoring.

## Regulated Areas

A regulated area must be established wherever airborne concentrations of DCM exceed, or could reasonably be expected to exceed, the 8hr ECEL of 2 ppm or 15min STEL of 16 ppm based on monitoring. UHCL EHS must approve the boundaries of each regulated area established under this Program.

Establishing Regulated Areas

Regulated areas must be established and clearly demarcated by signage indicating use of DCM in the area. Signage serves to alert potentially exposed persons of the boundaries of the area and minimizes the number of exposed persons.

The exact wording will be tailored for each area and may be in multiple languages as needed. An example of wording is the following.

Methylene Chloride Warning

·       Authorized Personnel Only

·       Airborne Concentrations may exceed:

o   ECEL: 2 ppm

o   STEL: 16 ppm

Avoid Exposure

·       Follow Safety Protocols

·      Specific Respiratory Protection Required When Methylene Chloride is in Use

Access Control and Training

11

Only authorized personnel may enter a regulated area. These personnel must receive DCM-specific training, consistent with OSHA’s Methylene Chloride Standard 1910.1052(l)(1-6), including hazard communication, safe handling practices, emergency procedures, and proper use of PPE (glove and respirator selection, use) prior to entering the regulated area.

Respiratory Protection

A NIOSH Approved Supplied-Air Respirator (SAR) or Self-Contained Breathing Apparatus (SCBA tank) is required to Enter a DCM regulated area.

EHS assesses each use need, arranges fit testing for, and determines the appropriate type of respiratory protection per the EPA Methylene Chloride rule.  Additional details regarding the required medical evaluation, fit testing, and training for Supplied Air Respirators and SCBA’s are included in UHCL’s Respiratory Protection Program.

# Exposure Control Plan

### Elimination

Use of DCM is allowed under this Program as a laboratory chemical and in waste operations for the disposal of materials generated from other approved uses. These uses cannot be eliminated because of DCM’s unique chemical properties, and in order to ensure results from ongoing experiments can be compared with previously-obtained experimental results. In accordance with EPA regulation, all uses not explicitly permitted under this Program shall be eliminated.

## Centralized ECP for Laboratory Use

This Exposure Control Plan (ECP) covers safety practices to be followed for use of DCM as a laboratory chemical at the University of Houston-Clear Lake.  Any deviation from this Plan requires approval in writing from UHCL EHS Research Safety Committee / EHS Committee.  The use of DCM is subject to pre-approval by the Principal Investigator (PI) and/or Supervisor responsible for the laboratory in which it will be used.  DO NOT USE DCM UNTIL YOU HAVE OBTAINED THE NECESSARY PRE-APPROVAL.

### Substitution

The following substitutes have been considered for DCM:

☐ 2-Methyltetrahydrofuran *(Peroxide Former, Berkeley List D)

☐ Cyclopentylmethyl ether *(similar to Peroxide Former, Berkeley List D)

☐ Ethanol

☐ Ethyl acetate

☐ Isopropanol

☐ Methanol

☐ Methyl isobutyl ketone

12

☐ Methyl tert-butyl ether    *(Peroxide Former, Berkeley List D)

☐ Toluene

☐ Other ___________________________

Alcohols, methyl isobutyl ketone, and ethyl acetate cannot be substituted for DCM as a reaction solvent due to undesirable reactivity. Ethers cannot be substituted for DCM in column chromatography due to their high boiling points and the risk of peroxide formation. Toluene cannot be substituted for DCM in processes that require a polar solvent. Finally, any process that replicates previous work may continue to use DCM in order to maintain reproducibility and comparability of previous results.

### Engineering Controls

Local exhaust ventilation must be used for all processes employing DCM.  Acceptable controls include fume hoods, glove boxes, ventilated enclosures, and snorkels to maintain lab levels below action level.

### Administrative Controls

All occupants of laboratories that use DCM shall: review this WCPP and ECP prior to entry, sign that they have received the information contained within, and agree to abide by the training provided to them.

Storage of DCM must comply with the requirements for Particularly Hazardous Substances.

Order small quantities, the minimum necessary for use, and dispose of them when the research/experiment is completed.

Stop all use of DCM if any malfunction of the local exhaust ventilation device indicated above is suspected.

Container Labels

Labels must also be used on each DCM container to clearly indicate there are special conditions associated with use, including exposure monitoring (training, exposure limits, SOP, respiratory protection, etc.).

- Laminated Tag reading:

Stop!  Read Below!  Before using this solvent, contact: EHS@uhcl.edu for Approval, Training, and to 🚨 Schedule Initial Exposure Monitoring. 🚨  Per EPA regulations, initial monitoring must be completed within 30 days of new use.

- Lid Tamper Seal reading:

Before using this solvent, contact: EHS@uhcl.edu to

13

🚨 Schedule Initial Exposure Monitoring. 🚨

### Personal Protective Equipment (PPE)

DCM may only be handled while wearing a lab coat, safety glasses or splash goggles, and gloves rated for DCM use.  In order of gloves protection: Polyvinyl alcohol, Viton Butyl, LLDPE gloves, Silvershield.  Regular Vinyl or Nitrile gloves are not recommended. LLDPE laminate or butyl Viton gloves may be used for procedures involving strong oxidizing acids. Polyvinyl alcohol or LLDPE laminate gloves may be used for procedures involving significant risk of fire. PIs, instructors, and supervisors must secure approval from EHS for final glove selection.  DCM specific PPE must be purchased prior to DCM operations.

Any PPE suspected of coming in contact with DCM must be washed and/or changed.  DCM specific gloves may be washed with soap and water upon contamination, and reused if not damaged.  Lab coat must be removed for laundering or disposal, and a clean lab coat put on.

## Lab-Specific ECP Template (remove/replace highlights for use)

This template may be used to complete an Exposure Control Plan (ECP) for specific uses of DCM. One ECP may cover more than one procedure so long as all control measures are consistent across all covered procedures. Each Principal Investigator (PI) is responsible for developing ECPs for all procedures that use DCM in locations they are responsible for.

This Exposure Control Plan covers safety practices to be followed for use of dichloromethane as INSERT PROCEDURE NAME in INSERT Building and Room Number. The use of dichloromethane is subject to pre-approval by EHS and the Principal Investigator (PI) and Supervisor.  DO NOT USE DICHLOROMETHANE UNTIL YOU HAVE OBTAINED THE NECESSARY PRE-APPROVAL.

### Substitution

The following substitutes have been considered for dichloromethane:

☐ 2-Methyltetrahydrofuran *(Peroxide Former, Berkeley List D)

☐ Cyclopentylmethyl ether *(similar to Peroxide Former, Berkeley List D)

☐ Ethanol

☐ Ethyl acetate

☐ Isopropanol

☐ Methanol

☐ Methyl isobutyl ketone

☐ Methyl tert-butyl ether *(Peroxide Former, Berkeley List D)

☐ Toluene

14

☐ Other ___________________________

They have been deemed inadequate for the following reason(s):

- ☐ Undesirable cross-reactivity

- ☐ Poor match for polarity

- ☐ Poor match for density

- ☐ Boiling point too high

- ☐ Need to maintain reproducibility of established procedure

- ☐ Other ___________________________

### Engineering Controls

Dichloromethane will be used with the following engineering controls in place:

- ☐ Local Exhaust Ventilation (select one)

  - ☐ Fume hood

  - ☐ Glove box

  - ☐ Ventilated enclosure

  - ☐ Snorkel

- ☐ Splash shield

- ☐ Other ___________________________

### Administrative Controls

All occupants of INSERT Building and Room Number shall review this WCPP and ECP prior to entry and sign that they have received the information they contain and agree to abide by the training provided to them.

Dichloromethane is approved for use in INSERT Building and Room Number in Insert Specific Location (e.g., benchtop, fume hood).

Dichloromethane is approved for storage in INSERT Building and Room Number in Insert Specific Location (e.g., cabinet).

Stop all use of dichloromethane if any malfunction of the local exhaust ventilation device indicated above is suspected and contact EHS.

Any PPE suspected of coming in contact with dichloromethane must be changed immediately.

### Personal Protective Equipment (PPE)

15

Dichloromethane may only be handled while wearing the following PPE:

Eye Protection

- ☐ Safely glasses

- ☐ Goggles

- ☐ Face shield

- ☐ Other ____________

Skin Protection

- ☐ Lab coat

- ☐ Apron

- ☐ Other ____________

Hand Protection (in order of protection)

- ☐ Polyvinyl alcohol gloves

- ☐ Viton Butyl gloves

- ☐ LLDPE gloves

- ☐ Silvershield gloves

--------------------------------------------------------(End of Template)-----------------------------------------------------------

# Training and Information

The EPA rule includes requirements for training and references the OSHA Methylene Chloride Standard training requirements. Both EPA and OSHA reference general training requirements (e.g., nature of training required, frequency, etc.) as well as task-specific training. As such, training may be provided from a centralized, institutional level and/or at the lab-specific level by PIs, instructors, and supervisors who oversee the assignment of tasks in the lab.

## Centralized Dichloromethane Training

The institutional training program for DCM at UHCL will be facilitated by EHS. The program shall cover these requirements:

- Training shall be consistent with OSHA’s Methylene Chloride Standard 1910.1052(I)(1) through (6), including completing training prior to initial job assignment.

- Must be done in a comprehensive manner that is understandable to potentially exposed persons.

- Shall cover hazards associated with DCM as required by the OSHA Hazard Communication Standard 1910.1200(b)(3)(iii) or site Chemical Hygiene Plan (some might use a lab manual instead).

16

Dermal protection must cover glove selection (type and material), use, expected duration of glove effectiveness, actions to take when glove integrity is compromised, storage, procedure for glove removal, disposal, and chemical hazards.

  - Inhalation protection training must occur annually if respiratory protection is required. It must cover medical requirements, fit testing procedures, hazards, use of respirator, donning/doffing of respirator, limitations, maintenance, and storage.

  - Personal Protective Equipment training should cover selection, use, inspections, and replacement schedules.

- Training is required to be repeated as necessary to maintain requisite knowledge of safe use and handling.

- Employees for whom exposure monitoring results exceed the EPA action level or EPA STEL shall be re-trained as necessary to ensure that each employee maintains the requisite understanding of the principles of safe use and handling of DCM.

- When there are workplace changes, such as modifications of tasks or procedures or new procedures, which can reasonably be expected to increase the exposure level, the employer shall update the training as necessary to ensure that each affected employee has the requisite proficiency.

## Lab-Specific Dichloromethane Training

Each PI, instructor, and/or supervisor who oversees the assignment of tasks requiring the use of DCM in the lab shall implement, and document hands-on training for lab personnel, covering:

- Task or activity-specific PPE required and location of PPE.

- Exposure controls required during tasks with DCM, and training on how to use those controls (e.g., appropriate fume hood sash level).

- The PI, instructor, or supervisor shall ensure that only individuals trained on DCM safety are allowed to perform  tasks involving the use of DCM.

If tasks are modified or new tasks are initiated, the PI, instructor, or supervisor shall notify EHS as training may need to be updated, and additional DCM monitoring  will be required.

# Recordkeeping

Compliance records must be retained for a period of five years. Owners and operators, including each PI, instructor, or supervisor who oversees a location where DCM is used or a person who uses DCM, are required to participate in generation and maintenance of these records, as they are crucial in proving adherence to the restrictions set forth by the EPA. It is acknowledged that many of these records and documentation are already maintained by UHCL

and by individual research groups associated with overlapping programs such as Lab and Research Safety, Training, Medical Surveillance, and Chemical Hygiene program elements:

17

- Exposure Control Records: These records will be maintained by their generator as specified below.

  - Lab-specific Exposure Control Plans will be maintained by Authorized PI’s.

  - Implementation records, including inspections, evaluations and exposure control updates, as well as confirmation that affected persons are properly implementing exposure controls, will be maintained by EHS.

  - Documentation of Personal protective equipment being used as part of the program will be maintained by EHS.

  - Training records for centralized DCM training will be maintained by EHS.

  - Lab-specific training records will be maintained by each Authorized PI in their lab’s adjacent office support space.

  - Maintenance, shutdown or malfunction documentation for facility exposure controls that cause air concentrations to exceed the ECEL or STEL will be maintained by Central Plant. Each PI, instructor, or supervisor who oversees a location where DCM is used or a person who uses DCM is responsible for notifying Central Plant immediately at x.2240 or by work order when such events are suspected to have occurred, and EHS at x.2106.

- Exposure Monitoring Records: Monitoring records will be maintained by EHS for employees that may be potentially exposed including:

  - All measurements made to determine conditions affecting monitoring results, including copies of the notifications to the potentially exposed persons

  - The identities of all potentially exposed persons whose exposure was not measured and whose exposure is intended to be represented by the monitoring

  - Description of analytical methods

  - Information on air monitoring equipment, including calibration dates, limits of detection and malfunctions

  - Objective data being used to forgo initial exposure monitoring including: the use being evaluated, the source of the data, the measurement methods and results, and any other relevant information.

- Records Related to Any Eligible Exemptions: Will be maintained by EHS and/or Research Safety Committee.

18

# Costs

The costs required for implementing and maintaining DCM regulatory requirements falls on the owners and operators, PI, instructor, or supervisor of each location where DCM is authorized for use (in compliance with the new rules).

Costs include required initial and periodic personnel (user) monitoring, DCM appropriate PPE including: DCM rated gloves, supplied air respirator or SCBA tank, fit testing for respirators; training, recordkeeping, etc.

# References

- ACS DCM Alternatives & Resources

- Ansell Chemical Glove Resistance Guide

- EPA Guide to Complying with the 2024 Methylene Chloride Regulation

- EPA Fact Sheet: Methylene Chloride or Dichloromethane

- EPA Fact Sheet: 2024 Final Risk Management Rule for Methylene Chloride under TSCA

- EPA Risk Management for Methylene Chloride [website]

- EPA Methylene Chloride rule Alternatives for use of methylene chloride

- NIOSH Hierarchy of Controls

- EPA Methylene Chloride Standard: 40 CFR 751 Subpart B

- EPA Final Rule posted in Federal Register with summary, justification, explanation

- OSHA Methylene Chloride Standard: 29 CFR 1910.1052

- OSHA’s PPE, Respiratory Protection Standard: 29 CFR 1910.134

- OSHA PPE Standard, General Requirements: 29 CFR 1910.132

- TSCA, Criminal Provisions of the Toxic Substances Control Act (TSCA)

- Preliminary Information on Manufacturing, Processing, Distribution, Use, and Disposal: Methylene Chloride

19

Risk Evaluation for Methylene Chloride - See Appendix 2 for details on glove materials

APPENDIX 10: ADDITIONAL LABORATORY SAFETY PROCEDURES LIST

(for reference, posted and updated separately, links may change)

May be posted on Lab Safety Procedures page at:

https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/lab-safety/lab-safety-procedures :

- L05 – Chemical Inventory

- L09 – Glass Handling and Disposal – Intact or Broken

- L10 – Controlled Glassware and Precursor Chemicals – lab glassware must be broken when discarded, or only given to other university researchers or research companies.

- Pregnant Lab Workers - Declaration Letter and Procedures

- Laboratory Decommissioning & Equipment Clearance Procedures (under Faculty Research dropdown)

- Research Applications, Procedures and Forms:

  - Student Researcher Procedures and Application

  - High School student Procedures and Application

  - Visiting Researcher Procedures and Application

  - Person of Interest (POI) Form (for those not already students or employees)

  - Release of Indemnification Form

  - Graduate Student Request to Work Independently After Hours

May be posted on Lab Safety page at:

https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/lab-safety/ :

- Autoclave Procedures, Log and Efficacy Testing Sheets, Autoclave Bag Tags

- Bloodborne Pathogens Exposure Control Plan

- Incidents Reported within 24 hours for Employees, Students, Visitors, and Witnesses

- Laboratory Training Matrix for what is required to conduct work in a UHCL lab.

- Laser Safety Manual UHCL

- Laser Sub-registration form – application for new PI / Laser / Equipment

- Laser Sub-registration Amendment form – to update users or lasers use

- Radiation Safety Manual

- Radiation Application for PI / Isotope / Equipment – new PI sub-license

- Radiation Amendment Form – to update users, isotope, equipment use

- X-Ray Radiation Safety Manual

- X-Ray Equipment Application – sub-registration to request new equipment

- X-Ray Equipment Amendment Form – to update users or equipment use

- Waste Page

# APPENDIX 11:  REFERENCE MATERIALS AVAILABLE FROM ENVIRONMENTAL HEALTH & SAFETY (EHS)

Handbook of Laboratory Safety, 5th ed., edited by A. Keith Furr, CRC Press, 2000.

Hawley's Condensed Chemical Dictionary, 12th ed., Irving Sax and Richard J. Lewis, Sr., Van Nostrand Reinhold Company, 1992.

Industrial Ventilation, 29th ed., American Conference Governmental Industrial Hygienists, 2016.

Modern Industrial Hygiene, Vol. 1, 2nd Ed, Perkins, Jimmy L., ACGIH, 2008.

NIOSH Pocket Guide to Chemical Hazards, DHHS (NIOSH), June 1997,  DHHS (NIOSH)

Publication No. 97-140.

NFPA 45, 2024 Ed., NFPA, 2023.

OSHA Safety and Health Standards, (29 CFR 1910), United States Department of Labor, U.S. Government Printing Office, 1995.

Patty's Industrial Hygiene and Toxicology, 3rd ed., Patty, F.A., Volumes 1,2(A,B,C),and 3(A,B), Wiley-Interscience, 1978.

Prudent Practices for Disposal of Chemicals from Laboratories, National Research Council, National Academy Press, 1983.

Prudent Practices for Handling Hazardous Chemicals in Laboratories, National Research Council, National Academy Press, 1981.

Safety in Academic Chemistry Laboratories, 5th ed., Committee on Chemical Safety, American Chemical Society: Washington, D.C., 1990.

The Occupational Environment: Its Evaluation, Control, and Management, Vol. 1 & 2, AIHA, 2011.

Threshold Limit Values for Chemical Substances and Biological Exposure Indices, American Conference of Governmental Industrial Hygienists, 1999.

APPENDIX 12:  GENERAL TRAINING CERTIFICATE ACKNOWLEDGMENT

FOR UHCL CHEMICAL HYGIENE PLAN

Name:                                                                                      Date:

Building/Room:                          Phone:                              Department:

I certify that I have read the Chemical Hygiene Plan for the University of Houston – Clear Lake (UHCL) and I have received the general training related to the Chemical Hygiene Plan, which included the following:

- Location of potentially hazardous chemicals in the workplace.

- Recognition of the chemical labeling and its meaning.

- Location of the SDS's in the workplace.

- Location of the health hazard, physical hazard, environmental protection, and special protection sections of the SDS and an explanation of their use.

- Identification of the Chemical Hygiene Officer by name and title.

- The major components of the laboratory's standard labeling system.

- The appropriate protective clothing for the area and its proper usage.

- Emergency procedures in the events of a hazardous chemical spill.

- Location and safety precautions for potentially hazardous equipment.

- Physical and health effects of hazardous chemicals associated with task assignments.

- Methods and observation techniques used to determine the presence or release of hazardous chemicals in the laboratory.

- How to lessen or prevent exposure to hazardous chemicals through controlled work practices and personal protective equipment.

- Emergency and first-aid procedures to follow if employees are exposed to hazardous chemicals.

- Waste labeling, handling and storage requirements and restrictions.

In addition, I understand that I have the responsibility to read the SDS's for any chemical that I will work with in the laboratory. If I am responsible for a lab, I also have the responsibility for chemical inventory and SDS for the labs I am responsible for, submitting to EHS and making available to all that enter the lab.

Laboratory User Signature

REVISION LOG

| Revision Number | Approval Date | Description of Changes |
| --- | --- | --- |
| 0 | 08/01/2024 | Chemical Hygiene Plan created |
| 1 | 10/31/2025 | Updates to include Methylene Chloride (DCM) restricted chemical appendix, clarify and detail high hazard chemical sections, inspection follow-up, replace EHS FSSC subcommittee, separate items that go to Research Safety Committee. |