# APPENDIX 5:  PRIOR CHEMICAL PROTOCOL REVIEW FOR HIGHLY HAZARDOUS / HIGH RISK CHEMICALS AND THEIR LISTS

Before using certain chemicals or agents, the Research Safety Committee (RSC) must approve their use. The principal investigator/laboratory supervisor is responsible for obtaining approval before initiating any procedure involving the referenced chemicals.

Prior to purchase and use, determine if the Chemical requires Review and Approval

The Research Safety Committee of UHCL reviews any chemical agent listed in the Mandatory Protocol Review Chemical List; however, any agent not on the list may meet the criteria based on specific toxicological (LD50, LC50) data. The Mandatory Protocol Review Chemical List is found at the back of this appendix. A protocol # will be generated upon the Research Safety Committee’s approval.

            - Select Carcinogens

A select carcinogen is any substance that meets either one of the following criteria:

• 	It is listed under Group 1 (“carcinogenic to humans”) or Group 2A (“probably carcinogenic to humans”) by the International Agency for Research on Cancer monographs (IARC); or

• 	It is listed under the category, “Known to be Human Carcinogens” in the Annual Report on Carcinogens published by the National Toxicology Program (NTP);

The following website contains lists for Group 1, Group 2A and NTP carcinogens:

https://www.cancer.org/cancer/risk-prevention/understanding-cancer-risk/known-and-probable-human-carcinogens.html

            - Highly Toxic

Chemical agents that are classified as “highly toxic” are substances that have a high degree of acute toxicity. Such agents meet the following criteria:

•	Chemical has a median lethal dose (LD50) of 50 milligrams per kilogram or less when administered orally to rats [LD50 < 50 mg/kg]; or

    - Chemical has a median lethal dose (LD50) of 200 milligrams per kilogram or less when administered by continuous dermal contact for 24 hours (or less if death occurs within 24 hours) to the skin of rabbits [LD50 < 200 mg/kg]; or

    - Chemical has a median lethal concentration (LC50) in the air of 200 parts per million by volume when administered by continuous inhalation for one hour (or less if death occurs within one hour) to rats [LC50 < 200 ppm]

            - Antineoplastic Agents

Antineoplastic agents are chemotherapeutic agents that control or kill cancer cells, as defined by NIOSH

            - Teratogens and Reproductive Hazards

OSHA defines a teratogen implicitly through its broader category of reproductive hazards, which are substances or agents that can cause infertility, miscarriage, birth defects, or other adverse reproductive outcomes.

            - Select Agent Toxins and Other Biological Toxins

Select Agent Toxins are biological agents that pose a severe threat to public health and safety. The U.S. Centers for Disease Control and Prevention (CDC) and U.S. Department of Agriculture (USDA) oversee the National Select Agent Registry program.  The list may be found at the following link:

https://www.selectagents.gov/sat/list.htm

            - Explosives,  Pyrophoric, and Peroxide Forming Chemicals

Explosive is defined as “any chemical compound, mixture, or device which is designed to function by an explosion that is substantially instantaneous with the release of gas and heat” by the U.S. Department of Transportation. Explosives are regulated by the Bureau of Alcohol, Tobacco, Firearms, and Explosives.  Explosives have special handling and storage requirements to safeguard against accidental detonation.  Explosives must be stored in the equivalent of a lockable magazine box. Follow the safe handling, storage, and disposal timeline guides issued by the Bureau or other regulatory or grant-making agency.

“Pyrophoric” means a chemical that will ignite spontaneously in air at a temperature of 130O F (54.4O C) or below, as defined by OSHA (29 CFR 1910.1200(c)). Because these chemicals burn upon contact with air or water, they require special handling and storage.  Users must have proper procedures and training, as well as equipment such as an inert gas glovebox chamber.  Flame-resistant lab coats must be worn and present in the laboratory, and natural fiber, non-flammable clothing must be worn when in use.  Replacing or doubling septum caps on containers periodically (every 6 months) and purchasing only the minimum amounts necessary, discarding them before container integrity is compromised (2-3 years), is a must and standard safety for entities working with pyrophoric materials.  Containers must be obviously labeled as pyrophoric materials.

“Peroxide Forming Chemicals” are a class of compounds, organic peroxides, that can react with oxygen over time to form unstable, shock-sensitive, and Potentially Explosive Chemicals (PECs). These peroxides can be detonated by heat, friction, or shock.  Many common laboratory solvents, such as ethers and THF, can form peroxides if not handled and stored properly, tested routinely for peroxides, and kept to volumes that can be used or discarded within one year.  See Section 15 (page 34) of this document for further information regarding labeling, testing, and a link to the list of PEC’s.

            - Nanoparticles

Nanoparticles are a subcategory of ultra-fine materials that have a diameter of 1–100 nanometers. Work with nanoparticles requires training and adherence to best practices, such as handling in a solution or a glove box and wet-wiping surfaces to keep them clean.  See Nanoparticles Appendix 8.

            - Pesticides

A pesticide is defined as “any substance or mixture of substances intended for preventing, destroying, repelling, or mitigating any pest” by the Federal Insecticide, Fungicide, and Rodenticide Act. The U.S. Environmental Protection Agency oversees the regulation of pesticides.

            - Poison Gases

Gases that are known to be poisonous by inhalation are listed under Class 2.3 of the US DOT Hazardous Materials Table

Note: The Research Safety Committee may require a review of other chemicals or items of concern that do not fall under any of these categories mentioned above.

Steps for project approval with the Research Safety Committee

- Complete the Project Hazard Assessment (PHA) Form

A Project Hazard form must be completed and submitted to the EHS office. The EHS office can assist you in completing the form during a consultation. This helps determine the risk level of your experiment, operational needs, and forward-thinking risk mitigation.

- Complete the Standard Operational Procedures (SOP).

This standard operating procedure (SOP) applies to all chemicals and must be submitted to the Research Committee for High-Hazard Chemical approvals. The SOP is based on PHA information and incorporates emergency information from the SDS. This document clearly outlines procedures to ensure a safe working environment and promote compliance with federal, state, and local regulations.

- Additional Documents to Submit to the Research Safety Committee

Additional documents should be submitted for review during this time. Additional documents may include proposals, grants, contracts, licenses, prior training, and any other information. Once the documents are submitted. The Research Safety Committee will review as a group or appoint a designee. The designee will be EHS personnel or a member appointed by the committee.

- “Memorandum of Understanding and Agreement (MUA) for the Use of Chemical Agents.”

Once Research Safety Committee approval is granted, a Memorandum of Understanding and Agreement (MUA) will be sent to the researcher with an assigned protocol number. This form or number can be used to order chemicals for up to three years. The MUA will be signed by the Research Safety Committee Chair or an appointed designee of the committee.

- Renewal of approved protocols

All approved protocols go through a complete renewal review every three years. If there are no significant changes, a new MUA will be signed, and the project may continue until the next review cycle.  Any significant changes to the protocol, such as the introduction of a different chemical, increased quantities, or changes to controls, will trigger a full review.

THE MANDATORY PROTOCOL REVIEW CHEMICAL LISTS FOLLOWS ON THE NEXT PAGE.

LIST OF CARCINOGENS MANDATING CHEMICAL PROTOCOL REVIEW

| CAS No | Agent | CAS No | Agent |
| --- | --- | --- | --- |
| 000079-06-1 | Acrylamide | 008001-58-9 | Creosotes |
| 023214-92-8 | Adriamycin | 027208-37-3 | Cyclopenta[cd]pyrene |
| 001402-68-2 | Aflatoxins (naturally occurring mixtures of) | 000050-18-0, 006055-19-2 | Cyclophosphamide |
| 000092-67-1 | 4-Aminobiphenyl | 079217-60-0 | Cyclosporine |
|  | Androgenic (anabolic) steroids | 000053-70-3 | Dibenz[a,h]anthracene |
|  | Aristolochic acid | 000191-30-0 | Dibenzo[a,l]pyrene |
| 007440-38-2 | Arsenic and arsenic compounds | 000056-53-1 | Diethylstilboestrol |
| 001332-21-4 | Asbestos | 000064-67-5 | Diethyl sulfate |
| 000320-67-2 | Azacitidine | 000079-44-7 | Dimethylcarbamoyl chloride |
| 000446-86-6 | Azathioprine | 000540-73-8 | 1,2-Dimethylhydrazine |
| 000071-43-2 | Benzene | 000077-78-1 | Dimethyl sulfate |
| 000092-87-5 | Benzidine | 000106-89-8 | Epichlorohydrin |
| 000050-32-8 | Benzo[a]pyrene | 066733-21-9 | Erionite |
| 007440-41-7 | Beryllium and beryllium compounds |  | Estrogens, nonsteroidal |
| 000494-03-1 | N,N-Bis(2-chloroethyl)-2-naphthylamine (Chlornaphazine) |  | Estrogens, steroidal |
| 000542-88-1, 000107-30-2 | Bis(chloromethyl)ether and chloromethyl methyl ether (technical-grade) | 000051-79-6 | Ethyl carbamate (urethane) |
| 000154-93-8 | Bischloroethyl nitrosourea (BCNU) | 000106-93-4 | Ethylene dibromide |
| 000106-99-0 | 1,3-Butadiene | 000075-21-8 | Ethylene oxide |
| 000055-98-1 | 1,4-Butanediol dimethanesulfonate (Busulphan, (Myleran®) | 000759-73-9 | N-Ethyl-N-nitrosourea |
| 007440-43-9 | Cadmium and cadmium compounds | 033419-42-0 | Etoposide |
| 002425-06-1 | Captafol | 033419-42-0 | Etoposide in combination with cisplatin and bleomycin |
| 000305-03-3 | Chlorambucil | 000050-00-0 | Formaldehyde |
| 000056-75-7 | Chloramphenicol | 001303-00-0 | Gallium arsenide |
| 000098-87-3, 000098-07-7, 000100-44-7, 000098-88-4 | a-Chlorinated toluenes (benzal chloride, benzotrichloride, benzyl chloride) and benzoyl chloride (combined exposures) | 000556-52-5 | Glycidol |
| 013010-47-4 | 1-(2-Chloroethyl)-3-cyclohexyl-1-nitrosourea (CCNU) | 022398-80-7 | Indium phosphide |
| 013909-09-6 | 1-(2-Chloroethyl)-3-(4-methylcyclohexyl)-1- nitrosourea (Methyl-CCNU, Semustine) | 076180-96-6 | IQ (2-Amino-3-methylimidazo[4,5-f]quinoline) |
| 000095-69-2 | 4-Chloro-ortho-toluidine | 000148-82-3 | Melphalan |
| 054749-90-5 | Chlorozotocin | 000484-20-8 | 5-Methoxypsoralen |
|  | Chromium [VI] | 000101-14-4 | Methylenebis(chloroaniline) (MOCA) |
| 015663-27-1 | Cisplatin | 000075-09-2 | Methylene chloride |

LIST OF CARCINOGENS MANDATING CHEMICAL PROTOCOL REVIEW (CONTINUED)

| CAS No | Agent | CAS No | Agent |
| --- | --- | --- | --- |
| 000066-27-3 | Methyl methanesulfonate | 000096-09-3 | Styrene-7,8-oxide |
| 000070-25-7 | N-Methyl-N´-nitro-N-nitrosoguanidine (MNNG) | 010540-29-1 | Tamoxifen |
| 000684-93-5 | N-Methyl-N-nitrosourea | 029767-20-2 | Teniposide |
|  | MOPP and other combined chemotherapy including alkylating agents | 001746-01-6 | 2,3,7,8-Tetrachlorodibenzo-para-dioxin |
| 000505-60-2 | Mustard gas (Sulfur mustard) | 000127-18-4 | Tetrachloroethylene |
| 000091-59-8 | 2-Naphthylamine | 000052-24-4 | Thiotepa |
|  | Nickel compounds | 000095-53-4 | ortho-Toluidine |
| 000051-75-2 | Nitrogen mustard | 000299-75-2 | Treosulfan |
| 016543-55-8, 064091-91-4 | N'-Nitrosonornicotine (NNN) and 4- (NNitrosomethylamino)- 1-(3-pyridyl)-1-butanone (NNK) | 000079-01-6 | Trichloroethylene |
| 000055-18-5 | N-Nitrosodiethylamine | 000096-18-4 | 1,2,3-Trichloropropane |
| 000062-75-9 | N-Nitrosodimethylamine | 000126-72-7 | Tris(2,3-dibromopropyl) phosphate |
| 000062-44-2 | Phenacetin and analgesic mixtures containing | 000051-79-6 | Urethane (see Ethyl carbamate) |
| 001336-36-3 | Polychlorinated biphenyls | 000593-60-2 | Vinyl bromide |
| 000366-70-1 | Procarbazine hydrochloride | 000075-01-4 | Vinyl chloride |
| 014808-60-7 | Silica, crystalline | 000075-02-5 | Vinyl fluoride |

LIST OF SELECT AGENTS AND OTHER BIOLOGICAL TOXINS MANDATING CHEMICAL PROTOCOL REVIEW

Select Agent Toxins:

Abrin

Botulinum neurotoxins

Clostridium perfringens epsilon toxin

Conotoxins

Diacetoxyscirpenol

Ricin

Saxitoxin

Shiga-like ribosome inactivating proteins

Shigatoxin

Staphylococcal enterotoxins

T-2 toxin

Tetrodotoxin

Other Biological Toxins:

Cholera Toxin

Diphtheria Toxin

Pertussis Toxin

LIST OF PESTICIDES (EPA LISTED) MANDATING CHEMICAL PROTOCOL REVIEW

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Abate (Temephos) | 3383-96-13 | Cycloate | 1134-23-2 |
| Acifluorfen | 62476-59-9 | 2,4-D acid | 94-75-7 |
| Alachlor | 15972-60-8 | 2,4-DB acid | 94-82-6 |
| Aldrin | 309-00-2 | DCPA (Dacthal) | 2136-79-0 |
| Ametryn | 834-12-8 | 2,4'-DDD | 53-19-0 |
| Amoban | 3566-10-7 | 4,4'-DDD | 72-54-8 |
| AOP | -- | 2,4'-DDE | 3424-82-6 |
| Asponb | 3244-90-4 | 4,4'-DDE | 72-55-9 |
| Atraton | 1610-17-9 | 2,4'-DDT | 789-02-6 |
| Atrazine | 1912-24-9 | 4,4'-DDT | 50-29-3 |
| Azinphos-ethyla | 2642-71-9 | DEF (Butifos) | 78-48-8 |
| Azinphos ethyl (Ethyl guthion) | 642-71-9 | Demeton-O | 298-02-3 |
| Azinphos methyl (Guthion) | 86-50-0 | Demeton-Oc | 8065-48-3 |
| a-BHC | 319-84-6 | Demeton-S | 126-75-0 |
| ß-BHC | 319-85-7 | Demeton-Sc | 8065-48-3 |
| ?-BHC (Lindane) | 58-89-9 | Diallate | 2303-16-4 |
| d-BHC | 319-86-8 | Diazinon | 333-41-5 |
| Bendiocarb | 22781-23-3 | 1,2-Dibromo-3-chloropropane (DBCP) | 96-12-8 |
| Benfluralin | 1861-40-1 | Dicamba | 1918-00-9 |
| Bolstar (Sulprofos) | 35400-43-2 | Dichlobenil (Casoron) | 1194-65-6 |
| Bromacil | 314-40-9 | 3,5-Dichlorobenzoic acid | 51-36-5 |
| Bromoxynil (Brominal) | 1689-84-5 | Dichlorofenthiona | 97-17-6 |
| Busan 40 | 51026-28-9 | Dichlorprop | 120-36-5 |
| Busan 85 | 128-03-0 | Dichlorvos (DDVP) | 62-73-7 |
| Butachlor | 23184-66-9 | Diclofol (Kelthane) | 115-32-2 |
| Butylate | 2008-41-5 | Diclofop-methyl | 51338-27-3 |
| Carbophenothiona | 786-19-6 | Dicrotophosa | 141-66-2 |
| Captafol | 2425-06-1 | Dieldrin | 60-57-1 |
| Captan | 133-06-2 | Dimethoate | 60-51-5 |
| Carboxin | 5234-68-5 | Dinoseb | 88-85-7 |
| cis-Chlordane | 5103-71-9 | Dioxathion | 78-34-2 |
| trans-Chlordane | 5103-74-2 | Diphenamid | 957-51-7 |
| Chlordane -- not otherwise specified (n.o.s.) | 57-74-9 | Disulfoton (Disyston) | 298-04-4 |
| Chlorfenvinphosa | 470-90-6 | Disulfoton sulfone | 2497-06-5 |
| Chlorobenzilate | 510-15-6 | Disulfoton sulfoxide | 2497-07-6 |
| Chlorpropham | 101-21-3 | Diuron | 330-54-1 |
| Chlorpyrifos | 2921-88-2 | Endosulfan I | 959-98-8 |
| Chlorpyrifos methyla | 5598-13-0 | Endosulfan II | 33213-65-9 |
| Chlorthalonil (Daconil) | 1897-45-6 | Endosulfan sulfate | 1031-07-8 |
| Coumaphos | 56-72-4 | Endrin | 72-20-8 |
| Crotoxyphosa | 7700-17-6 | Endrin aldehyde | 7421-93-4 |

LIST OF PESTICIDES MANDATING CHEMICAL PROTOCOL REVIEW (Continued)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Cyanazine | 21725-46-2 | Endrin ketone | 53494-70-5 |
| EPN | 2104-64-5 | Nabam | 142-59-6 |
| Eptam (EPTC) | 759-94-4 | Naled | 300-76-5 |
| Ethalfluralin (Sonalan) | 55283-68-6 | Napropamide | 15299-99-7 |
| Ethion | 563-12-2 | Niacide | 8011-66-3 |
| Ethoprop | 13194-48-4 | 4-Nitrophenol | 100-02-7 |
| Famphura | 52-85-7 | Norflurazon | 27314-13-2 |
| Fenamiphos | 22224-92-6 | Oxyfluorfen | 42874-03-3 |
| Fenarimol | 60168-88-9 | Parathion, ethyl | 56-38-2 |
| Fenitrothion | 122-14-5 | Parathion, methyl | 298-00-0 |
| Fensulfothion | 115-90-2 | Pebulate | 1114-71-2 |
| Fenthion | 55-38-9 | Pendimethalin | 40487-42-1 |
| Ferbam | 14484-64-1 | Pentachlorophenol (PCP) | 87-86-5 |
| Fluridone | 59756-60-4 | o-Phenylenediamine | 95-54-5 |
| Fonophosa | 944-22-9 | Phorate | 298-02-2 |
| Gardona (Tetrachlovinphos) | 961-11-5 | Phosmet | 732-11-6 |
| Heptachlor | 76-44-8 | Phosphamidon | 297-99-4 |
| Heptachlor epoxide | 1024-57-3 | Phosphamidon | 13171-21-6 |
| Hexachlorobenzene | 118-74-1 | Picloram | 1918-02-1 |
| Hexachlorocyclopentadiene | 77-47-4 | Polyram | 9006-42-2 |
| Hexamethyl phosphoramidea (HMPA) | 680-31-9 | Profluralin | 26399-36-0 |
| Hexazinone | 51235-04-2 | Prometon (Pramitol 5p) | 1610-18-0 |
| Imidan (Phosmet) | 732-11-6 | Prometryn | 7287-19-6 |
| Ioxynil | 1689-83-4 | Pronamide (Kerb) | 23950-58-5 |
| Isodrin | 465-73-6 | Propachlor (Ramrod) | 1918-16-7 |
| KN Methyl | 137-41-7 | Propargite (S-181) | 2312-35-8 |
| Leptophos | 21609-90-5 | Propazine | 139-40-2 |
| Malathion | 121-75-5 | Propetamidophos | 31218-83-4 |
| Mancozeb | 8018-01-7 | Propham | 122-42-9 |
| Maneb | 12427-38-1 | Prosulfocarb | 52888-80-9 |
| MCPA acid | 94-74-6 | Ronnel | 299-84-3 |
| MCPP acid | 7085-19-0 | Silvex (2,4,5-TP) | 93-76-5 |
| Merphos | 150-50-5 | Simazine | 122-34-9 |
| Metalaxyl | 57837-19-1 | Simetryn | 1014-70-6 |
| Metham | 137-42-8 | Sodium dimethyldithiocarbamat | 128-04-1 |
| Methiocarb | 2032-65-7 | Stirophos (Tetrachlorvinphos, Gardona) | 22248-79-9 |
| Methoxychlor | 72-43-5 | Sulfotepp | 3689-24-5 |
| Methyl chlorpyrifos | 5598-13-0 | Sulprofos (Bolstar) | 35400-43-2 |
| Methyl paraoxon | 311-45-5 | 2,4,5-T acid | 94-82-6 |
| Methyl paraoxon | 950-35-6 | 2,4,5-TB | 93-80-1 |

LIST OF PESTICIDES MANDATING CHEMICAL PROTOCOL REVIEW (Continued)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Methyl parathion | 298-00-0 | Tebuthiuron | 34014-18-1 |
| Metolachlor | 51218-45-2 | Terbacil | 5902-51-2 |
| Metribuzin | 21087-64-9 | Terbufosa | 13071-79-9 |
| Mevinphos | 7786-34-7 | Terbutryn (Igran) | 886-50-0 |
| MGK-264 | 113-48-4 | 2,3,4,5-Tetrachlorophenol | 4901-51-3 |
| Mirex | 2385-85-5 | 2,3,4,6-Tetrachlorophenol | 58-90-2 |
| Molinate | 2212-67-1 | Tetraethyl pyrophosphate (TEPP)d | 107-49-3 |
| Monocrotophos | 6923-22-4 | Thionazina,b (Zinophos) | 297-97-2 |
| Thiram | 137-26-8 | Triclopyr (Garlon) | 55335-06-3 |
| Tokuthionb (Prothiofos) | 34643-46-4 | Tricyclazole | 41814-78-2 |
| Toxaphene | 8001-35-2 | Trifluralin (Treflan) | 1582-09-8 |
| Triademefon | 43121-43-3 | Tri-o-cresyl phosphatea,d (TOCP) | 78-30-8 |
| Triallate | 2303-17-5 | Vernolate | 1929-77-7 |
| Trichlorfona | 52-68-6 | ZAC | -- |
| Trichloronateb | 327-98-0 | Zineb | 12122-67-7 |
| 2,4,5-Trichlorophenol | 95-95-4 | Ziram | 137-30-4 |
| 2,4,6-Trichlorophenol | 88-06-2 |  |  |

LIST OF PYROPHORIC CHEMICALS MANDATING CHEMICAL PROTOCOL REVIEW

Grignard Reagents: RMgX (R=alkyl, X=halogen)

Metal alkyls and aryls: Alkyl lithium compounds; tert-butyl lithium

Metal carbonyls: Lithium carbonyl, nickel tetracarbonyl

Metal powders (finely divided): Cobalt, iron, zinc, zirconium

Metal hydrides: Sodium hydride

Nonmetal hydrides: Diethylarsine, diethylphosphine

Non-metal alkyls: R3B, R3P, R3As; tetramethyl silane, tributyl phosphine

Phosphorus

Potassium

Sodium

Gases: Silane, dichlorosilane, diborane, phosphine, arsine

EXPLOSIVE CHEMICALS (BATF) MANDATING CHEMICAL PROTOCOL REVIEW

| A | Dinitrophenolates. |
| --- | --- |
| Acetylides of heavy metals. | Dinitrophenyl hydrazine. |
| Aluminum ophorite explosive. | Dinitroresorcinol. |
| Amatex. | Dinitrotoluene-sodium nitrate explosive mixtures. |
| Amatol. | DIPAM [dipicramide; diaminohexanitrobiphenyl]. |
| Ammonal. | Dipicryl sulfone. |
| Ammonium nitrate explosive mixtures (cap sensitive). | Dipicrylamine. |
| Ammonium nitrate explosive mixtures (non-cap sensitive). | Display fireworks. |
| Ammonium perchlorate | DNPA [2,2-dinitropropyl acrylate]. |
| Ammonium picrate [picrate of ammonia, Explosive D]. | DNPD [dinitropentano nitrile]. |
| Ammonium salt lattice with isomorphously substituted inorganic salts. | E |
| ANFO [ammonium nitrate-fuel oil]. | EDDN [ethylene diamine dinitrate]. |
| Azide explosives. | EDNA [ethylenedinitramine]. |
| B | Ednatol. |
| Baranol. | EDNP [ethyl 4,4-dinitropentanoate]. |
| Baratol. | EGDN [ethylene glycol dinitrate]. |
| BEAF [1, 2-bis (2, 2-difluoro-2-nitroacetoxyethane)]. | Erythritol tetranitrate explosives. |
| Blasting powder. | Ethyl-tetryl. |
| BTNEC [bis (trinitroethyl) carbonate]. | F |
| BTNEN [bis (trinitroethyl) nitramine]. | Flash powder. |
| BTTN [1,2,4 butanetriol trinitrate]. | Fulminate of mercury. |
| Butyl tetryl. | Fulminate of silver. |
| C | Fulminating gold. |
| Calcium nitrate explosive mixture. | Fulminating mercury. |
| Cellulose hexanitrate explosive mixture. | Fulminating platinum. |
| Copper acetylide. | Fulminating silver. |
| Cyanuric triazide. | G |
| Cyclonite [RDX]. | Gelatinized nitrocellulose. |
| Cyclotetramethylenetetranitramine [HMX]. | Gem-dinitro aliphatic explosive mixtures. |
| Cyclotol. | Guanyl nitrosamino guanyl tetrazene. |
| Cyclotrimethylenetrinitramine [RDX]. | Guanyl nitrosamino guanylidene hydrazine. |
| D | Guncotton. |
| DATB [diaminotrinitrobenzene]. | H |
| DDNP [diazodinitrophenol]. | Hexanite. |
| DEGDN [diethyleneglycol dinitrate]. | Hexanitrodiphenylamine. |
| Dimethylol dimethyl methane dinitrate composition. | Hexanitrostilbene. |
| Dinitroethyleneurea. | Hexogen [RDX]. |
| Dinitroglycerine [glycerol dinitrate]. | Hexogene or octogene and a nitrated N-methylaniline. |
| Dinitrophenol. | Hexolites. |

EXPLOSIVE CHEMICALS (BATF) MANDATING CHEMICAL PROTOCOL REVIEW (Cont’d)

| HMTD [hexamethylenetriperoxidediamine]. | Nitrogen trichloride. |
| --- | --- |
| HMX [cyclo-1,3,5,7-tetramethylene 2,4,6,8-tetranitramine; Octogen]. | Nitrogen tri-iodide. |
| Hydrazinium nitrate/hydrazine/aluminum explosive system. | Nitroglycide. |
| Hydrazoic acid. | Nitroglycerine [NG, RNG, nitro, glyceryl trinitrate, trinitroglycerine]. |
| K | Nitroglycol [ethylene glycol dinitrate, EGDN]. |
| KDNBF [potassium dinitrobenzo-furoxane]. | Nitroguanidine explosives. |
| L | Nitronium perchlorate propellant mixtures. |
| Lead azide. | Nitrourea. |
| Lead mannite. | O |
| Lead mononitroresorcinate. | Octogen [HMX]. |
| Lead picrate. | Octol [75 percent HMX, 25 percent TNT]. |
| Lead salts, explosive. | P |
| Lead styphnate [styphnate of Pb, Pb trinitroresorcinate]. | PBX [plastic bonded explosives]. |
| Liquid nitrated polyol and trimethylolethane. | Pentolite. |
| M | Perchlorate explosive mixtures. |
| Magnesium ophorite explosives. | Peroxide forming chemicals (list via link:) https://www.uhcl.edu/about/administrative-offices/environmental-health-safety/documents/pecs-storage-chart.pdf |
| Mannitol hexanitrate. | PETN [nitropentaerythrite, pentaerythrite tetranitrate, pentaerythritol |
| MDNP [methyl 4,4-dinitropentanoate]. | Penta Tetranitrate (PETN) |
| MEAN [monoethanolamine nitrate]. | Picramic acid and its salts. |
| Mercuric fulminate. | Picramide. |
| Mercury oxalate. | Picrate explosives. |
| Mercury tartrate. | Picratol. |
| Metriol trinitrate. | Picric acid |
| Minol-2 [40% TNT, 40% ammonium nitrate, 20% aluminum]. | Picryl chloride. |
| MMAN [monomethylamine nitrate]; methylamine nitrate. | Picryl fluoride. |
| Mononitrotoluene-nitroglycerin mixture. | PLX [95% nitromethane, 5% ethylenediamine]. |
| N | Polynitro aliphatic compounds. |
| NIBTN [nitroisobutametriol trinitrate]. | Polyolpolynitrate-nitrocellulose explosive gels. |
| Nitrated carbohydrate explosive. | Potassium chlorate and lead sulfocyanate explosive. |
| Nitrated glucoside explosive. | Potassium nitrate explosive mixtures. |
| Nitrated polyhydric alcohol explosives. | Potassium nitroaminotetrazole. |
| Nitric acid explosive mixtures. | Pyrotechnic compositions. |
| Nitro aromatic explosive mixtures | Salts of organic amino sulfonic acid explosive mixture. |
| Nitrogelatin explosive. | Silver acetylide. |

EXPLOSIVE CHEMICALS (BATF) MANDATING CHEMICAL PROTOCOL REVIEW (Cont’d)

| PYX [2,6-bis(picrylamino)]-3,5-dinitropyridine | Tetryl [2,4,6 tetranitro-N-methylaniline]. |
| --- | --- |
| R | Tetrytol. |
| RDX [cyclonite, hexogen, T4, cyclo-1,3,5,-trimethylene- 2,4,6,-trinitramine; hexahydro-1,3,5-trinitro-S-triazine]. | TMETN [trimethylolethane trinitrate]. |
| S | TNEF [trinitroethyl formal]. |
|  | TNEOC [trinitroethylorthocarbonate]. |
| Silver azide. | TNEOF [trinitroethylorthoformate]. |
| Silver fulminate. | TNT [trinitrotoluene, trotyl, trilite, triton]. |
| Silver oxalate explosive mixtures. | Torpex. |
| Silver styphnate. | Tridite. |
| Silver tartrate explosive mixtures. | Trimethylol ethyl methane trinitrate composition. |
| Silver tetrazene | Trimethylolthane trinitrate-nitrocellulose. |
| Sodatol. | Trimonite. |
| Sodium amatol. | Trinitroanisole. |
| Sodium azide explosive mixture. | Trinitrobenzene. |
| Sodium dinitro-ortho-cresolate. | Trinitrobenzoic acid. |
| Sodium nitrate explosive mixtures. | Trinitrocresol. |
| Sodium nitrate-potassium nitrate explosive mixture. | Trinitro-meta-cresol. |
| Sodium picramate. | Trinitronaphthalene. |
| Styphnic acid explosives. | Trinitrophenetol. |
| T | Trinitrophloroglucinol. |
| Tacot [tetranitro-2,3,5,6-dibenzo- 1,3a,4,6a tetrazapentalene]. | Trinitroresorcinol. |
| TATB [triaminotrinitrobenzene]. | Tritonal. |
| TATP [triacetonetriperoxide]. | U |
| TEGDN [triethylene glycol dinitrate]. | Urea nitrate. |
| Tetranitrocarbazole. | X |
| Tetrazene [tetracene, tetrazine, 1(5-tetrazolyl)-4-guanyl tetrazene hydrate] | Xanthamonas hydrophilic colloid explosive mixture. |

US DOT COMPRESSED POISON GASES (49 CFR 172.101) MANDATING CHEMICAL PROTOCOL REVIEW

| Arsine | Hydrogen iodide |
| --- | --- |
| Boron trichloride | Hydrogen selenide |
| Boron trifluoride | Hydrogen sulfide |
| Bromine chloride | Methyl bromide |
| Carbon monoxide | Methyl mercaptan |
| Carbonyl fluoride | Methylchlorosilane |
| Carbonyl sulfide | Nitrosyl chloride |
| Chlorine | Perchloryl fluoride |
| Chlorine pentafluoride | Phosgene |
| Cyanogen | Phosphine |
| Cyanogen chloride | Phosphorus pentafluoride |
| Diborane | Selenium hexafluoride |
| Dichlorosilane | Silicon tetrafluoride |
| Dinitrogen tetroxide | Stibine |
| Ethylene oxide | Sulfur dioxide |
| Fluorine | Sulfur tetrafluoride |
| Germane | Sulfuryl fluoride |
| Hexaethyl tetraphosphate | Tellurium hexafluoride |
| Hexafluoroacetone | Trifluoroacetyl chloride |
| Hydrogen bromide | Trifluorochloroethylene |
| Hydrogen chloride | Tungsten hexafluoride |

ANTINEOPLASTIC AGENTS MANDATING CHEMICAL PROTOCOL REVIEW

| Drug | Drug | Drug |
| --- | --- | --- |
| Aldesleukin | Floxuridine | Nilutamide |
| Alemtuzumab | Fludarabine | Oxaliplatin |
| Altretamine | Fluorouracil | Paclitaxel |
| Amsacrine | Flutamide | Pegaspargase |
| Anastrozole | Fulvestrant | Pentostatin |
| Arsenic trioxide | Gemcitabine | Perphosphamide |
| Asparaginase | Gemtuzumab ozogamicin | Pipobroman |
| Azacitidine | Goserelin | Piritrexim isethionate |
| Bexarotene | Hydroxyurea | Plicamycin |
| Bicalutamide | Ibritumomab tiuxetan | Prednimustine |
| Bleomycin | Idarubicin | Procarbazine |
| Busulfan | Ifosfamide | Raltitrexed |
| Capecitabine | Imatinib mesylate | Streptozocin |
| Carboplatin | Interferon alfa-2a | Tamoxifen |
| Carmustine | Interferon alfa-2b | Temozolomide |
| Chlorambucil | Interferon alfa-n1 | Teniposide |
| Cisplatin | Interferon alfa-n3 | Testolactone |
| Cladribine | Irinotecan HCl | Thioguanine |
| Cyclophosphamide | Leflunomide | Thiotepa |
| Cytarabine | Letrozole | Topotecan |
| Dacarbazine | Leuprolide acetate | Toremifene citrate |
| Dactinomycin | Lomustine | Tositumomab |
| Daunorubicin HCl | Mechlorethamine | Triptorelin |
| Denileukin | Megestrol | Uracil mustard |
| Docetaxel | Melphalan | Valrubicin |
| Doxorubicin | Mercaptopurine | Vinblastine sulfate |
| Epirubicin | Methotrexate | Vincristine sulfate |
| Estramustine phosphate sodium | Mitomycin | Vindesine |
| Etoposide | Mitotane | Vinorelbine tartrate |

PESTICIDES (EPA LISTED) MANDATING CHEMICAL PROTOCOL REVIEW (page 1 of 3)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Abate (Temephos) | 3383-96-13 | Cycloate | 1134-23-2 |
| Acifluorfen | 62476-59-9 | 2,4-D acid | 94-75-7 |
| Alachlor | 15972-60-8 | 2,4-DB acid | 94-82-6 |
| Aldrin | 309-00-2 | DCPA (Dacthal) | 2136-79-0 |
| Ametryn | 834-12-8 | 2,4'-DDD | 53-19-0 |
| Amoban | 3566-10-7 | 4,4'-DDD | 72-54-8 |
| AOP | -- | 2,4'-DDE | 3424-82-6 |
| Asponb | 3244-90-4 | 4,4'-DDE | 72-55-9 |
| Atraton | 1610-17-9 | 2,4'-DDT | 789-02-6 |
| Atrazine | 1912-24-9 | 4,4'-DDT | 50-29-3 |
| Azinphos-ethyla | 2642-71-9 | DEF (Butifos) | 78-48-8 |
| Azinphos ethyl (Ethyl guthion) | 642-71-9 | Demeton-O | 298-02-3 |
| Azinphos methyl (Guthion) | 86-50-0 | Demeton-Oc | 8065-48-3 |
| a-BHC | 319-84-6 | Demeton-S | 126-75-0 |
| ß-BHC | 319-85-7 | Demeton-Sc | 8065-48-3 |
| ?-BHC (Lindane) | 58-89-9 | Diallate | 2303-16-4 |
| d-BHC | 319-86-8 | Diazinon | 333-41-5 |
| Bendiocarb | 22781-23-3 | 1,2-Dibromo-3-chloropropane (DBCP) | 96-12-8 |
| Benfluralin | 1861-40-1 | Dicamba | 1918-00-9 |
| Bolstar (Sulprofos) | 35400-43-2 | Dichlobenil (Casoron) | 1194-65-6 |
| Bromacil | 314-40-9 | 3,5-Dichlorobenzoic acid | 51-36-5 |
| Bromoxynil (Brominal) | 1689-84-5 | Dichlorofenthiona | 97-17-6 |
| Busan 40 | 51026-28-9 | Dichlorprop | 120-36-5 |
| Busan 85 | 128-03-0 | Dichlorvos (DDVP) | 62-73-7 |
| Butachlor | 23184-66-9 | Diclofol (Kelthane) | 115-32-2 |
| Butylate | 2008-41-5 | Diclofop-methyl | 51338-27-3 |
| Carbophenothiona | 786-19-6 | Dicrotophosa | 141-66-2 |
| Captafol | 2425-06-1 | Dieldrin | 60-57-1 |
| Captan | 133-06-2 | Dimethoate | 60-51-5 |
| Carboxin | 5234-68-5 | Dinoseb | 88-85-7 |
| cis-Chlordane | 5103-71-9 | Dioxathion | 78-34-2 |
| trans-Chlordane | 5103-74-2 | Diphenamid | 957-51-7 |
| Chlordane -- not otherwise specified (n.o.s.) | 57-74-9 | Disulfoton (Disyston) | 298-04-4 |
| Chlorfenvinphosa | 470-90-6 | Disulfoton sulfone | 2497-06-5 |
| Chlorobenzilate | 510-15-6 | Disulfoton sulfoxide | 2497-07-6 |
| Chlorpropham | 101-21-3 | Diuron | 330-54-1 |
| Chlorpyrifos | 2921-88-2 | Endosulfan I | 959-98-8 |
| Chlorpyrifos methyla | 5598-13-0 | Endosulfan II | 33213-65-9 |
| Chlorthalonil (Daconil) | 1897-45-6 | Endosulfan sulfate | 1031-07-8 |
| Coumaphos | 56-72-4 | Endrin | 72-20-8 |
| Crotoxyphosa | 7700-17-6 | Endrin aldehyde | 7421-93-4 |

PESTICIDES (EPA LISTED) MANDATING CHEMICAL PROTOCOL REVIEW (page 2 of 3)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Cyanazine | 21725-46-2 | Endrin ketone | 53494-70-5 |
| EPN | 2104-64-5 | Nabam | 142-59-6 |
| Eptam (EPTC) | 759-94-4 | Naled | 300-76-5 |
| Ethalfluralin (Sonalan) | 55283-68-6 | Napropamide | 15299-99-7 |
| Ethion | 563-12-2 | Niacide | 8011-66-3 |
| Ethoprop | 13194-48-4 | 4-Nitrophenol | 100-02-7 |
| Famphura | 52-85-7 | Norflurazon | 27314-13-2 |
| Fenamiphos | 22224-92-6 | Oxyfluorfen | 42874-03-3 |
| Fenarimol | 60168-88-9 | Parathion, ethyl | 56-38-2 |
| Fenitrothion | 122-14-5 | Parathion, methyl | 298-00-0 |
| Fensulfothion | 115-90-2 | Pebulate | 1114-71-2 |
| Fenthion | 55-38-9 | Pendimethalin | 40487-42-1 |
| Ferbam | 14484-64-1 | Pentachlorophenol (PCP) | 87-86-5 |
| Fluridone | 59756-60-4 | o-Phenylenediamine | 95-54-5 |
| Fonophosa | 944-22-9 | Phorate | 298-02-2 |
| Gardona (Tetrachlovinphos) | 961-11-5 | Phosmet | 732-11-6 |
| Heptachlor | 76-44-8 | Phosphamidon | 297-99-4 |
| Heptachlor epoxide | 1024-57-3 | Phosphamidon | 13171-21-6 |
| Hexachlorobenzene | 118-74-1 | Picloram | 1918-02-1 |
| Hexachlorocyclopentadiene | 77-47-4 | Polyram | 9006-42-2 |
| Hexamethyl phosphoramidea (HMPA) | 680-31-9 | Profluralin | 26399-36-0 |
| Hexazinone | 51235-04-2 | Prometon (Pramitol 5p) | 1610-18-0 |
| Imidan (Phosmet) | 732-11-6 | Prometryn | 7287-19-6 |
| Ioxynil | 1689-83-4 | Pronamide (Kerb) | 23950-58-5 |
| Isodrin | 465-73-6 | Propachlor (Ramrod) | 1918-16-7 |
| KN Methyl | 137-41-7 | Propargite (S-181) | 2312-35-8 |
| Leptophos | 21609-90-5 | Propazine | 139-40-2 |
| Malathion | 121-75-5 | Propetamidophos | 31218-83-4 |
| Mancozeb | 8018-01-7 | Propham | 122-42-9 |
| Maneb | 12427-38-1 | Prosulfocarb | 52888-80-9 |
| MCPA acid | 94-74-6 | Ronnel | 299-84-3 |
| MCPP acid | 7085-19-0 | Silvex (2,4,5-TP) | 93-76-5 |
| Merphos | 150-50-5 | Simazine | 122-34-9 |
| Metalaxyl | 57837-19-1 | Simetryn | 1014-70-6 |
| Metham | 137-42-8 | Sodium dimethyldithiocarbamat | 128-04-1 |
| Methiocarb | 2032-65-7 | Stirophos (Tetrachlorvinphos, Gardona) | 22248-79-9 |
| Methoxychlor | 72-43-5 | Sulfotepp | 3689-24-5 |
| Methyl chlorpyrifos | 5598-13-0 | Sulprofos (Bolstar) | 35400-43-2 |
| Methyl paraoxon | 311-45-5 | 2,4,5-T acid | 94-82-6 |
| Methyl paraoxon | 950-35-6 | 2,4,5-TB | 93-80-1 |

PESTICIDES (EPA LISTED) MANDATING CHEMICAL PROTOCOL REVIEW (page 3 of 3)

| Compound | CAS No. | Compound | CAS No. |
| --- | --- | --- | --- |
| Methyl parathion | 298-00-0 | Tebuthiuron | 34014-18-1 |
| Metolachlor | 51218-45-2 | Terbacil | 5902-51-2 |
| Metribuzin | 21087-64-9 | Terbufosa | 13071-79-9 |
| Mevinphos | 7786-34-7 | Terbutryn (Igran) | 886-50-0 |
| MGK-264 | 113-48-4 | 2,3,4,5-Tetrachlorophenol | 4901-51-3 |
| Mirex | 2385-85-5 | 2,3,4,6-Tetrachlorophenol | 58-90-2 |
| Molinate | 2212-67-1 | Tetraethyl pyrophosphate (TEPP)d | 107-49-3 |
| Monocrotophos | 6923-22-4 | Thionazina,b (Zinophos) | 297-97-2 |
| Thiram | 137-26-8 | Triclopyr (Garlon) | 55335-06-3 |
| Tokuthionb (Prothiofos) | 34643-46-4 | Tricyclazole | 41814-78-2 |
| Toxaphene | 8001-35-2 | Trifluralin (Treflan) | 1582-09-8 |
| Triademefon | 43121-43-3 | Tri-o-cresyl phosphatea,d (TOCP) | 78-30-8 |
| Triallate | 2303-17-5 | Vernolate | 1929-77-7 |
| Trichlorfona | 52-68-6 | ZAC | -- |
| Trichloronateb | 327-98-0 | Zineb | 12122-67-7 |
| 2,4,5-Trichlorophenol | 95-95-4 | Ziram | 137-30-4 |
| 2,4,6-Trichlorophenol | 88-06-2 |  |  |