# Phase II (Small) MS4 Annual Report Form

## TPDES General Permit Number TXR040000

### General Information

- Authorization Number: TXR040665

- Reporting Year: __2025-2026__

- Annual Reporting Year Option Selected by MS4:

- Calendar Year:_____

- Permit Year: _X__

- Fiscal Year: ________   Last day of fiscal year: ______

- Reporting period beginning date: (month/date/year) _10/12/2025_

- Reporting period end date: (month/date/year) _03/12/2026*__

- *The MS4’s 2024 TPDES Phase II MS4 authorization was approved by TCEQ on this date, so in accordance with TCEQ’s rules and regulations, their final Annual Report under the 2019 TPDES Phase II MS4 General Permit concluded this date, too.

MS4 Operator Level: _2__

Name of MS4: _University of Houston – Clear Lake MS4___

Contact Name: XXXXXXXX

Telephone Number: XXXXXXXX

Mailing Address:  2700 Bay Area Blvd.; Houston, TX 77058

E-mail Address: XXXXXXXXX

A copy of the annual report was submitted to the TCEQ Region: YES_X__ NO___

Region the annual report was submitted to: TCEQ Region 12_

### Status of Compliance with the MS4 GP and SWMP

- Provide information on the status of complying with permit conditions: (TXR040000 Part IV.B.2)

|  | Yes | No | Explain |
| --- | --- | --- | --- |
| Permittee is currently in compliance with the SWMP as submitted to and approved by the TCEQ. | X |  |  |
| Permittee is currently in compliance with recordkeeping and reporting requirements. | X |  |  |
| Permittee meets the eligibility requirements of the permit (e.g., TMDL requirements, Edwards Aquifer limitations, compliance history, etc.). | X |  |  |
| Permittee conducted an annual review of its SWMP in conjunction with preparation of the annual report | X |  |  |

- Provide a general assessment of the appropriateness of the selected BMPs.

| MCM(s) | BMP Description | BMP is appropriate for reducing the discharge of pollutants in stormwater |
| --- | --- | --- |
| 0.01 – Public Education, Outreach and Involvement | Stormwater Outfall Monitoring | Yes – Stormwater outfall monitoring allows to track the SWMPs effectiveness in reducing pollutants to the receiving body, which will in turn determine which control methods to review. |
| 1.02 – Public Education, Outreach and Involvement | Pet Waste Management | Yes – this will assist in reducing bacterial load to the receiving water body. |
| 1.03 – Public Education, Outreach and Involvement | Trash and Debris Management | Yes – this will assist in reducing particulate loading of the receiving water body. |
| 1.06 - Public Education, Outreach and Involvement | Storm Drain Marking | Yes – this will assist in discouraging discharge of hazardous or other wastes into our storm drains. |
| 2.06 – Illicit Discharge, Detection and Elimination | Storm Sewer System Mapping | Yes – this will assist in illicit discharge tracking and locating the point of concern (if needed). |
| 2.06 – Illicit Discharge, Detection and Elimination | Grease Trap Management (FOG Program) | Yes – This prevents overflows from contaminating the receiving water body. |
| 2.09 – Illicit Discharge, Detection and Elimination | Establish Written IDDE Procedures | Yes – This will assist in detecting and apprehending illegal dumpers. |
| 3.01 – Construction Site Stormwater Runoff Control | Active Construction Site Inventory | Yes – This will assist in directing attention to potential trouble areas. |
| 3.02 – Construction Site Stormwater Runoff Control | Review and Maintain Legal Authority for Construction Site Runoff | Yes – This will assist in establishing authority to control UHCL site hazards and directing contractors to implement required pollution controls. |
| 5.02 – Pollution Prevention & Good Housekeeping for University Operations | Training and Education | Yes – this provides a process whereby employees notify EHS if a spill occurs. This allows UHCL to conduct a rapid remediation response assisting in the prevention of further contamination. |
| 5.03 – Pollution Prevention & Good Housekeeping for University Operations | Contractor Requirements and Oversight | Yes – this will prevent releases of hazardous chemicals from operations into areas which might affect storm water drainage. |
| 5.04 – Pollution Prevention & Good Housekeeping for University Operations | High Priority Facility-Specific SOPs | Yes – this will prevent releases of hazardous chemicals from operations into areas which might affect storm water drainage. |
| 5.05 – Pollution Prevention & Good Housekeeping for University Operations | High Priority Facility Stormwater Controls | Yes – this will prevent releases of hazardous chemicals from operations into areas which might affect storm water drainage. |
| 5.06 – Pollution Prevention & Good Housekeeping for University Operations | Site Operations Assessment | Yes – this will prevent releases of hazardous chemicals from operations into areas which might affect storm water drainage. |
| 5.08 – Pollution Prevention & Good Housekeeping for University Operations | Street Sweeping | Yes – this will reduce particulate loading in the stormwater. |
| 5.10 – Pollution Prevention & Good Housekeeping for University Operations | Waterway Litter Removal | Yes – this will assist in plastics loading and preserving the beauty of the UHCL campus. |

- Describe progress towards achieving the goal of reducing the discharge of pollutants to the MEP. If no progress was made or the BMP did not result in a reduction in pollutants, provide an explanation. Use the table below to meet this requirement:

| MCM | BMP | Information Used | Quantity | Units | Does BMP demonstrate a direct reduction in pollutants? |
| --- | --- | --- | --- | --- | --- |
| 1 | 0.01 – Public Education, Outreach and Involvement | Stormwater Outfall Monitoring | 2 | Ponds outfall sampled | No - this is for monitoring purposes. |
| 1 | 1.02 – Public Education, Outreach and Involvement | Pet Waste Management | 10 | Pet Waste Station | Yes – this should lower bacterial loads to receiving water body |
| 1 | 1.03 - Public Education, Outreach and Involvement | Trash and Debris Management | 1 | Campus clean-up event scheduled and advertised | Yes – public clean-up events directly help reduce pollutants. This year’s event was advertised but cancelled due to inclement weather. |
| 2 | 2.06 – Illicit Discharge, Detection and Elimination | Grease Traps | 1 | Inventory of Grease Traps | Yes – this helps to strengthen UHCL’s FOG program. |
| 2 | 2.06 – Illicit Discharge, Detection and Elimination | Grease Traps | 1 | Monthly Grease Trap Inspections Schedule | Yes – helps to strengthen UHCL’s FOG program. |
| 2 | 2.07 – Illicit Discharge, Detection and Elimination | Map Development | 1 | Site Map | Yes – this will assist in tracking illicit discharges, if needed |
| 5 | 5.05 – Pollution Prevention & Good Housekeeping for University Operations | Spill Prevention and Response Plan | 1 | SPCC | Yes – through utilizing the current SPCC, vehicle and equipment fueling and maintenance activities have procedures in place |
| 5 | 5.08 – Pollution Prevention & Good Housekeeping for University Operations | Street Sweeping | 4 - 5 | Street Sweeping Events | Yes – regular street sweeping ensures that particulate pollution is kept out of the storm water discharge |

- Provide the measurable goals for each of the MCMs, and an evaluation of the success of the implementation of the measurable goals:

| MCM(s) | Measurable Goal(s) | Explain Progress Toward Goal or How Goal Was Achieved |
| --- | --- | --- |
| 0.01 | Conduct annual monitoring of 100% of stormwater outfalls | Goal partially met due to shorten permit year. |
| 1.01 | Distribute outreach materials to 100% of incoming students each semester via email | Did not meet goal due to shorten permit year. |
| 1.01 | Distribute outreach materials to 100% of staff annually via email | Did not meet goal due to shorten permit year. |
| 1.02 | Install 10 pet waste collection dispensers | Goal partially met – Approximately 5 stations (50%) have been installed. Five (5) more have been purchased and will be installed in the future. |
| 1.03 | Advertise and host one community cleanup event annually | Goal partially met – Event was scheduled and advertised but cancelled due to inclement weather. |
| 1.04 | Provide additional educational materials to 100% of (EIH) class participants | Did not meet goal due to shorten permit year. |
| 1.05 | Provide public access to one video through university’s website | Did not meet goal due to shorten permit year. |
| 1.06 | Apply inlet markers to 100% of storm sewer drains | Goal partially met - Markers ordered and received to be installed. |
| 1.07 | Publish notice provided by the TCEQ and submit an affidavit of publication | Goal Completed – Public notice published in the Houston Chronicle. Affidavit forwarded to TCEQ. |
| 2.01 | Develop SOP | Met goal - TCEQ Notification Procedure is in the UHCL SPCC Plan 2023-2028 on pages QRG 1 – 5. |
| 2.01 | Annually review 100% of reporting to the TCEQ for compliance with SOP | Met goal – Even though zero (0) reports were drafted due to no incidents, the MS4 has a system in place to review reporting to TCEQ. |
| 2.02 | Map 100% of UHCL’s storm sewer system and outfalls | Goal partially met – Map was provided to TCEQ at March 2026 MS4 inspection meeting. Approximately 80% of the MS4’s storm sewer system has been mapped. |
| 2.02 | Develop policy and procedures for updating storm sewer system map | Did not meet goal due to shorten permit year. |
| 2.03 | Develop and adopt illicit discharge enforcement procedure | Goal partially met - Target departments identified and informed. Research being conducted on enforcement requirements prior to crafting policy. Approximately 15% complete. |
| 2.03 | Notify 100% of students every semester of the illicit discharge enforcement procedures via email | Did not meet goal due to shorten permit year. |
| 2.03 | Notify 100% of employees every semester of the illicit discharge enforcement procedures via email | Did not meet goal due to shorten permit year. |
| 2.03 | Notify 100% of contractors every semester of the illicit discharge enforcement procedures via email | Did not meet goal due to shorten permit year. |
| 2.03 | Train 100% of UHCL PD officers on reporting procedures and enforcement | Did not meet goal due to shorten permit year. |
| 2.04 | Develop a list of employee positions to be trained on IDDE | Goal partially met – Departments and employee positions have been identified for training. |
| 2.04 | Develop a training program | Did not meet goal due to shorten permit year. |
| 2.04 | Train 100% of listed employees | Did not meet goal due to shorten permit year. |
| 2.05 | Develop an inventory of OSSFs on site | Will delete this MCM since UHCL does not have nor authorized OSSFs. |
| 2.05 | Develop an inspection and maintenance program for OSSFs on site | Will delete this MCM since UHCL does not have nor authorized OSSFs. |
| 2.05 | Audit 100% of maintenance records of OSSFs annually | Will delete this MCM since UHCL does not have nor authorized OSSFs. |
| 2.05 | Inspect 100% of OSSFs on site annually | Will delete this MCM since UHCL does not have nor authorized OSSFs. |
| 2.06 | Develop policy documenting existing implementation of FOG Program | Did not meet goal due to shorten permit year. |
| 2.06 | Develop inventory of all on site grease traps | Met goal – Inventory was provided at March 2026 MS4 inspection. |
| 2.06 | Monitor 100% of grease trap maintenance records annually for conformance with FOG | Met goal – Grease traps are monitoring monthly on a PM schedule. The MS4 keeps a schedule of these inspections. |
| 2.07 | Develop site map and inventory of all sanitary sewer lines on site | Met goal – Older maps are being updated. |
| 2.07 | Develop reporting program for overflows | Did not meet goal due to shorten permit year. |
| 2.07 | Develop an inspection and maintenance program for all on site sanitary sewer lines | Did not meet goal due to shorten permit year. |
| 2.07 | Audit 100% of maintenance records annually | Did not meet goal due to shorten permit year. |
| 2.07 | Audit 100% of overflow reports annually | Met goal - No overflows reported this reporting period. If they had been then the MS4 would have audited these reports. |
| 2.07 | Inspect 25% of lines annually | Did not meet goal due to shorten permit year. |
| 2.08 | Develop outreach to resident students for hazardous waste disposal | Did not meet goal due to shorten permit year. |
| 2.08 | Distribute information brochures to 100% of resident students | Did not meet goal due to shorten permit year. |
| 2.09 | Develop written procedures for implementing BMPs for IDDE | Goal partially met due to shorten permit year - Participating departments contacted. Employee lists being determined. Research into enforcement ongoing. |
| 2.09 | Develop training for officers in the detection and reporting of IDDE | Did not meet goal due to shorten permit year. |
| 2.09 | Train 100% of officers in IDDE | Did not meet goal due to shorten permit year. |
| 3.01 | Develop inventory of active construction sites | Met goal - No active construction sites. |
| 3.01 | Audit 100% of construction sites to determine effectiveness of inventory | Met goal - No active construction sites but would have conducted audits as needed. |
| 3.02 | Review and update policies to reflect changes in technology and clarify requirements | Goal met - No active construction sites but would have reviewed/updated policies as needed. |
| 3.02 | Review and update policies to require soil stabilization. | Goal met - No active construction sites but would have reviewed/updated policies as needed. |
| 3.02 | Review and update policies to address prohibited construction related discharges. | Goal met - No active construction sites but would have reviewed/updated policies as needed. |
| 3.02 | Develop procedures for receipt and review of information submitted by the public. | Goal met - No active construction sites but would have reviewed/updated procedures as needed. |
| 3.03 | Develop SOP for review of new project compliance with SWMP requirements. | Did not meet goal due to shorten permit year. |
| 3.04 | Update the drainage design and water quality criteria in response to university’s comprehensive planning process and state and federal mandates. | Did not meet goal due to shorten permit year. |
| 3.05 | Develop programs to inspect construction sites for erosion and sedimentation control BMPs. | Did not meet goal due to shorten permit year. |
| 3.05 | Inspect 100% of sites and enforce compliance. | Goal met - No active construction sites but would have inspected as needed. |
| 3.06 | Develop training program including materials and internal reporting forms and procedures. | Did not meet goal due to shorten permit year. |
| 3.06 | Train 100% of affected staff. | Did not meet goal due to shorten permit year. |
| 3.07 | Develop written procedures for implementing BMPs for construction activities. | Did not meet goal due to shorten permit year. |
| 4.01 | Review and update current requirements for post-construction maintenance of BMPs. | Did not meet goal due to shorten permit year. |
| 4.02 | Develop storm sewer maintenance program for inspection and cleaning of inlets and storm sewers. | Did not meet goal due to shorten permit year. |
| 4.02 | Develop policy/procedure for conducting post-storm event inspection of structural BMPs. | Did not meet goal due to shorten permit year. |
| 4.03 | Develop SOP for post-construction site inspection and project acceptance. | Did not meet goal due to shorten permit year. |
| 4.03 | Develop policy/procedure of conducting post-storm event inspection of structural BMPs. | Did not meet goal due to shorten permit year. |
| 4.04 | Develop and maintain written procedures for implementing post construction BMPs. | Did not meet goal due to shorten permit year. |
| 4.04 | Inspect 100% of construction sites annually for compliance with post construction BMPs. | Goal met - No active construction sites but would have inspected as needed. |
| 4.05 | Develop procedures for maintenance of documentation of enforcement actions. | Did not meet goal due to shorten permit year. |
| 4.05 | Audit 100% of enforcement actions annually. | Goal met - No active construction sites but would have audited any enforcement actions as needed. |
| 5.01 | Inventory all municipal facilities and storm water controls. | Did not meet goal due to shorten permit year. |
| 5.01 | Map municipal facilities and storm water controls inventoried. | Did not meet goal due to shorten permit year. |
| 5.01 | Assess the pollutant discharge potential of each facility. | Did not meet goal due to shorten permit year. |
| 5.01 | Document results of the assessment. | Did not meet goal due to shorten permit year. |
| 5.02 | Develop list of departments and employees to be trained in implementing pollution prevention and good housekeeping practices. | Goal partially met – FMC identified as department subjects for this BMP. Required employees have been trained on SPCC and RCRA requirements which have similar SWMP components. |
| 5.02 | Develop training program, including materials and internal reporting forms and procedures. | Goal partially met – Training materials developed. Internal reporting forms and procedures found in the SPCC Plan since similar to SWMP components. |
| 5.02 | Conduct training for 100% of affected employees. | Goal partially met – Applicable employees are trained on SPCC and RCRA requirements annually which have similar elements but not specifically trained for MS4/SWMP-only components. |
| 5.03 | Identify 100% of maintenance services performed by contractors. | Did not meet goal due to shorten permit year. |
| 5.03 | Draft contract provisions that establish contractual requirements for compliance with pollution prevention. | Goal partially met – The MS4 has an updated 2026 Pollution Prevention Plan (P2P) which has some SWMP-similar components. |
| 5.03 | Implement contract requirements in 100% of new contracts and by amendment to existing contracts. | Did not meet goal due to shorten permit year. |
| 5.04 | Identify 100% of high priority facilities. | Goal partially met - SPCC plan identifies high risk areas for monthly inspection. |
| 5.04 | Develop facility-specific SOPs that identify BMPs to be installed, implemented and maintained. | Goal partially met - SPCC plan identifies high risk areas for monthly inspection. |
| 5.04 | Develop SOP for periodic inspections of high priority facilities. | Goal partially met - SPCC plan identifies high risk areas for monthly inspection. |
| 5.04 | Inspect 100% of high priority facilities annually. | Goal partially met - SPCC plan identifies high risk areas for monthly inspection. |
| 5.05 | Establish general good housekeeping procedures. | Goal partially met – The MS4 has an updated 2026 Pollution Prevention Plan (P2P) which has some SWMP-similar components for good housekeeping measures. |
| 5.05 | Develop spill prevention and response plans for vehicle and equipment fueling and maintenance locations. | Met goal - SPCC Plan being implemented. Current iteration is 2023-2028. |
| 5.05 | Develop an SOP for periodic inspections of high priority facilities. | Goal partially met - SPCC plan identifies high risk areas for monthly inspection. |
| 5.05 | Inspect 100% of high priority facilities annually. | Goal partially met - SPCC plan identifies high risk areas for monthly inspection. |
| 5.06 | Evaluate operations and maintenance activities for pollution discharge potential and document findings. | Goal partially met - SPCC plan identifies certain operations for pollution discharge. Findings are documented in SPCC plan. |
| 5.06 | Develop procedures and documentation for inspection of pollution prevention measures at university owned facilities annually. | Goal partially met - SPCC plan identifies high risk areas for monthly inspection. |
| 5.06 | Perform inspections of pollution prevention measures at 100% of university owned facilities annually. | Goal partially met - SPCC plan identifies high risk areas for monthly inspection. |
| 5.07 | Develop a stormwater waste material disposal SOP. | Did not meet goal due to shorten permit year. |
| 5.07 | Develop written procedures and documentation for periodic inspection and cleaning of catch basins. | Did not meet goal due to shorten permit year. |
| 5.07 | After completion of storm sewer system map, identify areas for increased inspection to detect accumulations of sediment and debris or illegal dumping. | Did not meet goal due to shorten permit year. |
| 5.08 | Sweep 100% of university roadways annually. | Met goal - Street sweeping is typically performed 4-5 times a year or on demand. UHCL owns a street sweeping machine. |
| 5.09 | Review project acceptance procedures to address Post Construction Stormwater Management. | Did not meet goal due to shorten permit year. |
| 5.09 | Conduct warranty inspections of 100% of infrastructure projects for conformance with contract specifications for revegetation. | Did not meet goal due to shorten permit year. |
| 5.10 | Develop program for surface litter removal from Horsepen Bayou adjacent to university property. | Did not meet goal – will need to reassess this BMP due to safety issues (steep banks and alligator hazards). |
| 5.10 | Conduct biannual surface litter removal from Horsepen Bayou adjacent to university property. | Did not meet goal – will need to reassess this BMP due to safety issues (steep banks and alligator hazards). |

- Stormwater Data Summary

Provide a summary of all information used, including any lab results (if sampling was conducted) to assess the success of the SWMP at reducing the discharge of pollutants to the MEP. For example, did the MS4 conduct visual inspections, clean the inlets, look for illicit discharge, clean streets, look for flow during dry weather, etc.?

No sampling was conducted during the past year. The campus has its own police department which conducts 24-hour surveillance of the campus. This constant monitoring assists in discouraging illicit dumping of any hazardous materials to the storm water drainage system and illegal dumping activities. The Environmental Institute of Houston is also on site. They conduct periodic monitoring of the MS4’s storm water runoff in settling ponds and will coordinate trash cleanups of the site. The EHS Coordinator in charge of the SWMP also conducts visual daily assessments of the campus while driving through to ensure there are no illicit discharges and no illegal dumping incidents. The EHS coordinator also works closely with campus maintenance to ensure that all hazardous and non-hazardous regulated materials are disposed of properly.

- Impaired Waterbodies

- Identify whether an impaired water within the permitted area was added to the latest EPA-approved 303(d) list or the Texas Integrated Report of Surface Water Quality for CWA Sections 305(b) and 303(d). List any newly-identified impaired waters below by including the name of the water body and the cause of impairment.

UHCL discharges directly in Segment ID 1113D Horsepen Bayou Tidal which is listed on the most recently EPA-approved Texas Integrated Report of Surface Water Quality for CWA Sections 305(b) and 303(d). The pollutant of concern is bacteria. A Total Daily Maximum Load (TMDL) has been developed for this segment ID. However, this TMDL will be addressed in the SWMP that is developed under the 2024 Phase II MS4 General Permit.

- If applicable, explain below any activities taken to address the discharge to impaired waterbodies, including any sampling results and a summary of the small MS4’s BMPs used to address the pollutant of concern.

- N/A

- Describe the implementation of targeted controls if the small MS4 discharges to an impaired water body with an approved TMDL.

- N/A

- Report the benchmark identified by the MS4 and assessment activities:

| Benchmark Parameter | Benchmark Value | Description of additional sampling or other assessment activities | Year(s) conducted |
| --- | --- | --- | --- |
| N/A | N/A | N/A | N/A |

- Provide an analysis of how the selected BMPs will be effective in contributing to achieving the benchmark:

| Benchmark Parameter | Selected BMP | Contribution to achieving Benchmark |
| --- | --- | --- |
| N/A | N/A | N/A |

- If applicable, report on focused BMPs to address impairment for bacteria:

| Description of bacteria-focused BMP | Comments/Discussion |
| --- | --- |
| N/A | N/A |

- Assess the progress to determine BMP’s effectiveness in achieving the benchmark.

| Benchmark Indicator | Description/Comments |
| --- | --- |
| N/A | N/A |

- Stormwater Activities

Describe activities planned for the next reporting year:

The next reporting year will be conducted under the 2024 Phase II MS4 TPDES General Permit. A revised SWMP with new BMPs and activities will be implemented. Below are these activities planned for the first reporting year.

| MCM(s) | BMP | Stormwater Activity | Description/Comments |
| --- | --- | --- | --- |
| 1 | 1-1 Info. On MS4 Operator’s Website | Website | Maintain a webpage with current, accurate information and working links for the full year. |
| 1 | 1-2 Social Media Posts | Social Media Campaign | Post a minimum of four times each year on a minimum of one social media platform. |
| 1 | 1-3 Storm Drain Marking Program | Storm Drain Markers | Mark at least 10% of all known stormwater inlets or inspect/maintain 15% of known markers already in place. |
| 1 | 1-4 Targeted Education Program | Targeted Education | At least one campaign is annually distributed to at least 75% of the MS4 users on various topics. |
| 2 | 2-1 Habitat Improvement/Tree Planting/Invasive Vegetation Removal/Stream Restoration | Stormwater quality engagement event | Host or support at least one event. |
| 2 | 2-2 MS4 Survey | Survey MS4 users | Provide or support at least one public survey for input on the program. Distribute to at least 75% of the intended MS4 users. |
| 2 | 2-3 Educational booth | Stormwater quality education booth | Provide or support one booth or display at least once per year. |
| 3 | 3-1 IDDE Source Investigation | Respond to IDDE | Respond to 100% of known illicit discharge and illegal dumping incidents. |
| 3 | 3-2 Maintain MS4 Map | MS4 Map | Review and update, as needed, at least once annually the MS4’s storm sewer map. |
| 3 | 3-3 IDDE Training | Inform Employees or Training Session | Train (or inform) 100% appropriate field staff at least annually for in IDDE. |
| 3 | 3-4 IDDE Procedures | IDDE Procedures | Review and update IDDE procedures at least once annually. |
| 3 | 3-5 IDDE Public Reporting Method | Public Reporting Method | Maintain at least one public reporting mechanism 100% of the time during the permit term. Publicize the method two times annually. Post to website. |
| 3 | 3-6 IDDE Corrective Action | IDDE Responses | For 100% of illicit discharge incidents, notify the responsible party within 24 hours to perform all necessary corrective actions. |
| 3 | 3-7 IDDE Inspection Procedures | IDDE Inspections | Review and update IDDE procedures at least once annually. |
| 3 | 3-8 IDDE Respond to Complaints | IDDE Complaints | Conduct inspections in response to 100% of complaints. Conduct follow-up inspections for 100% of cases. |
| 4 | 4-1 Legal Mechanism for Construction Activities | Legal Mechanism | Review and update the legal mechanism at least one time during the permit term for construction activities. |
| 4 | 4-2 Prohibit Discharges in Legal Mechanism | Legal Mechanism | Ensure the prohibit discharges stated in the General Permit and includes in the MS4’s legal mechanism. |
| 4 | 4-3 Site Plan Review Procedures | Construction Site Plan Review Procedures | Review and update construction site plan review procedures at least once annually. Implement procedures for 100% of new construction site plans each year. |
| 4 | 4-4 Inspection Procedures for Small and Large Construction Sites | Construction Site Inspection Procedures | Review and update inspection procedures at least once annually. |
| 4 | 4-5 Conduct Construction Site Inspections | Construction Site Inspections | Conduct inspections in at least 80% of active construction sites annually. Conduct follow-up inspection in 100% of cases when necessary. |
| 4 | 4-6 Procedures for Public Complaints | Construction Site Complaints | Review and update procedures based on public complaints. Maintain one webpage, hotline, or similar method for public submittal. |
| 4 | 4-7 Construction Site Runoff Control Training | Inform Employees or Training Session | Train (or inform) 100% of staff whose primary duty is to assist the construction stormwater program. |
| 5 | 5-1 Legal Mechanism for Post-Construction Activities | Legal Mechanism | Review and update the legal mechanism at least one time during the permit term for post-construction activities. |
| 5 | 5-2 Document and Maintain Records of Enforcement Actions | Records of Enforcement Actions | Maintain records for 100% of enforcement actions annually. Make 100% of records available to TCEQ within 24 hours of request. |
| 5 | 5-3 Ensure Long-Term Operations and Maintenance of Structural Controls | Structural Controls Operations and Maintenance | Annually, for 100% stormwater structural control measures, implement and/or develop a maintenance plan (private or MS4-owned). |
| 6 | 6-1 Permittee-Owned Facilities Inventory List | Inventory list | Develop and maintain an inventory list for 100% of MS4-owned/operated facilities and controls. Review and update list annually. |
| 6 | 6-2 Pollution Prevention and Good Housekeeping Training | Inform Employees or Training Session | Train (or inform) 100% appropriate employees (or contract staff) who assist in implementing pollution prevention and good housekeeping practices. |
| 6 | 6-3 Disposal of Waste | Proper Waste Disposal | Annually ensure 100% of waste from the MS4 is disposed of in accordance with 30 TAC 330 or 335. |
| 6 | 6-4 Contractor Requirements | Contractor Oversight | Annually ensure 100% of contractors hired by the MS4 to perform maintenance comply with all items described in the General Permit. Implement oversight procedures on 100% of contractor activities. |
| 6 | 6-5 Assess of O&M Operations | Assess O&M Operations | Evaluate 100% of O&M activities listed in the General Permit. |
| 6 | 6-6 Identify Pollutants of Concern | Identify Pollutants of Concern | Identify pollutants of concern from all O&M activities and maintain a list of 100% of identified pollutants. Review and update list annually. |
| 6 | 6-7 Pollution Prevention Measures | Pollution Prevention Measures | Develop and implement pollution prevention measures from O&M activities. |
| 6 | 6-8 Inspections of Pollution Prevention Measures | Inspection of MS4-owned facilities | Annually, inspect 100% of pollution prevention measures at MS4-owned facilities. Develop, maintain, and update (if needed) written inspection procedures. |
| 6 | 6-9 Structural Control Maintenance | Maintenance of MS4-owned facilities | Annually, perform maintenance at 100% of structural controls owned by the MS4. Develop, maintain, and update (if needed) written maintenance procedures. |

- SWMP Modifications

- The SWMP and MCM implementation procedures are reviewed each year.

- _X_ Yes ___No

- Changes have been made or are proposed to the SWMP since the NOI or the last annual report, including changes in response to TCEQ’s review.

____Yes _X_No

If “Yes,” report on changes made to measurable goals and BMPs:

| MCM(s) | Measurable Goal(s) or BMP(s) | Implemented or Proposed Changes (Submit NOC as needed) |
| --- | --- | --- |
| N/A | N/A | N/A |

Note: If changes include additions or substitutions of BMPs, include a written analysis explaining why the original BMP is ineffective or not feasible, and why the replacement BMP is expected to achieve the goals of the original BMP.

- Explain additional changes or proposed changes not previously mentioned (i.e. dates, contacts, procedures, annexation of land, etc.). N/A

- Additional BMPs for TMDLs and I-Plans

Provide a description and schedule for implementation of additional BMPs that may be necessary, based on monitoring results, to ensure compliance with applicable TMDLs and implementation plans.

| BMP | Description | Implementation Schedule (start date, etc.) | Status/Completion Date (completed, in progress, not started) |
| --- | --- | --- | --- |
| N/A | N/A | N/A | N/A |

- Additional Information

1. Is the permittee relying on another entity to satisfy any permit obligations?

- ___ Yes  _X_ No

If “Yes,” provide the name(s) of other entities and an explanation of their responsibilities (add more spaces or pages if needed). N/A

2.a. Is the permittee part of a group sharing a SWMP with other entities?

- ___ Yes  X__ No

2.b. If “yes,” is this a system-wide annual report including information for all permittees?

N/A

If “Yes,” list all associated authorization numbers, permittee names, and SWMP responsibilities of each member (add additional spaces or pages if needed):

Authorization Number: ____N/A______	Permittee: _N/A

- Construction Activities

1. The number of construction activities that occurred in the jurisdictional area of the MS4 (Large and Small Site Notices submitted by construction site operators):

No (0) large nor small construction site notices were received for construction activities in the jurisdictional area of the MS4 during the annual reporting period.

2a. Does the permittee utilize the optional seventh MCM related to construction?

- ___ Yes  _X_ No

2b. If “yes,” then provide the following information for this permit year:

| The number of municipal construction activities authorized under this general permit | 0 |
| --- | --- |
| The total number of acres disturbed for municipal construction projects | 0 |

Note: Though the seventh MCM is optional, implementation must be requested on the NOI or on a NOC and approved by the TCEQ.

- Certification

If this is this a system-wide annual report including information for all permittees, each permittee shall sign and certify the annual report in accordance with 30 TAC §305.128 (relating to Signatories to Reports).

I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Name (printed): Niki Pearce____________________

Title: EHS Manager_________________________

Signature: ___(on file)_________________

Date: ___________________________

Name of MS4: University of Houston – Clear Lake (UHCL) MS4 TXR040665